## 1. Interest Identification
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
Interest Identification
Instructions: List interests of all parties on this page.
Interchange Volatility
1 | more certainty on interchange, particularly during peak conditions
2 | solution is applicable to peak and non-peak conditions
3 | compliance with NAESB and NERC standards
4 | should not create barriers to accepting interchange during peak conditions
5 | balance the potential benefits of interchange against increased service duty on generators inside PJM to maintain supply and demand balance
6 | maintain cost minimization objective function and minimize uplift costs
7 | reduce or minimize risk of market manipulation
8 | potential changes outside of interchange to help with volatility (DR)
9
10
Incorporating More Operator Actions in Energy/Reserve Pricing
1 | better recognition of operator actions in market pricing
2 | maintain operators' flexibility to take action to maintain reliability
3 | pricing is consistent with dispatch signals
4 | more transparency into when/what conservative actions are taken by operators
5 | more intuitive pricing
6 | solution is applicable to peak and non-peak conditions
7 | minimize overall net costs to load
8 | ability to identify operator actions that impact price over time
9 | incent increased resource flexibility
10 | consistency between conservative operator actions and price formation adjustments
11

## 2.Options Matrix-Design Comp ST
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
SHORT TERM OPTIONS MATRIX
Strive for simplicity
Solution Options2
| # | Design Components1 | Timeframe | Priority | Status Quo | A | B | E2 | C | Column1 | Column2 | Column3 | D | E | F | G | H
Interchange Volatility (Short Term)
| 1 | Method of reducing interchange volatility |  |  | N/A | adjust ramp limit |  |  | N/A - Ramp limits should be used for reliability purposes only and not used to restrict market responses to prices.
| 1A-1 | Scenarios under which ramp limit is adjusted | Short-term |  | based on operating conditions, although not typically exercised | as needed to address operating conditions, typically after max or min generation emergency action is anticipated/declared or as a result of Demand Response decisions |  |  | based on operating conditions for reliability purposes only | [8 empty] | Low - High
| 1A-2 | Method for communicating ramp adjustment | Short-term |  | new ExSchedule application banner notifications | status quo + monthly reporting of when actions were taken and why | status quo + email message alert and/or eData alert | hot/cold weather alerts, min/max gen alerts will constitute pre-notification that PJM may consider ramp limit adjustments | status quo + monthly reporting of when actions were taken and why and how the adjusted ramp limit was determined | [8 empty] | Medium
| 1A-3 | Method for calculating ramp limit adjustment for price volatility |  |  | operator discretion based on system conditions | consider change in uplift resulting from ramp limit adjustment |  |  | N/A - Should be used for reliability purposes only | [8 empty] | High
| 2 | Method for calculating ramp limit adjustment for reliability |  |  | operator discretion based on system conditions |  |  |  | PJM and MMU should perform a joint study to define the methodology for calculating the ramp.
3
Low - Medium
Incorporating More Operator Actions in Energy/Reserve Pricing (Short Term)
| 1 | Method for incorporating operator action in energy/reserve pricing |  |  | conservative operator actions are not always reflected in pricing | increase primary and synchronized reserve requirement | forward unit commitment decisions made in advance of the day ahead market timeline impact the day ahead energy prices and/or DASR obligation | Operators' conservative operations should be reflected in DA market, e.g. operating reserve demand curve. All method details must be clearly documented in a manual.
| 1A-1 | Scenarios under which primary and synchronized reserve requirement is raised | Short-term |  | not done unless largest contingency changes | hot or cold weather alert or max emergency generation alert issued for RTO, Mid-Atlantic Dominion or Mid-Atlantic regions and PJM operators see the need for significant additional reserves and do not believe the increased requirement will create reliability issues | anytime additional real time reserves are explicitly carried | Need clear criteria for any changes in reserve requirements (related to units at risk, load forecast uncertainty and environmental factors). Need related codes which are logged for every case. Units that dispatchers believe are at risk must be specifically identified in logs. Units that generators identify as at risk must be identified in logs. |  |  |  |  | additional supply is scheduled for units at risk | additional supply is scheduled for load forecast uncertainty | additional supply is scheduled for interchange uncertainty | additional supply is scheduled for environmental factors, including but not limited to SMD, GMD, weather disturbance, physical security threat
| 1A-2 | Method for communicating reserve requirement change and reason | Short-term |  | Message in eMKT upon log in indicating new requirement and reason for change | Emergency procedures web page (which prompts eData alert) | PJM.com w/ RSS Feed | OASIS
| 1A-3 | Method for calculating reserve requirement increase | Short-term |  | 100% of largest single contingency; 75% of largest single contingency off-peak during double contingencies | On peak (05:00 - 24:00): Increase MAD SR and PR by the default MAD SR requirement, set RTO requirements equal to updated MAD requirements. For RTO increase only, RTO SR equal to 2x default MAD SR requirement, RTO PR equal to MAD PR + default MAD SR requirement, and no changes to MAD SR and PR. Off peak (00:00 - 05:00): 75% of on peak requirement. Reqs capped at 3600 MW | All 24 hours: Increase MAD SR and PR by the default MAD SR requirement, set RTO requirements equal to updated MAD requirements. For RTO increase only, RTO SR equal to 2x default MAD SR requirement, RTO PR equal to MAD PR + default MAD SR requirement, and no changes to MAD SR and PR. Reqs capped at 3600 MW | Shifts in operating reserve demand curve should follow an established and documented method. Details must be provided to market in real time. | DASR requirement increased by 3% of forecasted load (requirement is currently 6.27% of forecasted load) | On peak (05:00 - 24:00): Increase MAD SR and PR by the default MAD SR requirement, set RTO requirements equal to updated MAD requirements. For RTO increase only, RTO SR equal to 2x default MAD SR requirement, RTO PR equal to MAD PR + default MAD SR requirement, and no changes to MAD SR and PR. Off peak (00:00 - 05:00): 75% of on peak requirement. | All 24 hours: Increase MAD SR and PR by the default MAD SR requirement, set RTO requirements equal to updated MAD requirements. For RTO increase only, RTO SR equal to 2x default MAD SR requirement, RTO PR equal to MAD PR + default MAD SR requirement, and no changes to MAD SR and PR. (no cap) | Adjustment set to accommodate additional Tier 1 supply that is created | increase requirement by some percentage of total MWs known to be at risk | increase requirement by some percentage of difference between actual projected load and current forecast | increase requirement by some percentage of the maximum observed difference between 2 hour ahead scheduled interchange and actual interchange (based on historic analysis) | increase requirement up to size of largest credible contingency (3600 MW) | increase requirement by total MWs conservatively scheduled (with a floor and ceiling?)
| 1A-4 | Frequency of reserve requirement increases | Short-term |  | only when largest contingency changes |  |  | Follow proposed method. |  |  |  |  | as needed during emergency operations | anytime, as needed based on operator actions
| 1A-5 | Exit Criteria |  |  | when largest contingency returns to normal | Exit Criteria: DA: anticipated cancellation of hot or cold weather alert or max gen alert prior to the operating day . RT: cancellation of hot or cold weather alert or max gen alert, or if the increased reserve requirement is creating reliability concerns |  | Follow proposed method.
| 1A-6 | locational reserve requirement increase (MAD, RTO or both) |  |  | increase requirement for reserve zone in which double spin contingency exists. If MAD requirement exceeds RTO, then set the MAD and RTO requirements to be equal | Real time requirements: based on location of hot or cold weather alert or max emergency generation alert DASR requirements: increase RTO requirement |  | Follow proposed method. |  |  |  |  | increase requirement for reserve zone in which uncertainty exists. If MAD requirement exceeds RTO, then set the MAD and RTO requirements to be equal
| 1A-7 | product reserve requirement increase (Synch, Primary or both) |  |  | increase requirement for reserve zone in which double spin contingency exists. If reserve requirement exceeds primary, then set the requirements to be equal | Real Time: increase both synch and primary reserve req Day Ahead: Increase DASR req |  | Follow proposed method. |  |  |  |  | increase both synchronized and primary reserves by the same amount
| 1B-1 | Method for incorporating long lead time generation into the DA market |  |  | currently not included unless generation owner changes startup and notification time | generation owner updates startup and notification time to allow commitment in the DA market based on long lead time dispatch (online time minus DA market deadline for operation day or sooner if capable)
| 2 | Incorporation of market power mitigation rules |  |  | Currently not necessary because units committed for cons ops are offer capped. |  |  | Market power mitigation rules to ensure that market power is not exercised at times of system stress.
Instructions:
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decsion-making method).

## Reserve Requirement Examples
Illustration of Reserve Requirement Calculations (Existing and Proposed) | [5 empty] | Scenario 1: Current requirements = default requirements |  |  | Scenario 2: Current requirements reflect double contingency
[6 empty] | Default Requirements |  |  | Default Requirements
[7 empty] | RTO | MAD |  | RTO | MAD
[6 empty] | SR | 1375 | 1300 | SR | 1375 | 1300
[6 empty] | PR | 2063 | 1700 | PR | 2063 | 1700
Default Requirements |  |  | General calculation for Default Requirement |  |  | Current Requirements |  |  | Current Requirements
| RTO | MAD |  | RTO | MAD |  | RTO | MAD |  | RTO | MAD
SR | 1375 | 1300 | SR | Largest single contingency in RTO | Largest single contingency in MAD | SR | 1375 | 1300 | SR | 1850 | 1850
PR | 2063 | 1700 | PR | 150% of largest single contingency in RTO | 1700 | PR | 2063 | 1700 | PR | 2063 | 1850
Increased Requirement for MAD Alert |  |  | Calculation for Increased Requirement for MAD Alert |  |  | Increased Requirement for MAD Alert |  |  | Increased Requirement for MAD Alert
| RTO | MAD |  | RTO | MAD |  | RTO | MAD |  | PR | SR
SR | 2600 | 2600 | SR | min(3600, max(default MAD SR *2, current MAD SR)) | min(3600, max(default MAD SR *2, current MAD SR)) | SR | 2600 | 2600 | MAD | 2600 | 2600
PR | 3000 | 3000 | PR | min(3600, max(default MAD PR + default MAD SR, current MAD PR)) | min(3600, max(default MAD PR + default MAD SR, current MAD PR)) | PR | 3000 | 3000 | RTO | 3000 | 3000
*current requirement may differ from default requirement if there is a double contingency
Increase Requirement for RTO Alert (no MAD Alert) |  |  | Calculation for Increased Requirement for RTO Alert |  |  | Increased Requirement for RTO Alert (no MAD Alert) |  |  | Increased Requirement for RTO Alert (no MAD Alert)
| RTO | MAD |  | RTO | MAD |  | RTO | MAD |  | PR | SR
SR | 2600 | 1300 | SR | min(3600, max(default MAD SR *2, current MAD SR)) | current MAD SR | SR | 2600 | 1300 | MAD | 2600 | 1850
PR | 3000 | 1700 | PR | min(3600, max(default MAD PR + default MAD SR, current MAD PR)) | current MAD PR | PR | 3000 | 1700 | RTO | 3000 | 1850
Calculation for Off Peak Requirement (if different than on peak)
|  |  |  | RTO | MAD | Increased Off Peak Requirement for MAD Alert |  |  | Increased Off Peak Requirement for MAD Alert
|  |  | SR | RTO SR on peak * 75% | MAD SR on peak * 75% |  | RTO | MAD |  | RTO | MAD
|  |  | PR | RTO PR on peak * 75% | MAD PR on peak * 75% | SR | 1950 | 1950 | SR | 1950 | 1950
[6 empty] | PR | 2250 | 2250 | PR | 2250 | 2250
[6 empty] | Increased Off Peak Requirement for RTO Alert (no MAD Alert) |  |  | Increased Off Peak Requirement for RTO Alert (no MAD Alert)
[7 empty] | RTO | MAD |  | RTO | MAD
[6 empty] | SR | 1950 | 1300 | SR | 1950 | 1388
[6 empty] | PR | 2250 | 1700 | PR | 2250 | 1700
RT Load Forecast
RTO
160000
|  |  | Calculation for Default DASR Requirement |  |  | Default DASR Requirement
|  |  |  | RTO |  |  | RTO
|  |  | DASR | load forecast * (6.27%) |  | DASR | 10032
|  |  | Calculation for Increased DASR Requirement |  |  | Increased DASR Requirement
|  |  |  | RTO |  |  | RTO
|  |  | DASR | load forecast * (6.27% + 3.27%) |  | DASR | 14832

## 2.Options Matrix-Design Comp LT
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
LONG TERM OPTIONS MATRIX
Strive for simplicity
Solution Options2
# | Design Components1 | Timeframe | Priority | Status Quo | A | B | C | D | E
Interchange Volatility (Long Term)
1 | Method of reducing interchange volatility |  |  | N/A | modified evaluation of transactions | consider new longer duration interchange commitment or longer lead time | potential refinement to emergency bid procedures | potential refinement to dispatchable transactions | N/A
1A-1 | Method of evaluating interchange transactions | Long-term |  | ramp limit and timing evaluation only | economic evaluation of all interchange transactions | economic evaluation of a portion of transactions (new interchange transaction type) | place priority on transactions with firm transmission |  | Interchange Optimization | Low - High
2 | financial incentive for reducing the amount of schedule changes that participants undertake |  |  | none | credit for advanced scheduling | charge for ramp |  |  | None | Medium - High
3 | energy settlements of interchange |  |  | settled at LMP | guaranteed price for a portion of cleared transactions |  |  |  | Settled at LMP | High
4 | Method of allocating ramp (covered in long term solution?) |  |  | first come, first served |  |  |  |  | first come, first serve
5 | Uplift treatment for interchange transactions |  |  |  | allocating a portion of uplift to price taking transactions (DA and Real Time treatment) |  |  |  | N/A
| settlement interval |  |  | hourly | 5 minutes |  |  |  | Hourly
Low - Medium
Incorporating More Operator Actions in Energy/Reserve Pricing (Long Term)
1 | Method for incorporating operator action in energy/reserve pricing |  |  | conservative operator actions are not always reflected in pricing | market based solutions for additional reserve products
1A-1 | Requirements maintained in real time | Long-term |  | synchronized reserve, primary reserve | new 30 minute reserve market
2 | Potential DASR Market Changes |  |  |  | Add a MAD DASR requirement | Clear DASR based on eco max rather than emergency max
3
4
Instructions:
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decsion-making method).

## 2a. Component Details
MIC Special Session: Energy/Reserve Pricing & Interchange Volatility
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
Interchange Volatility (Short Term) - Implementation prior to June 2014
1 | Method of reducing interchange volatility | The method of reducing interchange volatility
1A-1 | Scenarios under which ramp limit is adjusted | If adjusting the ramp limit is the method selected for reducing interchange volatility, these are examples of some of the operational scenarios under which the ramp limit would be adjusted.
1A-2 | Method for communicating ramp adjustment | If adjusting the ramp limit is the method selected for reducing interchange volatility, this is the electronic method by which stakeholders are notified in real time of any ramp limit adjustments that are made.
Interchange Volatility (Long Term) - Implementation after June 2014
1 | Method of reducing interchange volatility | The method of reducing interchange volatility
1A-1 | Method of evaluating interchange transactions | Assuming a modified evaluation of interchange transactions is selected as a method for reducing interchange volatility, this is the method by which interchange transactions would be evaluated.
2 | financial incentive for reducing the amount of schedule changes that participants undertake | Covers any financial incentives or disincentives to limit schedule changes (or ramping) that lead to interchange volatility
3 | energy settlements of interchange | The price (LMP) at which interchange transactions are settled
Incorporating More Operator Actions in Energy/Reserve Pricing (Short Term) - Implementation prior to June 2014
1 | Method for incorporating operator action in energy/reserve pricing | The method of incorporating more operator actions into energy and reserve pricing
1A-1 | Scenarios under which primary and synchronized reserve requirement is raised | If increasing the primary and synchronized reserve requirements is the method selected for incorporating more operator actions into energy and reserve pricing, these are examples of some of the operational scenarios under which the reserve requirements would be raised.
1A-2 | Method for communicating reserve requirement change and reason | If increasing the primary and synchronized reserve requirements is the method selected for incorporating more operator actions into energy and reserve pricing, this is the electronic method by which stakeholders are notified in real time of any reserve requirement changes that are made.
1A-3 | Method for calculating reserve requirement increase | If increasing the primary and synchronized reserve requirements is the method selected for incorporating more operator actions into energy and reserve pricing, this is the method by which the reserve requirement increase would be calculated for each scenario in design component 1A-1.
1A-4 | Frequency of reserve requirement increases | If increasing the primary and synchronized reserve requirements is the method selected for incorporating more operator actions into energy and reserve pricing, this is the frequency with which the reserve requirement could be increased.
1A-5 | Entry/Exit Criteria | What are the triggers for when the requirement would be increased and when it would be brought back down to its original value
1A-6 | Locational reserve requirement increase | Indicates which reserve zone reserve requirements would be increased in different circumstances (RTO only, MAD only or both)
1A-7 | Product reserve requirement increase | Indicates which reserve products the reserve requirements would be increased for in different circumstances (synch reserve only, primary reserve only or both)
1B-1 | Method for incorporating long lead time generation into the DA market | Assuming incorporating forward unit commitment decisions made in advance of the day ahead market timeline into the day ahead energy market is selected as a method for incorporating more operator action into energy and reserve pricing, this is the method by which generation with a lead time greater than 36 hours should be incorporated into the DA market if dispatchers call the unit on in advance of the DA market deadline.
2 | Incorporation of market power mitigation rules | Any additional market power mitigation rules that are necessary based on the proposed changes
Incorporating More Operator Actions in Energy/Reserve Pricing (Long Term) - Implementation after June 2014
1 | Method for incorporating operator action in energy/reserve pricing | The method of incorporating more operator actions into energy and reserve pricing
1A-1 | Requirements maintained in real time | If market based solutions for additional reserve products are the method selected for incorporating more operator actions into energy and reserve pricing, these are the additional reserve requirements that would be maintained in real time, beyond those that are currently maintained today.

## 2b. Solution Details
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Package Matrix
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
PACKAGE/ PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
Interchange Volatility (Short Term)
1 | Method of reducing interchange volatility |  | N/A
2 | Scenarios under which ramp limit is adjusted |  | based on operating conditions, although not typically exercised
3 | Method for communicating ramp adjustment |  | new ExSchedule application banner notifications
4 | Method for calculating ramp limit adjustment for price volatility |  | operator discretion based on system conditions
5 | Method for calculating ramp limit adjustment for reliability
Incorporating More Operator Actions in Energy/Reserve Pricing (Short Term)
PJM Proposal
1 | Method for incorporating operator action in energy/reserve pricing |  | conservative operator actions are not always reflected in pricing | increase primary and synchronized reserve requirement & forward unit commitment decisions made in advance of the day ahead market timeline impact the day ahead energy prices and/or DASR obligation
1A-1 | Scenarios under which primary and synchronized reserve requirement is raised |  | not done unless largest contingency changes | hot or cold weather alert or max emergency generation alert issued for RTO, Mid-Atlantic Dominion or Mid-Atlantic regions and PJM operators see the need for significant additional reserves and do not believe the increased requirement will create reliability issues |  |  |  |  | Low
1A-2 | Method for communicating reserve requirement change and reason |  | Message in eMKT upon log in indicating new requirement and reason for change | status quo plus emergency procedures web page (which prompts eData alert) |  |  |  |  | Low - Medium
1A-3 | Method for calculating reserve requirement increase |  | 100% of largest single contingency; 75% of largest single contingency off-peak during double contingencies | On peak (05:00 - 24:00): Increase MAD SR and PR by the default MAD SR requirement, set RTO requirements equal to updated MAD requirements. For RTO increase only, RTO SR equal to 2x default MAD SR requirement, RTO PR equal to MAD PR + default MAD SR requirement, and no changes to MAD SR and PR. Off peak (00:00 - 05:00): 75% of on peak requirement. Reqs capped at 3600 MW DASR requirement increased by 3% of forecasted load (requirement is currently 6.27% of forecasted load) |  |  |  |  | Low - High
1A-5 | Exit Criteria |  | when largest contingency returns to normal | DA: anticipated cancellation of hot or cold weather alert or max gen alert prior to the operating day . RT: cancellation of hot or cold weather alert or max gen alert, or if the increased reserve requirement is creating reliability concerns |  |  |  |  | Medium - High
1A-6 | locational reserve requirement increase (MAD, RTO or both) |  | increase requirement for reserve zone in which double spin contingency exists. If MAD requirement exceeds RTO, then set the MAD and RTO requirements to be equal | Real time requirements: based on location of hold or cold weather alert or max emergency generation alert DASR requirements: increase RTO requirement |  |  |  |  | High
1A-7 | product reserve requirement increase (Synch, Primary or both) |  | increase requirement for reserve zone in which double spin contingency exists. If reserve requirement exceeds primary, then set the requirements to be equal | Real Time: increase both synch and primary reserve req Day Ahead: Increase DASR req
1B-1 | Method for incorporating long lead time generation into the DA market |  | currently not included unless generation owner changes startup and notification time | generation owner updates startup and notification time to allow commitment in the DA market based on long lead time dispatch (online time minus DA market deadline for operation day or sooner if capable)
2 | Incorporation of market power mitigation rules |  | Currently not necessary because units committed for cons ops are offer capped. | status quo

## Parking Lot
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.