## Setup
Enter Stakeholder Committee Name in cell A2:
Market Implementation Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Co-Located Load Service

## 1. Interest Identification
Market Implementation Committee
Co-Located Load Service
Interest Identification
Instructions: List interests of all parties on this page.
1 | Ensure that reliability is not adversely impacted by any changes made to the status quo, and, ensure this is the case regardless of the total MW quantity of co-located load that might be added to the system.
2 | Ensure that any new processes, rules, requirements, etc. that are put in place to support any change to the status quo are transparent and robust.
3 | Ensure that any new processes, rules, requirements, etc. that are put in place do not create an uncompetitive market or incentivize uncompetitive market outcomes.
4 | Sustainable general competitive definition of capacity
5 | Facilitate consumer choice
6 | Enhance economic efficiency
7 | Allow mechanism to preserve capacity in the market
8 | Facilitate the location of these types of customers into PJM states
9 | Develop rules that allow these types of customers to locate into PJM states
10 | Respect state commission and RERRA regulatory authority
11 | Do not conflict with state laws
12 | Avoid trumping or conflicting with PJM compliance efforts related to FERC Order 2222
13 | Prevent double counting of capacity or energy through this effort
14 | Want to ensure visability of these resources to state commissions and EDCs
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Market Implementation Committee
Co-Located Load Service
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Status Quo | A | B | C | D | E | Column1
* | Implementation
Low
Low - Medium
Low - High
Medium
Medium - High
High
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Market Implementation Committee
Co-Located Load Service
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
Scenario Set Up |  | The following rows describe the various scenarios that the solutions developed through this matrix will need to consider or accommodate. They will not be part of the package matrix. They are for informational purposes only.
1 | Configurations | Describe interconnection relationship between transmission network, generator, and Behind the Meter Load (BTML)
2 | Jurisdiction | Describe the jurisdiction responsible for the sale of power to the BTML and the conditions predicate for such jurisdiction
Solution Components |  | The following rows contain the design components that are expected to be part of the package matrix that is ultimately developed. Solution options will need to be offered for each of these rows.
| Engineering | Header for the Engineering section of design components.
3a | Load Trip/Frequency Control | Describe the remedy for any new impacts to the grid as a consequence of the BTML tripping.
3b | Generator Trip | Describe remedy for any new impacts to the grid as a consequence of the generator tripping.
3d | Metering Requirements | Describe metering requirements for BTML, if needed.
| Market Design | Header for the Market Design section of design components.
4 | Capacity Market Must Offer Requirement | Describe capacity must offer requirement obligation for the subject generator, including portion dedicated to BTML and portion that is not.
5 | Capacity Offer Development | Describe capacity offer distinctions, if any, for the portion dedicated to BTML and the portion that is not.
6 | Energy Market Must Offer Requirement | Describe DAM offer distinctions, if any, for the portion dedicated to BTML and the portion that is not.
7 | Cost-based Offer Development | Describe CBO distinctions, if any, for the portion dedicated to BTML and the portion that is not.
8 | Market-based Offer Development | Describe MBO distinctions, if any, for the portion dedicated to BTML and the portion that is not.
9 | Capacity Testing | Describe changes to capacity testing requirements, if any.
10 | Response Time (how quickly load must be able to be interrupted) | Describe how quickly must the load curtail to satisfy all engineering and market requirements.
11 | CIRs | Describe change to CIR retention rules, if any, for generator with co-located load.
12 | Load Interconnection (Planning) | Describe any required changes to load interconnection studies to accommodate the engineering and market requirements.
13 | Load Forecasting | Describe changes to PJM load forecasting (incl. add backs if necessary) and the conditions under which such changes are required.
14 | Transmission Costs | Describe any reforms to transmisison cost assessment.
15 | Distribution Costs | Describe any reforms to distribution cost assessment.
16 | Demand Response Eligibility | Describe conditions for BTML to participate in PJM DR programs.
17 | Curtailment Procedures | Describe engineering or market conditions that would require load curtailment. Describe responsible entity or entities.
18 | Settlements | Describe any settlements reforms required for the participating co-located generator or load.
19 | Treatment in PJM planning studies (e.g., Reserve, CETO, CETL, ELCC, Market Efficiency, etc.) | Do we need to make any changes to how we model or treat a resource with co-located load service in our studies?
20 | Amendments to ISA | Do we need new provision(s) in ISA to cover a resource with co-located load service?
21 | Participation Caps | Do we need some type of safety valve? Is there a point at which the proposed solution is no longer viable if too many existing generators choose to participate with co-located load service?

## 2b. Option Details
Market Implementation Committee
Co-Located Load Service
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Market Implementation Committee
Co-Located Load Service
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Market Implementation Committee
Co-Located Load Service
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Market Implementation Committee
Co-Located Load Service
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Market Implementation Committee
Co-Located Load Service
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2022-03-02 | Initial version.
2 | 2022-03-09 | Post-Meeting version. Additional Interest added.
3