## RT
Area | # of Stability Limit Occurrence | # of Impacted Units
COMED | 4 | 2
APS | 1 | 1
PE | 2 | 1
EKPC | 8 | 4
AEP | 2 | 2
DPL | 1 | 7
PL | 1 | 3

## DA
Area | # of Stability Limit Occurrence | # of Impacted Units
PN | 1 | 2
DPL | 1 | 7
COMED | 4 | 2
PL | 1 | 3
FE | 1 | 1
AP | 1 | 1
EKPC | 4 | 4
AEP | 1 | 1