## 1. Interest Identification
Operating Committee
Tier 2 Synchronized Reserves Performance
Interest Identification
Instructions: List interests of all parties on this page.
1 | PJM needs to know that resources assigned Tier 2 SR can/will perform as committed
2 | It is financially detrimental to compensate resources that are paid to be available for emergency situations who ultimately do not respond
3
4
5
6
7
8
9
10
11
12
13
14
15

## 2. Options Matrix- Design Comp.
Operating Committee
Tier 2 Synchronized Reserves Performance
OPTIONS MATRIX
Strive for simplicity
Solution Options2
# | Design Components1 | Priority (high/med/low) | Status Quo | A | B | C | D | E
1 | Qualification to enter the Tier2 SR market |  | None | Test to verify 10 minute response and 30 minute maintain time. Disqualification from participating in the Market if fail. Must retest and pass to enter Market. (Current participants are grandfathered)
2 | Compliance and performance testing once participating in the market |  | None | Validate 10 minute response and 30 minute maintain time through random testing. Disqualification from Market if fail. Must retest and pass to re-enter Market. | Validate 10 minute response and 30 minute maintain time through random testing. If fail, a warning notice is given. Warning stays in effect until compliance and performance test is passed. Performance in subsequent even does not void the warning. If fail the random test a second time the resource is disqualified | If fail to perform x number of times out of y times called, disqualified from Market until pass compliance and performance test | If fail to perform when called or only partially respond, future compensation is reduced accordingly (Scorecard similar to PJM Regulation)
3 | Handling of disqualification in prep for emergency conditions |  | None | Retest within 3 days or at the direction of PJM |  |  |  |  | High
4 | Penalty |  | Obligation for shortfall for all contiguous hours for the day, plus an obligation for the shortfall for the 3 consecutive, same peak days occuring at least 3 business days following the event (per the current calculation which includes the reduction in value by transforming to MWhr). | Obligation for shortfall for all contiguous hours for the day, plus an obligation for the shortfall for the 3 consecutive, same peak days occuring at least 3 business days following the event. (New calculation which uses actual value (MW) of shortfall to determine penalty) | Obligation for shortfall for all of the hours for the day, plus an obligation for the shortfall for the 3 consecutive, same peak days occuring at least 3 business days following the event. (New calculation which uses actual value (MW) of shortfall to determine penalty) | Obligation for shortfall for all contiguous hours for the day, plus an obligation for the shortfall for the 3 consecutive, same peak days occuring at least 3 business days following the event. (New calculation which uses actual value (MW) of shortfall to determine penalty & value of penalty MW cannot be expunged by excess Tier 1 or other) ) |  |  | Medium
5 | [8 empty] | Low
6
7
8
9
10
11
12
Instructions:
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decsion-making method).

## 2a. Component Details
<stakeholder group name>
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 |  | <enter detailed description of this component>
2 |  | <enter detailed description of this component>
3 |  | <enter detailed description of this component>
4 |  | <enter detailed description of this component>
5 |  | <enter detailed description of this component>

## 2b. Solution Details
Operating Committee
Tier 2 Synchronized Reserves Performance
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Proposal Matrix
[stakeholder group name]
[enter issue title (use title from Issue Tracking if applicable)]
PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority (high/med/low) | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9
10

## Parking Lot
[stakeholder group name]
[enter issue title (use title from Issue Tracking if applicable)]
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.