## Sheet1
# | Issue under consideration | Stakeholder Input Requested
1. Modifying NERC Reliability Standard TPL-001-5.1
| PJM acknowledges need to revise Reliability Standard TPL-001-5.1 and recommends providing a Project timeline that allows for additional time, if needed, instead of the proposed commitment of one year. – A one year timeframe for standard development and one year compliance turnaround could be too optimistic. – Which aspects of TPL-001-5.1 should be focused on for Resilience and Extreme Weather conditions? | - PJM is requesting stakeholder input on the timeline proposed by FERC for Std development and compliance. - PJM welcomes stakeholder input on which aspects of TPL-001-5.1 should be focused on for Reselience and Extreme Weather conditions.
2. Establishing Benchmark Planning Cases
| • Challenge will be to develop extreme temp forecast and associated conditions. – Must first determine the frequency: e.g., once every 20 years? Every 50? – PJM has not experienced such “outlier” conditions in recent history. – Consideration of study scenarios where extreme heat/cold event hit several regions at once. | How far outreaching of an event should be considered for the PJM extreme weather assessmnts? - Limited to the PJM footprint itself or also adjacent jurisdictions? - Should the direction/response to the above be based on the likelihood of the event in consideration of geographic diversity and current interconnectivity/interdependcy between regions (including fuel resurce interdependencies)?
3. Transmission System Planning - Events Methods and approaches
| – PJM will offer to work with NERC, planning counterparts in other regions, and other federal agencies to study development of a minimum transfer capability requirement as part of a modified TPL-001 Standard to avoid system instability and cascading outages. This multi-agency, multi-region effort will entail significant research and study. | - Stakeholder input regarding minimum transfer capability need and requirements. - Should this effort part of the ongoing Extreme Weather NOPR or developed under a standalone initiative?
4. Corrective Action Plans
| – Greater the cost AND the greater the impact – i.e., greater extent of impact to stakeholders, load and market participants; • would suggest more system wide approach to cost allocation? | - PJM is seeking stakeholder input on cost allocation approach for extreme weather event mitigation measures (corrective Action Plans)