## Congestion Results
2022/23 Market Efficiency Base Case Congestion Results* (updated 12/29/2022) (This is NOT the list of Eligible Congestion Drivers)** |  |  | Base Case ($Million) |  | Base Case (Hours Binding) |  | Upgrade Case*** ($Million) |  | Upgrade Case*** (Hours Binding)
Constraint | FROM AREA | TO AREA | 2027 Input Assumptions with 2027 Topology | 2030 Input Assumptions with 2027 Topology | 2027 Input Assumptions with 2027 Topology | 2030 Input Assumptions with 2027 Topology | 2027 Input Assumptions with 2027 Topology | 2030 Input Assumptions with 2027 Topology | 2027 Input Assumptions with 2027 Topology | 2030 Input Assumptions with 2027 Topology | Type | Comment
I:BLABED FLO BASE CASE | 0 | 0 | 46.9088 | 91.4229 | 728 | 825 | 36.1895 | 80.1432 | 629 | 752
I:BC_PEP FLO BASE CASE | 0 | 0 | 28.4498 | 1.5966 | 99 | 18 | 34.4259 | 2.6749 | 144 | 48
B:208069PPL-BGE TIE 220964GRACETON 1 FLO PECO_P1-2_5012_SRT-A/* $ CHESCO $ PECO_P1-2_5012 | PLGRP | BGE | 22.3639 | 15.9475 | 1405 | 1179 | 0.035917 | 0.092694 | 7 | 6
B:23548401MESSCK 23549001MORGAN 1 FLO AP_P1-2_WP-500-DRT17_SRT-SL | APS | APS | 16.2219 | 32.9641 | 719 | 1390 | 0 | 0 | 0 | 0
B:24321905DUMONT 25511317STILLWELL 1 FLO AEP_P1-2_#695_1681 | AEP | NIPS | 11.2741 | 13.5251 | 756 | 677 | 0 | 0 | 0 | 0 | M2M
I:AEP-DOM FLO BASE CASE | 0 | 0 | 9.9571 | 37.7892 | 432 | 831 | 9.7326 | 36.1584 | 426 | 827
I:AP SOUTH FLO BLACKO-BEDNG | 0 | 0 | 7.8958 | 18.987 | 224 | 362 | 13.8094 | 33.8997 | 366 | 591
B:24322905OLIVE 274804UNIV PK N;RP1 FLO AEP_P1-2_#695_1681 | AEP | COMED | 4.8999 | 12.6315 | 99 | 273 | 0 | 0 | 0 | 0 | M2M
B:20454427LINCOLN 20453827STRABAN 1 FLO PJM_500_BG_P1_5011_SRT-A | METED | METED | 3.0631 | 8.7173 | 83 | 192 | 0 | 0 | 0 | 0
B:20452927GERMANTN 20453827STRABAN 1 FLO PJM_500_BG_P1_5011_SRT-A | METED | METED | 2.6399 | 9.905 | 308 | 817 | 0 | 0 | 0 | 0
B:232927BENNETT_230 232004MILF_230 2 FLO DPL_P1_2_CKT 23034 | DPL | DPL | 1.5497 | 1.9619 | 12 | 14 | 1.6499 | 2.1608 | 13 | 15
B:130836N.WAV115 20067626E.SAYRE 1 FLO PN_P1-2_PN-230-101T_SRT-A | NYZC | PENELEC | 1.2321 | 1.034 | 1266 | 1350 | 1.0374 | 0.66859 | 983 | 811
B:270193AC1-083 TAP 24280205SMITHMTN 1 FLO AEP_P1-2_#311_5_SRT-A | AEP | AEP | 1.1536 | 2.2633 | 60 | 104 | 1.0246 | 2.0859 | 55 | 94
B:2000163 MILE I 20451427TMI 1 FLO PECO_P1-2_5012_SRT-A/* $ CHESCO $ PECO_P1-2_5012 | METED | METED | 0.94175 | 0.074116 | 24 | 2 | 0 | 0 | 0 | 0
B:23513901AL&D6T 23520401KITTAN 1 FLO PN_P1-2_PN-345-107T_SRT-A | APS | APS | 0.86147 | 0.003478 | 481 | 7 | 0.74524 | 0.00091979 | 373 | 3
B:200009JUNI 208004JUNI BU1 1 FLO PL:10:P13:100596 | PLGRP | PLGRP | 0.85985 | 0 | 20 | 0 | 0.27263 | 0 | 5 | 0
B:23854202ASH_1 23909502SBRNQ1 1 FLO ATSI_P1-2_CEI-345-720_SRT-A | FE-ATSI | FE-ATSI | 0.7059 | 0.22597 | 382 | 177 | 0.75544 | 0.38711 | 401 | 210
B:24302605KAMMER13 24606705NATRIUM34 1 FLO BASE CASE | AEP | AEP | 0.67626 | 0.99127 | 12 | 27 | 8.3586 | 9.5106 | 171 | 232
B:3145623CLUBHSE 3145636CLUBHSE 1 FLO DVP_P1-2: LN 2201 | DOM | DOM | 0.59936 | 0.59905 | 45 | 43 | 0.57602 | 0.61225 | 42 | 44
B:20067526E.TWANDA 132004PAR 1 FLO PL_02_P12_000082_SRT-A | PENELEC | NYZK | 0.59736 | 0.55309 | 1203 | 1219 | 0.38807 | 0.34541 | 774 | 750
B:24263205EDAN 2 24254905BANSTR 1 FLO AEP_P1-2_#311_5_SRT-A | AEP | AEP | 0.49756 | 1.3468 | 32 | 80 | 0.4664 | 1.453 | 29 | 74
B:3145226CHCKTUK 3138186BENCHRCH 1 FLO DVP_P1-2: LN 582 | DOM | DOM | 0.43638 | 0 | 8 | 0 | 0.32517 | 0 | 7 | 0
B:3147426BARRCK2 3147516CROZET1 1 FLO DVP_P1-2: LN 291_SRT-A | DOM | DOM | 0.38891 | 0.68744 | 15 | 19 | 0.20189 | 0.71663 | 8 | 15
B:203971AE1-071-POI 20052026ROXBURY 1 FLO AP_P1-2_WP-500-DRT17_SRT-SL | PENELEC | PENELEC | 0.35862 | 12.2322 | 92 | 735 | 0 | 0 | 0 | 0
B:271428ESS H452 ;RT272730WATERMAN ;3B1 FLO BASE CASE | COMED | COMED | 0.35419 | 0.32789 | 23 | 20 | 0.51372 | 0.54421 | 32 | 31
B:24312205SW LIM 24315205WMOULT 1 FLO AEP_P1-2_#14717_SRT-A | AEP | AEP | 0.33099 | 0.32986 | 25 | 16 | 0.35813 | 0.4119 | 35 | 23
B:24800506KYGER 24252805SPORN 1 FLO BASE CASE | OVEC | AEP | 0.33002 | 2.3876 | 105 | 291 | 0.31985 | 2.4416 | 111 | 309
B:232003CARTANZA 232004MILF_230 1 FLO CKT 23030B | DPL | DPL | 0.3269 | 0.56497 | 22 | 37 | 0.28855 | 0.56076 | 20 | 37
B:316281AC2-100 TAP 316218AC1-221 TAP 1 FLO DVP_P1-2: LN 570 | DOM | DOM | 0.31368 | 0.41027 | 30 | 48 | 0.15626 | 0.17569 | 16 | 23
B:203971AE1-071-POI 20052026ROXBURY 1 FLO PECO_P1-2_5012_SRT-A/* $ CHESCO $ PECO_P1-2_5012 | PENELEC | PENELEC | 0.29684 | 1.3501 | 25 | 79 | 0 | 0 | 0 | 0
B:3410202ARGENTUM 24372505GRAYSB 1 FLO AEP_P2-1_243688 05S.PORT MTR 138 342538 4ARGENTU | EKPC | AEP | 0.26527 | 0.15709 | 56 | 36 | 0.25861 | 0.14624 | 56 | 33
B:220984SANDY34T 220941H.RDGE16 1 FLO BG_P1_2314_SRT-A | BGE | BGE | 0.24143 | 0.026513 | 209 | 41 | 0.15648 | 0.022562 | 153 | 37
B:20067626E.SAYRE 130836N.WAV115 1 FLO PL_02_P12_000193_SRT-A | PENELEC | NYZC | 0.21031 | 0.3348 | 1263 | 1516 | 0.15565 | 0.39682 | 1194 | 1937
B:23546801FROSTB 23550401RIDGLY 1 FLO AP-P1-2-PE-500-004 | APS | APS | 0.19421 | 0.6972 | 25 | 40 | 0.18997 | 0.83438 | 43 | 44
B:25511317STILLWELL 25518017STILLWELL 1 FLO AEP_P1-2_#701 | NIPS | NIPS | 0.18888 | 0.27781 | 86 | 81 | 0.69936 | 0.42232 | 329 | 162 | M2M
B:270716DRESDEN ; B274702KENDALL ;BU1 FLO COMED_P1-2_345-L11620_B-S_SRT-A | COMED | COMED | 0.18837 | 0 | 5 | 0 | 0.08147 | 0 | 4 | 0
B:24270105LEESVI 3146674ALTVSTA 1 FLO BASE CASE | AEP | DOM | 0.18252 | 0.40548 | 4 | 11 | 0.18053 | 0.39699 | 4 | 10
B:223994BURCH230 223995PALM090 1 FLO PEPCO_P1_PP67 | PEPCO | PEPCO | 0.15547 | 0.10859 | 302 | 158 | 0.14019 | 0.079114 | 211 | 164
B:203971AE1-071-POI 20052026ROXBURY 1 FLO BASE CASE | PENELEC | PENELEC | 0.13329 | 2.4306 | 30 | 426 | 0 | 0 | 0 | 0
B:224014BUZZ 138 224012BUZZ 026 1 FLO PEPCO_P1_PP73_SRT-A | PEPCO | PEPCO | 0.12241 | 0.073692 | 722 | 578 | 0.072794 | 0.056476 | 417 | 391
B:271218CLYBOURN ; B271326DIVERSEY ; B1 FLO BASE CASE | COMED | COMED | 0.10862 | 0.13788 | 4221 | 4868 | 0.095508 | 0.11924 | 3848 | 4482
B:271323DEVON ;3R272385ROSE HILL;RT1 FLO COMED_P1-2_138-L11416_R-C_SRT-A | COMED | COMED | 0.10783 | 0.12706 | 1836 | 1731 | 0.12215 | 0.1431 | 1978 | 1845
B:270716DRESDEN ; B275179DRESDEN ;1M1 FLO COMED_P1-2_345-L10805_B-S_SRT-A | COMED | COMED | 0.1002 | 1.1881 | 9 | 29 | 0.039394 | 0.033232 | 7 | 4
B:220961NWEST326 220963CONASTON 1 FLO BG_P1_2310 | BGE | BGE | 0.098497 | 0.047797 | 6 | 6 | 0 | 0 | 0 | 0
B:24190102LALLENDORF26461219MON12 1 FLO ATSI-P1-2-TE-345-605T | FE-ATSI | DECO | 0.09449 | 0.23929 | 28 | 26 | 0.070221 | 0.11378 | 26 | 27 | M2M
B:270728E FRANKFO; B274750CRETE EC ;BP1 FLO AEP_P1-2_#695_1681 | COMED | COMED | 0.09209 | 0.39068 | 10 | 20 | 0 | 0 | 0 | 0
B:270716DRESDEN ; B274702KENDALL ;BU1 FLO COMED_P1-2_345-L1221__B-S_SRT-A | COMED | COMED | 0.089948 | 0 | 6 | 0 | 0.10168 | 0 | 5 | 0
B:24262005DANVL2 24263105EDAN 1 1 FLO BASE CASE | AEP | AEP | 0.088751 | 0 | 14 | 0 | 0.12145 | 0 | 17 | 0
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#6156_543_SRT-A | AEP | EKPC | 0.069948 | 0.019815 | 6 | 2 | 0.10117 | 0.0571 | 6 | 2
B:271320DES PL 46;7I271656HIGGINS ; B1 FLO BASE CASE | COMED | COMED | 0.069153 | 0.079169 | 1549 | 1476 | 0.078072 | 0.090782 | 1666 | 1583
B:274750CRETE EC ;BP25511217STJOHN 1 FLO AEP_P1-2_#695_1681 | COMED | NIPS | 0.068295 | 0.81824 | 7 | 54 | 0 | 0 | 0 | 0 | M2M
B:271680HAUMESSER; B272756W DEKALB ;3T1 FLO COMED_P1-2_345-L15502_B-R | COMED | COMED | 0.063941 | 0.30855 | 3 | 14 | 0.064088 | 0.30966 | 3 | 15
B:3147476BREMO 3147443BREMO 1 FLO DVP_P1-2: LN 2193 | DOM | DOM | 0.059635 | 0.46599 | 9 | 42 | 0.03673 | 0.27204 | 8 | 30
B:271247CROSBY ; R271327DIVERSEY ; R1 FLO COMED_P1-2_138-L14818_R-C | COMED | COMED | 0.059433 | 0.08687 | 3761 | 4572 | 0.056637 | 0.077287 | 3484 | 4187
B:271579GRENSHAW ; R272727WASHINGTO; R1 FLO BASE CASE | COMED | COMED | 0.050109 | 0.046413 | 3487 | 3796 | 0.012254 | 0.02339 | 3013 | 3562
B:272726WASHINGTO; B272506STATELINE;2S1 FLO COMED_P1-2_138-L17008_B-C_SRT-A | COMED | COMED | 0.047883 | 0.036478 | 3023 | 3355 | 0.0077921 | 0.010271 | 1639 | 1852
B:24321205BENTON 24780305SEGRETO 1 FLO AEP_P1-2_#7023_8101690 | AEP | AEP | 0.042702 | 1.3657 | 9 | 55 | 0.074342 | 2.9412 | 19 | 99
B:23533401GLENFL 23538001OAKMND 1 FLO AP_P1-2_MP-138-013_SRT-A | APS | APS | 0.039914 | 0.15538 | 4 | 15 | 0.066109 | 0.39291 | 6 | 32
B:272092NATOMA ; B272184OAK PARK ; B1 FLO BASE CASE | COMED | COMED | 0.03881 | 0.044931 | 2844 | 2973 | 0.044232 | 0.050843 | 2913 | 3049
B:3147596HOLLYMD 3147346CASHSCORNER1 FLO DVP_P1-2: LN 553 | DOM | DOM | 0.038474 | 0 | 1 | 0 | 0.024922 | 0.012102 | 1 | 2
B:316281AC2-100 TAP 3040706PERSON230 T1 FLO DVP_P1-2: LN 570 | DOM | CPLE | 0.031639 | 0.068578 | 4 | 6 | 0.21013 | 0.21744 | 21 | 18
B:23513901AL&D6T 23520401KITTAN 1 FLO AP_P1-2_WP-138-085A_SRT-A | APS | APS | 0.031347 | 0 | 92 | 0 | 0.013822 | 0 | 70 | 0
B:20067526E.TWANDA 132004PAR 1 FLO BASE CASE | PENELEC | NYZK | 0.027974 | 0.046329 | 296 | 354 | 0.0060613 | 0.0066047 | 158 | 83
B:220961NWEST326 220963CONASTON 1 FLO PJM_500_BG_P1_5011_SRT-A | BGE | BGE | 0.025412 | 0.15374 | 2 | 5 | 0 | 0 | 0 | 0
B:271435ESS H447 ; R272363ESS H440 ; R1 FLO COMED_P1-2_138-L16914_R-R_SRT-A | COMED | COMED | 0.024813 | 0.0066177 | 1 | 3 | 0.024363 | 0 | 1 | 0
B:20067626E.SAYRE 130836N.WAV115 1 FLO PL_02_P12_000082_SRT-A | PENELEC | NYZC | 0.022994 | 0.055859 | 335 | 379 | 0.01475 | 0.023515 | 379 | 329
B:271322DEVON ;9B272384ROSE HILL;BT1 FLO BASE CASE | COMED | COMED | 0.02153 | 0.032242 | 285 | 229 | 0.020546 | 0.027718 | 301 | 210
B:24263805FIELDALE1 24283105THORNT 1 FLO AEP_P1-2_#311_5_SRT-A | AEP | AEP | 0.020037 | 0.019758 | 1 | 1 | 0.024678 | 0.050167 | 2 | 2
B:631141ROCK CK3 270864QUAD 1 3-11 1 FLO COMED_P1-2_345-L0401___-R | ALTW | COMED | 0.019009 | 0 | 1 | 0 | 0.018261 | 0 | 1 | 0 | M2M
B:20067526E.TWANDA 132004PAR 1 FLO PN-P1-3-PN-230-029 | PENELEC | NYZK | 0.018401 | 0.00010957 | 34 | 5 | 0.019035 | 0.0017415 | 54 | 7
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#16537_SRT-A | AEP | EKPC | 0.018228 | 0 | 1 | 0 | 0.024141 | 0.025866 | 2 | 1
B:25512417CHICAGO_AV25516917PRAXAIR-3 1 FLO AEP_P1-2_#695_1681 | NIPS | NIPS | 0.018155 | 0.26371 | 14 | 37 | 0.1069 | 0.10398 | 106 | 110 | M2M
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 534 | DOM | DOM | 0.014893 | 0.26371 | 3 | 11 | 0 | 0.16998 | 0 | 6
B:271246CROSBY ; B272370ROCKWELL ; B1 FLO BASE CASE | COMED | COMED | 0.013711 | 0.011507 | 1026 | 1468 | 0.0013655 | 0.0023713 | 532 | 1027
B:20469327BOONETOWN 20451227S.RDG 1 FLO PL:04:P13:101211 | METED | METED | 0.012318 | 0.0074518 | 2 | 2 | 0.0095064 | 0.0066328 | 1 | 2
B:217101STANTER_3 217170MCCARTER 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.010338 | 0.014637 | 1572 | 2171 | 0.0070902 | 0.012971 | 988 | 1511
B:271247CROSBY ; R272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.0103 | 0.0063126 | 703 | 996 | 0.0014188 | 0.0031446 | 413 | 795
B:272352RIDGELAND; B272354RIDGELAND;BS1 FLO BASE CASE | COMED | COMED | 0.010231 | 0.019411 | 1094 | 1612 | 0.0022193 | 0.0074437 | 632 | 1158
B:270703CRAWFORD ; R270923WEST LOOP; R1 FLO COMED_P1-2_345-L1310__B-C | COMED | COMED | 0.0099883 | 0.015066 | 139 | 302 | 0.0024534 | 0.0030154 | 63 | 159
B:213819N PHILA8 213783MASTER 1 FLO PECO_P1-2_220-18/* $ MONTCO $ PECO_P1-2_220-18 $ | PECO | PECO | 0.0078345 | 0.023667 | 3 | 3 | 0.0049291 | 0.12836 | 3 | 3
B:272135NORTHWEST;8S272129NORTHWEST; R1 FLO BASE CASE | COMED | COMED | 0.0076155 | 0.0097546 | 423 | 317 | 0.0067919 | 0.0086401 | 415 | 332
B:271491FRANKL PK; R271493FRANKL PK;0S1 FLO BASE CASE | COMED | COMED | 0.0069873 | 0.017404 | 1270 | 2097 | 0.0031874 | 0.0098386 | 958 | 1771
B:271656HIGGINS ; B272092NATOMA ; B1 FLO BASE CASE | COMED | COMED | 0.0062686 | 0.016536 | 585 | 965 | 0.0011602 | 0.0046932 | 345 | 674
B:271230CRAWFORD ; G271236CRAWFORD ;GS1 FLO BASE CASE | COMED | COMED | 0.0057002 | 0.010644 | 1264 | 1285 | 0.007671 | 0.010546 | 1497 | 1512
B:20052226SHADE GP 203971AE1-071-POI 1 FLO PECO_P1-2_5012_SRT-A/* $ CHESCO $ PECO_P1-2_5012 | PENELEC | PENELEC | 0.005093 | 0.001025 | 4 | 1 | 0 | 0 | 0 | 0
B:271634HARBOR ; B271632HARBOR ;8S1 FLO BASE CASE | COMED | COMED | 0.004277 | 0.0054604 | 1190 | 1569 | 0.0030626 | 0.00504 | 955 | 1389
B:271231CRAWFORD ; Y271237CRAWFORD ;YS1 FLO BASE CASE | COMED | COMED | 0.0039858 | 0.0090635 | 630 | 795 | 0.0047843 | 0.0062789 | 785 | 934
B:23548301MDWBRK 237057AD1-155 TAP 1 FLO DVP_P1-2: LN 550 | APS | APS | 0.0037595 | 0 | 1 | 0 | 0.014527 | 0.058888 | 2 | 1
B:272507STATELINE;5S272727WASHINGTO; R1 FLO COMED_P1-2_138-L13803_R-C | COMED | COMED | 0.0032766 | 0.016375 | 215 | 397 | 0.0011681 | 0.0024739 | 161 | 256
B:271578GRENSHAW ; B272586TAYLOR ; B1 FLO BASE CASE | COMED | COMED | 0.0027802 | 0.011259 | 378 | 470 | 0.003264 | 0.0096296 | 511 | 578
B:271578GRENSHAW ; B272650UNIVERSIT; B1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.0021063 | 0.017636 | 15 | 53 | 5.984e-05 | 0.0003359 | 13 | 25
B:271490FRANKL PK; B271492FRANKL PK;5S1 FLO BASE CASE | COMED | COMED | 0.0018217 | 0.0061027 | 444 | 796 | 0.0013222 | 0.0053606 | 350 | 690
B:213844NOTTNGHM 213846NOTTREAC 1 FLO PECO_P1-2_5012_SRT-A/* $ CHESCO $ PECO_P1-2_5012 | PECO | PECO | 0.0018149 | 0 | 2 | 0 | 0.20595 | 0.66968 | 32 | 35
B:216915CDRGV 217808CDRGV_Y 1 FLO PS_P1-2_S-2297 | PSEG | PSEG | 0.0016104 | 0.0058543 | 88 | 227 | 0.00066127 | 0.0019817 | 71 | 137
B:20052226SHADE GP 203971AE1-071-POI 1 FLO BASE CASE | PENELEC | PENELEC | 0.0011598 | 0.50524 | 1 | 84 | 0 | 0 | 0 | 0
B:271652HEGEWISCH; B271654HEGEWISCH;BT1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.0010729 | 0.015681 | 22 | 44 | 0.00014098 | 0.0006784 | 6 | 15
B:223938DICKH230 223937DICK 230 1 FLO AP-P1-2-PE-500-407T | PEPCO | PEPCO | 0.0010549 | 0.54455 | 2 | 49 | 0.17702 | 2.7417 | 34 | 214
B:20052226SHADE GP 203971AE1-071-POI 1 FLO AP-P1-2-PE-500-004 | PENELEC | PENELEC | 0.00075601 | 0.85109 | 2 | 60 | 0 | 0 | 0 | 0
B:24800506KYGER 24252805SPORN 1 FLO AEP_P1-2_#7441_100545_SRT-A | OVEC | AEP | 0.00038525 | 0.051317 | 1 | 4 | 0.009841 | 0.092475 | 7 | 11
B:20067626E.SAYRE 130836N.WAV115 1 FLO PN_P1-2_PN-345-104T_SRT-A | PENELEC | NYZC | 0.00033639 | 0.017356 | 46 | 71 | 0.00062821 | 0.0033686 | 40 | 65
B:272502STATELINE; B25517217ROXANA 1 FLO EXT_P12:345:NIPS:34520:17SHEFFIELD:17GARY_AVE:1 | COMED | NIPS | 0.00016956 | 0.0012416 | 4 | 7 | 2.499e-05 | 0.0056793 | 7 | 34 | M2M
B:24748905BOSSERMAN 25515317MICH_CITY 1 FLO AEP_P1-2_#7265_21601 | AEP | NIPS | 0.00016593 | 0.075533 | 1 | 6 | 7.858e-05 | 0.053967 | 1 | 6 | M2M
B:272504STATELINE;3B272506STATELINE;2S1 FLO COMED_P1-2_138-L17008_B-C_SRT-A | COMED | COMED | 3.72e-06 | 0 | 1 | 0 | 0.0024492 | 0.0057229 | 666 | 1036
B:24322905OLIVE 25511217STJOHN 1 FLO AEP_P1-2_#695_1681 | AEP | NIPS | 0 | 0 | 0 | 0 | 1.6225 | 2.0327 | 36 | 56 | M2M
B:24493005NEW CARLI125515217MAPLE 1 FLO AEP_P1-2_#701 | AEP | NIPS | 0 | 0.042794 | 0 | 3 | 0 | 0.01704 | 0 | 2 | M2M
B:271241CRESCENT ; R3489354CORBIN 1 FLO EXT_348921 4PRINCETN TP 138 348923 4EKEWANEE N 1 | COMED | AMIL | 0 | 0.0024031 | 0 | 1 | 0 | 0.032966 | 0 | 2 | M2M
I:50045005 FLO VINCO-HUNT | 0 | 0 | 0 | 0.060766 | 0 | 3 | 0 | 0.12773 | 0 | 3
B:24321105ALLEN 24293305RPMONE 1 FLO AEP_P1-2_#7441_100545_SRT-A | AEP | AEP | 0 | 0.018795 | 0 | 2 | 0.0020625 | 0.33906 | 1 | 9
B:23549001MORGAN 23545301CHERYR 1 FLO AP_P1-2_WP-500-DRT17_SRT-SL | APS | APS | 0 | 0 | 0 | 0 | 0.067065 | 0.86337 | 19 | 102
B:23520501KRENDL 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 0 | 0.31383 | 0 | 6 | 0 | 0 | 0 | 0
B:23545301CHERYR 23551701HARMNY 1 FLO AP_P1-2_WP-138-110A_SRT-A | APS | APS | 0 | 0.018078 | 0 | 2 | 0 | 0 | 0 | 0
B:23515201BUTLER 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 0 | 0 | 0 | 0 | 0 | 0.0077515 | 0 | 1
B:23550401RIDGLY 23559301HAMPS2 1 FLO AP_P1-2_PE-138-057_SRT-A | APS | APS | 0 | 0 | 0 | 0 | 0 | 0.0072603 | 0 | 2
B:23550401RIDGLY 23559301HAMPS2 1 FLO BASE CASE | APS | APS | 0 | 0 | 0 | 0 | 0 | 0.0064235 | 0 | 3
B:221092FIVE.FOR 221096ROCKRGE1 1 FLO BG_P1_110512_SRT-A | BGE | BGE | 0 | 0 | 0 | 0 | 4.7611 | 1.6653 | 57 | 25
B:220964GRACETON 221000BAGLEY 5 FLO BG_P1_2313_SRT-A | BGE | BGE | 0 | 0 | 0 | 0 | 4.3037 | 1.3821 | 109 | 108
B:200004CNASTONE 200064PCHBTM1S 1 FLO BASE CASE | BGE | PECO | 0 | 0 | 0 | 0 | 0.63846 | 0.025916 | 29 | 4
B:200004CNASTONE 200064PCHBTM1S 1 FLO ME_P1-2_ME-500-004T_SRT-A | BGE | PECO | 0 | 0 | 0 | 0 | 0.089927 | 0 | 3 | 0
B:275179DRESDEN ;1M271337DRESDEN ; R1 FLO COMED_P1-2_345-L10805_B-S_SRT-A | COMED | COMED | 0 | 0 | 0 | 0 | 0 | 1.1159 | 0 | 27
B:270694CHERRY VA; B276670GARDEN PR; R1 FLO COMED_P1-2_345-L0626__B-R_SRT-A | COMED | COMED | 0 | 0.0066631 | 0 | 1 | 0 | 0 | 0 | 0
B:3147416BARRCK1 3147526CROZET2 1 FLO DVP_P1-2: LN 553 | DOM | DOM | 0 | 0.28894 | 0 | 9 | 0 | 0.22925 | 0 | 9
B:3147526CROZET2 3147946DOOMS 1 FLO DVP_P1-2: LN 553 | DOM | DOM | 0 | 0 | 0 | 0 | 0 | 0.067565 | 0 | 1
B:3145543BTLEBRO 3042233ROCKYMT115T1 FLO DVP_P1-2: LN 2058_SRT-A | DOM | CPLE | 0 | 0.015712 | 0 | 1 | 0 | 0.001425 | 0 | 1
B:3146906BLACK WALNU3146866CLOVER 1 FLO DVP_P1-2: LN 570 | DOM | DOM | 0 | 0.01038 | 0 | 2 | 0 | 0.0054311 | 0 | 1
B:20451527YORKANA 207922BRIS 1 FLO PECO_P1-2_5012_SRT-A/* $ CHESCO $ PECO_P1-2_5012 | METED | PLGRP | 0 | 0 | 0 | 0 | 11.9949 | 11.3634 | 362 | 269
B:205912AD1-020 TAP 20454427LINCOLN 1 FLO PJM_500_BG_P1_5011_SRT-A | METED | METED | 0 | 0 | 0 | 0 | 1.3412 | 5.2294 | 57 | 197
B:20455027ORRTANNA 20454427LINCOLN 1 FLO ME_P1-2_ME-115-068_SRT-A | METED | METED | 0 | 0 | 0 | 0 | 0.18824 | 1.3543 | 14 | 68
B:20453927HUNTRSTN 205912AD1-020 TAP 1 FLO PJM_500_BG_P1_5011_SRT-A | METED | METED | 0 | 0 | 0 | 0 | 0.20984 | 1.3442 | 17 | 66
B:20453027GERMANTN 23546301TANEY 1 FLO PJM_500_BG_P1_5011_SRT-A | METED | APS | 0 | 0 | 0 | 0 | 0.12144 | 1.0678 | 20 | 77
B:20452927GERMANTN 20453827STRABAN 1 FLO ME_P1-2_ME-500-004T_SRT-A | METED | METED | 0 | 0.07539 | 0 | 4 | 0 | 0 | 0 | 0
B:20454427LINCOLN 20455027ORRTANNA 1 FLO ME-P1-2-ME-115-016_NONa | METED | METED | 0 | 0 | 0 | 0 | 0.0040146 | 0.048712 | 1 | 4
B:24800906CLIFTY 3242274CARROLLTON 1 FLO EXT_249532 08TRIMBL 345 324105 7GHENT 345 1 | OVEC | LKE | 0 | 0.30712 | 0 | 9 | 0 | 0.32884 | 0 | 9
B:24800506KYGER 24252805SPORN 1 FLO AEP_P1-2_#309_15_SRT-A | OVEC | AEP | 0 | 0.022091 | 0 | 9 | 0 | 0.034499 | 0 | 11
B:203971AE1-071-POI 20052026ROXBURY 1 FLO AP-P1-2-PE-500-004 | PENELEC | PENELEC | 0 | 0.59667 | 0 | 62 | 0 | 0 | 0 | 0
B:203971AE1-071-POI 20052026ROXBURY 1 FLO PN-P1-2-PN-230-103AT | PENELEC | PENELEC | 0 | 0.11763 | 0 | 17 | 0 | 0 | 0 | 0
B:203956AE2-224 TAP 20085526BEAR RCK 1 FLO BASE CASE | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0 | 0.11553 | 0 | 4
B:20072126TRADE CI 20076026DIXONVLL 1 FLO AP_P1-2_WP-345-311T_SRT-A | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0 | 0.10752 | 0 | 7
B:20052226SHADE GP 203971AE1-071-POI 1 FLO AP_P1-2_WP-500-DRT17_SRT-SL | PENELEC | PENELEC | 0 | 0.06468 | 0 | 6 | 0 | 0 | 0 | 0
B:20052226SHADE GP 203971AE1-071-POI 1 FLO PN-P1-2-PN-230-103AT | PENELEC | PENELEC | 0 | 0.014887 | 0 | 3 | 0 | 0 | 0 | 0
B:20067526E.TWANDA 132004PAR 1 FLO PN_P1-2_PN-345-104T_SRT-A | PENELEC | NYZK | 0 | 0.011817 | 0 | 11 | 0 | 0.0049114 | 0 | 3
B:223937DICK 230 3142906EDFERRY 1 FLO AP-P1-2-PE-500-407T | PEPCO | DOM | 0 | 0.00089212 | 0 | 1 | 0 | 0.14873 | 0 | 8
B:223938DICKH230 223937DICK 230 2 FLO PEPCO_P1_PP1 | PEPCO | PEPCO | 0 | 0.010458 | 0 | 1 | 0 | 0 | 0 | 0
B:208393FARO DC TIE 208395FARO FF 1 FLO BASE CASE | PLGRP | PLGRP | 0 | 0 | 0 | 0 | 3.4631 | 5.6902 | 191 | 284
B:200023WESC 211321WESC 3 FLO PL_20_P12_000092_SRT-A | PLGRP | PLGRP | 0 | 0.01035 | 0 | 1 | 0.012975 | 0.018504 | 2 | 2
B:208393FARO DC TIE 208395FARO FF 2 FLO BASE CASE | PLGRP | PLGRP | 0 | 0 | 0 | 0 | 0 | 0.010127 | 0 | 1
*Note: Includes PJM internal and prospective M2M constraints >= $10,000 in either 2027 or 2030. This list DOES NOT represent the list of congestion drivers for the 2022/23 Long-Term Window.
** The list of eligible congestion drivers will be posted before the 2022/23 Long-Term Window start. (For description of eligible congestion drivers see Manual 14F, 8.2.1.1 Eligible Congestion Drivers)
*** Upgrade case includes the reliability upgrades from the 2022 Reliability Window 1 and 2022 Multi-Driver Window 1.