## congestion
2022/23 Market Efficiency Base Case Congestion Results* (results posted on 01/08/2024) (This is NOT the list of Eligible Congestion Drivers)** |  |  | Base Case ($Million) | Base Case (Hours Binding)
Constraint | FROM AREA | TO AREA | 2028 Input Assumptions | 2028 Input Assumptions | Type
B:24260305CLIFFR 24256305BOXWD 1 FLO AEP_P1-2_#7422_16_SRT-A | AEP | AEP | 48.4942 | 2013
B:20630228OYSTER C 20629728MANITOU 2 FLO JC_P1-2_JCC-230-021_SRT-W | JCPL | JCPL | 17.1422 | 384
B:3147464BREMO 24279205SCOTSV 1 FLO AEP_P1-2_#7422_16_SRT-A | DOM | AEP | 11.3723 | 1144
B:271428ESS H452 ;RT272730WATERMAN ;3B1 FLO BASE CASE | COMED | COMED | 7.5138 | 417
B:271241CRESCENT ; R3489354CORBIN 1 FLO EXT_348921 4PRINCETN TP 138 348923 4EKEWANEE N 1 | COMED | AMIL | 7.2772 | 515 | M2M
B:271680HAUMESSER; B272756W DEKALB ;3T1 FLO COMED_P1-2_345-L15502_B-R | COMED | COMED | 6.5822 | 276
B:23854202ASH_1 23909502SBRNQ1 1 FLO ATSI_P1-2_CEI-345-720_SRT-A | FE-ATSI | FE-ATSI | 5.9301 | 1392
B:270771GREENACRE; T24322905OLIVE 1 FLO AEP_P1-2_#695_1681 | COMED | AEP | 4.7666 | 84
B:3147443BREMO 3137083FORK UNION 2 FLO DVP_P1-2: LN 2193 | DOM | DOM | 4.4111 | 376
B:3489194MITTAL NTP 3487564PUTNAM 1 FLO COMED_P1-2_138-L98105_R-S | AMIL | AMIL | 3.6473 | 121 | M2M
I:AEP-DOM FLO BASE CASE | 0 | 0 | 2.8019 | 109 | Interface
B:23549001MORGAN 23545301CHERYR 1 FLO AP_P1-2_WP-500-DRT17_SRT-SL | APS | APS | 2.1269 | 114
B:3142876CHESTF B 3142766BASIN 1 FLO DVP_P1-2: LN 563 | DOM | DOM | 1.8457 | 47
I:AP SOUTH FLO BLACKO-BEDNG | 0 | 0 | 1.7855 | 56 | Interface
B:25511317STILLWELL 25518017STILLWELL 1 FLO AEP_P1-2_#701 | NIPS | NIPS | 1.7626 | 649 | M2M
B:23551801WESTVA 23549201MTZION 1 FLO AP_P1-2_PE-500-004_SRT-W | APS | APS | 1.7042 | 61
B:3147476BREMO 3147443BREMO 1 FLO DVP_P1-2: LN 2193 | DOM | DOM | 1.6553 | 129
B:24800506KYGER 24252805SPORN 1 FLO BASE CASE | OVEC | AEP | 1.4528 | 271
B:3147726PROFFIT 3147496CHARLVL 1 FLO DVP_P1-2: LN 553_SRT-A | DOM | DOM | 1.1965 | 60
B:3145086THRASHER 3144666FENTRES 1 FLO DVP_P1-2: LN 271_SRT-A | DOM | DOM | 1.1002 | 14
B:25510717LK_GEORGE 25510917MUNSTER 1 FLO AEP_P1-2_#695_1681 | NIPS | NIPS | 0.95419 | 50 | M2M
B:3269755CEDAR GRV 3427005BULLITT CO 1 FLO BASE CASE | LKE | EKPC | 0.79458 | 13
B:24321105ALLEN 24293305RPMONE 1 FLO AEP_P1-2_#7441_100545_SRT-A | AEP | AEP | 0.69668 | 34
B:3147476BREMO 3138676BREMODIST 1 FLO AEP_P1-2_#7422_16 | DOM | DOM | 0.65466 | 62
B:25512617DUNE_ACRE 25515317MICH_CITY 2 FLO AEP_P1-2_#695_1681 | NIPS | NIPS | 0.65075 | 46 | M2M
B:24190102LALLENDORF26461219MON12 1 FLO ATSI-P1-2-TE-345-605T | FE-ATSI | DECO | 0.56811 | 72 | M2M
B:24312205SW LIM 24315205WMOULT 1 FLO AEP_P1-2_#14717_SRT-A | AEP | AEP | 0.53635 | 21
B:26461219MON12 26470719BNSTNS 1 FLO EXT_P12:345:ITCT:LN:MON12:WAYNE:1 | DECO | DECO | 0.51755 | 11 | M2M
B:207955DAUP TR2 208004JUNI 1 FLO PL_P21_000303 | PLGRP | PLGRP | 0.51744 | 20
B:3137076FORK UNION 3133736CUNNING 1 FLO AEP_P1-2_#7422_16 | DOM | DOM | 0.5155 | 31
B:232013SILVER RUN 232012HOPE CREEK 1 FLO PJM500_PS_P1-2_5015 | PSEG | PSEG | 0.48145 | 36
B:24962108KOK HP 24963808TIPTN 1 FLO EXT_P12:345:DEI:CAYUGA-NUCOR 34501 | DUK-IN | DUK-IN | 0.42489 | 32 | M2M
B:23513901AL&D6T 23520401KITTAN 1 FLO PN_P1-2_PN-345-107T_SRT-A | APS | APS | 0.38912 | 298
B:3143096IRON208 3142866CHESTF A 1 FLO DVP_P1-2: LN 563_SRT-A | DOM | DOM | 0.26396 | 24
B:25396415COLLIE 25398015ELWYN 1 FLO DLC_P12_Z-162_SRT-A | DUQ | DUQ | 0.25431 | 13
B:3250134CLIFTY TAP13242894NORTHSIDE 1 FLO AEP_P1-2_#1027_SRT-A | LKE | LKE | 0.24338 | 29
B:23881302HOYTDL 23894202MAPLE 1 FLO AP-P1-2-MP-500-510T | FE-ATSI | FE-ATSI | 0.20803 | 29
B:271323DEVON ;3R272385ROSE HILL;RT1 FLO COMED_P1-2_138-L11416_R-C_SRT-A | COMED | COMED | 0.19989 | 2578
B:25512417CHICAGO_AV25516917PRAXAIR-3 1 FLO AEP_P1-2_#695_1681 | NIPS | NIPS | 0.19325 | 165 | M2M
B:3145226CHCKTUK 3138186BENCHRCH 1 FLO DVP_P1-2: LN 582 | DOM | DOM | 0.17727 | 1
B:24951008GIBSON 24953108FRNCSC 1 FLO EXT_P12:345:SIGE:GIBSON-BROWN:GIBSON:AB_BROWN_34 | DUK-IN | DUK-IN | 0.16266 | 8 | M2M
B:24321205BENTON 24780305SEGRETO 1 FLO AEP_P1-2_#7023_8101690 | AEP | AEP | 0.15602 | 10
B:24800506KYGER 24252805SPORN 1 FLO AEP_P1-2_#7441_100545_SRT-A | OVEC | AEP | 0.15415 | 18
B:20469327BOONETOWN 20451227S.RDG 1 FLO PL:04:P13:101211 | METED | METED | 0.12416 | 12
B:24950908DUFF 24953108FRNCSC 1 FLO EXT_P12:345:SIGE:GIBSON-BROWN:GIBSON:AB_BROWN_34 | DUK-IN | DUK-IN | 0.12339 | 3 | M2M
B:271218CLYBOURN ; B271326DIVERSEY ; B1 FLO BASE CASE | COMED | COMED | 0.11803 | 4203
B:631141ROCK CK3 270864QUAD 1 3-11 1 FLO COMED_P1-2_345-L0401___-R | ALTW | COMED | 0.11382 | 10 | M2M
B:271322DEVON ;9B272384ROSE HILL;BT1 FLO BASE CASE | COMED | COMED | 0.1122 | 1028
I:AP SOUTH FLO BASE CASE | 0 | 0 | 0.11051 | 4 | Interface
B:24314305WBELLA 24313105TILTON 1 FLO BASE CASE | AEP | AEP | 0.098212 | 3
B:271320DES PL 46;7I271656HIGGINS ; B1 FLO BASE CASE | COMED | COMED | 0.090611 | 1532
B:271247CROSBY ; R271327DIVERSEY ; R1 FLO COMED_P1-2_138-L14818_R-C | COMED | COMED | 0.08969 | 3801
B:3146926FARMVIL 3146776BUCKING 1 FLO DVP_P1-2: LN 593_SRT-A | DOM | DOM | 0.080165 | 7
B:3426044JACKSNVIL T339212AC1-074 TAP 1 FLO EKPC_P1-2_SPUR-NCLA345_SRT-A | EKPC | EKPC | 0.075928 | 7
B:23731001DANSMTN 23550401RIDGLY 1 FLO AP-P1-2-PE-500-004 | APS | APS | 0.073587 | 5
B:270736ELWOOD ; B270770GOODINGS ;4B1 FLO COMED_P1-2_345-L11622_R-S_SRT-A | COMED | COMED | 0.072871 | 16
B:24263205EDAN 2 24254905BANSTR 1 FLO AEP_P1-2_#311_5_SRT-A | AEP | AEP | 0.066913 | 2
B:316079AB2-161 TAP 3142733BAKRS P 1 FLO DVP_P1-2: LN 2002_SRT-A | DOM | DOM | 0.063976 | 9
B:23536301MAHNSL 24334705TIDD 3-4 1 FLO AP_P1-2_MP-138-061B_SRT-A | APS | AEP | 0.062837 | 14
B:272092NATOMA ; B272184OAK PARK ; B1 FLO BASE CASE | COMED | COMED | 0.062542 | 2591
B:223938DICKH230 223937DICK 230 2 FLO PEPCO_P1_PP1 | PEPCO | PEPCO | 0.060015 | 3
B:3146116THELMA 3145836LAKEVEW 1 FLO DVP_P1-2: LN 225_SRT-A | DOM | DOM | 0.0579 | 2
B:3145086THRASHER 3144666FENTRES 1 FLO DVP_P1-2: LN 2240_SRT-SW | DOM | DOM | 0.052186 | 7
B:24883107HUBBL8 24969108BATESV 1 FLO AEP_P1-2_#144_1696 | HE | DUK-IN | 0.048705 | 11 | M2M
B:23546801FROSTB 23550401RIDGLY 1 FLO AP-P1-2-PE-500-004 | APS | APS | 0.040863 | 3
B:3147476BREMO 3138676BREMODIST 1 FLO DVP_P1-2: LN 576 | DOM | DOM | 0.036831 | 22
B:24323305TANNER 24956708M.FORT 1 FLO DEOK_P1_TERMINAL-EAST BEND 4516 | AEP | DEOK | 0.035112 | 1
B:270855POWERTON ; R3496627TAZEWELL 1 FLO COMED_P1-2_345-L1202__B-S | COMED | AMIL | 0.033532 | 3 | M2M
B:130836N.WAV115 20067626E.SAYRE 1 FLO PN_P1-2_PN-230-101T_SRT-A | NYZC | PENELEC | 0.029578 | 321
B:24970408CHRYS2 24979608MAPLE 1 FLO KOKOMO-NEW LONDON | DUK-IN | DUK-IN | 0.02892 | 2 | M2M
B:272502STATELINE; B25517217ROXANA 1 FLO EXT_P12:345:NIPS:34520:17SHEFFIELD:17GARY_AVE:1 | COMED | NIPS | 0.028073 | 80 | M2M
B:316218AC1-221 TAP 3146976SEDGE HILL 1 FLO EXT_DURHAM500_CB33_SRT-W | DOM | DOM | 0.024689 | 2
B:24307005OHIOCT 24309405SCOSHC 1 FLO AEP_P1-2_#41_544_SRT-A | AEP | AEP | 0.021881 | 8
B:271579GRENSHAW ; R272727WASHINGTO; R1 FLO BASE CASE | COMED | COMED | 0.02157 | 3442
B:3146116THELMA 3145836LAKEVEW 2 FLO DVP_P1-2: LN 213_SRT-A | DOM | DOM | 0.019755 | 1
B:3410202ARGENTUM 24372505GRAYSB 1 FLO AEP_P2-1_243688 05S.PORT MTR 138 342538 4ARGENTU | EKPC | AEP | 0.019732 | 4
B:216914WORANGE 217766ORNGHGHTS2301 FLO BASE CASE | PSEG | PSEG | 0.019196 | 1201
B:270716DRESDEN ; B275179DRESDEN ;1M1 FLO COMED_P1-2_345-L10805_B-S_SRT-A | COMED | COMED | 0.018862 | 1
B:3040706PERSON230 T316281AC2-100 TAP 1 FLO AEP_P1-2_#311_5_SRT-A | CPLE | DOM | 0.015661 | 3
B:224014BUZZ 138 224012BUZZ 026 1 FLO PEPCO_P1_PP73_SRT-A | PEPCO | PEPCO | 0.012495 | 485
B:272506STATELINE;2S272726WASHINGTO; B1 FLO COMED_P1-2_138-L0708__B-C_SRT-A | COMED | COMED | 0.012298 | 1993
B:25513917MITTAL-2 25517217ROXANA 1 FLO EXT_255123 17CALUMET 138 255176 17SHEFFIELD 138 | NIPS | NIPS | 0.01154 | 181 | M2M
B:270703CRAWFORD ; R270923WEST LOOP; R1 FLO COMED_P1-2_345-L1310__B-C | COMED | COMED | 0.011088 | 87
B:271230CRAWFORD ; G271236CRAWFORD ;GS1 FLO BASE CASE | COMED | COMED | 0.010652 | 1323
B:3140996GI1MRUN 3140856REMNGCT 1 FLO DVP_P1-2: LN 2077_SRT-SW | DOM | DOM | 0.0098286 | 3
B:271652HEGEWISCH; B271654HEGEWISCH;BT1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.0090653 | 133
B:20469327BOONETOWN 20451227S.RDG 1 FLO BASE CASE | METED | METED | 0.0084756 | 2
B:271231CRAWFORD ; Y271237CRAWFORD ;YS1 FLO BASE CASE | COMED | COMED | 0.0084609 | 946
B:272135NORTHWEST;8S272129NORTHWEST; R1 FLO BASE CASE | COMED | COMED | 0.0083414 | 339
B:271578GRENSHAW ; B272586TAYLOR ; B1 FLO BASE CASE | COMED | COMED | 0.0066894 | 783
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 574 | DOM | DOM | 0.0064463 | 1
B:272507STATELINE;5S272727WASHINGTO; R1 FLO COMED_P1-2_138-L13803_R-C | COMED | COMED | 0.0063776 | 145
B:271246CROSBY ; B272370ROCKWELL ; B1 FLO BASE CASE | COMED | COMED | 0.0060713 | 1288
B:214277RICHMOND35 214012WANEETA3 1 FLO BASE CASE | PECO | PECO | 0.005706 | 2
B:272352RIDGELAND; B272354RIDGELAND;BS1 FLO BASE CASE | COMED | COMED | 0.0056255 | 1447
B:217101STANTER_3 217170MCCARTER 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.0054631 | 371
B:271491FRANKL PK; R271493FRANKL PK;0S1 FLO BASE CASE | COMED | COMED | 0.0052861 | 905
B:23515201BUTLER 23519701KARNSC 1 FLO AP_P1-2_WP-500-303T_SRT-A | APS | APS | 0.0038531 | 1
B:223991TALBT082 223994BURCH230 1 FLO PEPCO_P1_CHALK-KEYS | PEPCO | PEPCO | 0.0016476 | 4
B:270716DRESDEN ; B274702KENDALL ;BU1 FLO COMED_P1-2_345-L1221__B-S_SRT-A | COMED | COMED | 0 | 0
I:50045005 FLO VINCO-HUNT | 0 | 0 | 0 | 0 | Interface
B:24969108BATESV 24883107HUBBL8 1 FLO P2-3-68A_SRT-S | DUK-IN | HE | 0 | 0 | M2M
B:213819N PHILA8 213783MASTER 1 FLO PECO_P1-2_220-18/* $ MONTCO $ PECO_P1-2_220-18 $ | PECO | PECO | 0 | 0
B:3146674ALTVSTA 24274105OTTER 1 FLO BASE CASE | DOM | AEP | 0 | 0
B:223994BURCH230 223991TALBT082 1 FLO PEPCO_P1_PP47_SRT-A | PEPCO | PEPCO | 0 | 0
B:3149348SPOTSYL 3149168MORRSVL 1 FLO DVP_P1-2: LN 552 | DOM | DOM | 0 | 0
B:3141826NORNECK 3141813NORNECK 2 FLO DVP_P1-3: 6NORNECK-TX#4_SRT-A | DOM | DOM | 0 | 0
B:207950CUMB 208004JUNI 1 FLO ME-P1-2-ME-500-001 | PLGRP | PLGRP | 0 | 0
B:200023WESC 211321WESC 3 FLO PL_20_P12_000092_SRT-A | PLGRP | PLGRP | 0 | 0
B:24883107HUBBL8 24969108BATESV 1 FLO EXT_249723 08FAIRVW 138 249878 08WIMNTN 138 1 _S | HE | DUK-IN | 0 | 0 | M2M
I:BLABED FLO BASE CASE | 0 | 0 | 0 | 0 | Interface
I:BC_PEP FLO BASE CASE | 0 | 0 | 0 | 0 | Interface
N:DLRHS2L FLO SUS-HAR1 FLO PL:40:P12:000182 | 0 | 0 | -1.21e-06 | 33
*Note: Includes PJM internal and prospective M2M constraints >= $10,000 in 2028. This list DOES NOT represent the list of congestion drivers for the 2022/23 Long-Term Window.
** The list of eligible congestion drivers will be posted before the 2022/23 Long-Term Window start. (For description of eligible congestion drivers see Manual 14F, 8.2.1.1 Eligible Congestion Drivers)