## Sheet1
Maintenance Items/Actions to be Categorized | Short Run Marginal Cost (SRMC) |  | Fixed Avoidable Cost Rate (ACR)
Fossil Steam Unit | SRMC | VOM | ACR | APIR
Boiler Tube Leak Repair
Boiler Tube Replacement
Boiler Annual Inspection
Burner Repairs
Water Chemistry Tasks
Flow Acceleration Corrosion NDE Survey
FD/ID Fan Overhaul
Air Heater Wash
Air Heater Bucket Replacement
Rotating Equipment Vibration/Oil Survey
Generator Inspection
Generator Rewind
Feedwater Pump Overhaul
Steam Turbine Inspection/Overhaul
a) Open, Inspect, Clean, and Close
b) Seal Replacement
c) Bearing Repairs
d) Stop, Governing, & Intercept Valve Repairs
e) Nozzle/Blade Repairs
f) Nozzle/Blade Replacements
Coal Mill Overhaul
Fuel Pumps Inspection
Fuel Pumps Overhaul
Replacement of Cooling Tower Fill and Drift Eliminators
Condenser Cleaning
Condenser Tube Replacement
Circulating Water Pump Overhaul
Precipitator Inspection
CEMs Maintenance
Air Compressor Overhaul
Water Plant Repairs
Ash Handling System Repairs
Waste Treatment Facility Repairs
Combustion Turbine
Inlet Air Filter Replacement
Borescopic Inspection of Hot Gas Path
Turbine Overhaul
Turbine Blade Replacement
Combuster Replacement
Governor Controls Upgrade
Fuel Gas Compressors Overhaul
Air/Diesel Starting System Repairs
Clutch Inspection
Clutch Overhaul
Power Turbine Overhaul
Generator Inspection
Generator Rewind
Stack Repairs
Fuel/Water Tank Inspections
Fuel/Water Tank Repairs