## Notes
Slide | Spreadsheet tab
Slide 3 | Historical Nameplate Solar
Slide 7 | IHS Solar Forecast - Cumulative
Slide 8 | Historical and IHS Forecast Solar - Cumulative
Slide 13 | IHS Battery Forecast - Annual Additions

## Historical GADS data - slide3
Historical Nameplate Capacity of Distributed Solar Generation (MW - AC)
| 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
AE | [5 empty] | 0.13046 | 0.39494 | 1.6342 | 4.2606 | 5.6107 | 11.7641 | 24.6605 | 45.1434 | 96.6884 | 129.3146 | 154.4146 | 186.3224 | 220.278 | 287.461 | 335.8188 | 403.8201 | 455.2968 | 510.0192 | 558.0559 | 574.1625
AEP |  |  |  |  | 0.001536 | 0.004224 | 0.010848 | 0.017376 | 0.044832 | 0.07536 | 0.28675 | 0.53021 | 13.5131 | 17.2501 | 23.1346 | 29.0989 | 35.5937 | 39.3376 | 44.6524 | 45.8364 | 67.8131 | 74.9011 | 82.1566 | 143.929 | 187.0669
APS | 0.002976 | 0.002976 | 0.002976 | 0.005568 | 0.006816 | 0.007776 | 0.020928 | 0.020832 | 0.020832 | 0.062784 | 0.11952 | 0.99101 | 5.135 | 11.3624 | 16.5381 | 20.6072 | 30.3078 | 55.5691 | 97.6399 | 127.972 | 127.9671 | 138.5772 | 150.1504 | 185.5009 | 200.2114
ATSI |  |  |  |  | 0.030336 | 0.03024 | 0.0456 | 0.053856 | 0.0624 | 0.064608 | 0.24518 | 0.49843 | 5.3058 | 19.0803 | 36.5478 | 44.2833 | 47.852 | 53.2212 | 59.5823 | 89.1807 | 93.8372 | 101.4025 | 112.0445 | 126.8604 | 130.5627
BGE | [5 empty] | 0 | 0.003936 | 0.006816 | 0.03504 | 0.10858 | 1.632 | 3.537 | 8.9094 | 22.9852 | 39.9788 | 53.7841 | 78.7273 | 162.1276 | 259.1813 | 296.2617 | 325.6535 | 377.7736 | 429.0892 | 474.626 | 484.7478
COMED | 0 | 0 | 0.006912 | 0.015264 | 0.068928 | 0.1176 | 0.11712 | 0.1656 | 0.17347 | 0.1727 | 0.20054 | 0.30662 | 0.92352 | 1.2575 | 23.9823 | 24.9551 | 25.9404 | 28.2777 | 33.2022 | 43.8343 | 50.4465 | 101.2761 | 263.2698 | 519.2823 | 607.3867
DAYTON | [9 empty] | 0.002688 | 0.022368 | 0.1031 | 0.47155 | 2.1597 | 8.8965 | 11.1009 | 12.5705 | 16.9864 | 17.4534 | 17.4698 | 23.9151 | 39.138 | 39.0939 | 39.3151 | 38.2948
DPL |  | 0.00096 | 0.00096 | 0.00096 | 0.00576 | 0.01056 | 0.026016 | 0.044064 | 0.3193 | 0.75984 | 2.2443 | 4.8438 | 7.9776 | 33.3843 | 61.6964 | 83.347 | 98.3103 | 128.7189 | 159.58 | 182.5663 | 213.5473 | 239.8196 | 273.8942 | 283.9387 | 295.9518
DQE | [6 empty] | 0.009888 | 0.0192 | 0.019104 | 0.019008 | 0.019008 | 0.038112 | 0.64925 | 1.0884 | 3.6338 | 4.1318 | 4.3396 | 4.7655 | 6.6369 | 16.0876 | 19.3412 | 21.0265 | 22.7556 | 32.1183 | 35.6491
DUKE |  | 0.051744 | 0.051552 | 0.05136 | 0.051168 | 0.050976 | 0.050688 | 0.072288 | 0.10858 | 0.13037 | 0.32198 | 0.62074 | 1.6552 | 6.128 | 11.4257 | 11.8505 | 13.3144 | 15.2645 | 15.8353 | 15.8968 | 24.4106 | 24.9047 | 24.1294 | 24.6801 | 22.5876
EKPC | [9 empty] | 0.013632 | 0.013536 | 0.0312 | 0.0648 | 0.12173 | 0.1464 | 0.16886 | 0.25027 | 0.52387 | 0.64541 | 11.0854 | 11.0315 | 11.0198 | 10.969 | 10.9057 | 10.817
JCPL |  |  | 0.016992 | 0.016992 | 0.0744 | 0.912 | 1.7791 | 5.4207 | 11.407 | 15.3762 | 24.1481 | 37.1825 | 66.3655 | 161.8529 | 236.2037 | 298.7217 | 355.265 | 408.2621 | 486.2535 | 519.0875 | 594.6521 | 695.9141 | 772.4167 | 823.4423 | 862.1585
METED |  |  | 0.00192 | 0.00192 | 0.034848 | 0.042624 | 0.042432 | 0.063168 | 0.067872 | 0.10099 | 0.15283 | 1.499 | 13.1595 | 32.7037 | 35.2336 | 35.927 | 36.9489 | 38.3928 | 42.7722 | 51.1527 | 54.5687 | 65.1801 | 74.2352 | 95.7798 | 105.0673
PECO | 0.016128 | 0.017856 | 0.02976 | 0.037536 | 0.11338 | 0.18211 | 0.25056 | 0.32822 | 0.50794 | 0.62621 | 0.89779 | 3.486 | 15.4749 | 33.4936 | 43.9678 | 48.7323 | 49.4698 | 51.2632 | 64.7299 | 77.1951 | 83.5565 | 92.1541 | 108.3413 | 122.9297 | 126.6613
PENLC |  |  | 0.020736 | 0.02064 | 0.020544 | 0.020448 | 0.020448 | 0.020352 | 0.020256 | 0.02016 | 0.028704 | 0.26381 | 1.335 | 4.0021 | 4.4656 | 5.0487 | 5.5068 | 5.7058 | 6.8475 | 7.0702 | 7.5832 | 8.8322 | 10.9645 | 15.119 | 17.9126
PEPCO | [5 empty] | 0.005376 | 0.01104 | 0.032064 | 0.054528 | 0.16714 | 0.46858 | 3.3559 | 6.5071 | 13.5636 | 27.9083 | 41.2027 | 60.5598 | 116.3198 | 209.3614 | 260.5611 | 303.489 | 346.2248 | 434.5425 | 497.5404 | 530.7753
PL | [7 empty] | 0.005952 | 0.023232 | 0.079008 | 0.19142 | 2.4708 | 29.0122 | 67.2659 | 77.0852 | 80.1517 | 82.3726 | 93.6635 | 107.4644 | 120.1001 | 134.5167 | 147.7316 | 170.7222 | 200.5393 | 217.5223
PS |  |  | 0.002592 | 0.34464 | 0.50304 | 0.58637 | 1.0819 | 4.6631 | 14.3585 | 21.4409 | 32.4359 | 65.3706 | 115.7163 | 264.0389 | 414.7953 | 507.6867 | 547.503 | 598.1772 | 692.7779 | 756.6268 | 895.5891 | 989.673 | 1119.0925 | 1294.3351 | 1376.4745
RECO |  |  | 0.002496 | 0.004896 | 0.004896 | 0.0048 | 0.036672 | 0.087264 | 0.13613 | 0.93994 | 1.0097 | 1.6224 | 2.0991 | 4.9901 | 11.0002 | 12.2392 | 12.5027 | 12.9242 | 13.7984 | 14.7756 | 16.1256 | 18.4464 | 26.4663 | 29.1679 | 29.9798
UGI | [10 empty] | 0.003264 | 0.096864 | 0.2305 | 0.38035 | 0.40224 | 0.43718 | 0.45149 | 0.44957 | 0.46003 | 0.45811 | 0.44304 | 0.45149 | 0.46013 | 0.61248 | 0.6336
VEPCO | 0 | 0.001056 | 0.0024 | 0.0024 | 0.01008 | 0.01008 | 0.01008 | 0.019968 | 0.043584 | 0.073344 | 0.17098 | 0.58982 | 2.8578 | 4.5124 | 11.34 | 25.5045 | 109.737 | 269.0925 | 543.1465 | 566.5372 | 708.7061 | 805.2925 | 992.3044 | 1147.8366 | 1192.5463
PJM RTO | 0.019104 | 0.074592 | 0.1393 | 0.50218 | 0.92573 | 2.1156 | 3.9122 | 12.6751 | 31.6632 | 45.8442 | 76.3766 | 152.0984 | 342.5065 | 798.3097 | 1217.6969 | 1493.394 | 1793.8455 | 2319.3211 | 3149.4817 | 3555.5743 | 4161.0132 | 4755.0362 | 5627.1176 | 6626.515 | 7047.1698
Note: All years except for 2022 are based on calendar year, 2022 is through 8/31/2022

## IHS Solar Forecast - slide7
Distributed Solar Generation Forecast by Zone (Cumulative Additions of Nameplate Capacity)
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
AE | 31.6164 | 68.8152 | 114.8301 | 162.1681 | 213.1147 | 268.329 | 321.0179 | 376.7369 | 436.1309 | 498.1985 | 549.768 | 593.1025 | 630.4378 | 666.2369 | 701.2507 | 733.431
AEP | 140.7496 | 233.6951 | 278.5124 | 329.9773 | 384.2676 | 444.134 | 509.1339 | 578.8269 | 637.0213 | 695.0857 | 740.7453 | 789.7126 | 841.1031 | 894.2359 | 950.6768 | 1008.3072
APS | 51.2676 | 96.2595 | 132.494 | 176.0686 | 229.9898 | 291.1971 | 352.1311 | 413.5955 | 480.9046 | 551.9447 | 603.9176 | 659.1157 | 709.0011 | 763.0935 | 816.6914 | 867.9776
ATSI | 124.2754 | 194.3747 | 218.0063 | 244.5737 | 271.8303 | 301.5831 | 332.6099 | 364.6102 | 393.4858 | 421.0476 | 442.9227 | 465.7306 | 490.8283 | 516.5267 | 543.6981 | 569.5504
BGE | 79.7177 | 165.4759 | 249.0146 | 351.6564 | 471.9398 | 614.7949 | 748.7484 | 876.4713 | 1025.9937 | 1189.1452 | 1314.9544 | 1443.7798 | 1555.1264 | 1681.8962 | 1807.0637 | 1915.4002
COMED | 254.6824 | 533.6402 | 736.7477 | 951.6588 | 1208.188 | 1527.92 | 1858.9854 | 2200.6985 | 2544.6569 | 2888.6124 | 3161.4912 | 3392.9757 | 3568.5574 | 3737.9436 | 3915.2357 | 4073.9559
DAYTON | 33.0857 | 51.5032 | 57.4112 | 64.0379 | 70.5916 | 77.7642 | 85.246 | 92.9375 | 99.6889 | 106.0466 | 111.2398 | 116.621 | 122.7175 | 128.9394 | 135.5915 | 141.9436
DPL | 42.8017 | 115.0697 | 187.2209 | 259.5618 | 343.763 | 437.2835 | 533.8946 | 634.017 | 768.4361 | 925.3652 | 1076.3053 | 1197.8815 | 1257.8708 | 1321.6926 | 1385.0354 | 1445.3865
DQE | 16.3638 | 27.4681 | 34.2836 | 42.0032 | 52.4678 | 63.696 | 75.4343 | 87.7542 | 100.9335 | 114.4916 | 123.7495 | 133.8531 | 143.2517 | 153.2096 | 163.1208 | 172.3261
DUKE | 44.9387 | 70.5051 | 79.0349 | 88.8587 | 98.7205 | 109.82 | 121.6327 | 134.3254 | 145.2564 | 155.7799 | 164.0843 | 173.0501 | 183.2846 | 193.8208 | 205.4373 | 216.5588
EKPC | 1.5532 | 3.462 | 4.8724 | 7.0701 | 9.5641 | 13.0475 | 17.2593 | 22.9801 | 27.3961 | 32.1293 | 35.176 | 39.2611 | 44.0587 | 49.1481 | 55.486 | 61.5542
JCPL | 72.4362 | 157.8901 | 263.9975 | 373.5857 | 491.6979 | 619.726 | 742.0184 | 871.4068 | 1009.4941 | 1153.9882 | 1274.1403 | 1375.1843 | 1462.3465 | 1546.0441 | 1628.048 | 1703.5348
METED | 19.1038 | 31.9988 | 39.8899 | 48.8147 | 60.9099 | 73.8921 | 87.4759 | 101.7466 | 117.0407 | 132.8039 | 143.5899 | 155.3812 | 166.3669 | 178.0181 | 189.6244 | 200.4063
PECO | 48.7724 | 81.6311 | 101.6644 | 124.2206 | 154.7009 | 187.3665 | 221.4705 | 257.2467 | 295.5019 | 334.8505 | 361.7195 | 391.0582 | 418.352 | 447.2638 | 476.0242 | 502.6849
PENLC | 20.7995 | 34.7989 | 43.3326 | 52.9474 | 65.9419 | 79.8663 | 94.4016 | 109.6405 | 125.9347 | 142.6918 | 154.1288 | 166.6029 | 178.1961 | 190.4589 | 202.6398 | 213.9258
PEPCO | 80.9623 | 169.5316 | 254.5618 | 343.3109 | 438.2017 | 548.9957 | 660.4046 | 770.83 | 895.1425 | 1032.0448 | 1124.4198 | 1214.3339 | 1297.5936 | 1393.3151 | 1488.3363 | 1564.4911
PL | 49.1122 | 82.3058 | 102.6127 | 125.5656 | 156.6728 | 190.0875 | 225.0484 | 261.802 | 301.187 | 341.7871 | 369.559 | 399.9243 | 428.2122 | 458.2193 | 488.0937 | 515.8486
PS | 141.7796 | 309.7119 | 518.7815 | 735.1092 | 968.5026 | 1221.5594 | 1463.3204 | 1719.0595 | 1991.9311 | 2277.3488 | 2514.5838 | 2713.9757 | 2885.8902 | 3050.7845 | 3212.233 | 3360.9124
RECO | 4.6855 | 10.185 | 16.9788 | 23.9571 | 31.4539 | 39.5599 | 47.2806 | 55.4234 | 64.0859 | 73.1175 | 80.6092 | 86.8922 | 92.2972 | 97.4693 | 102.5188 | 107.1508
UGI | 1.2663 | 2.1175 | 2.6355 | 3.2182 | 4.0038 | 4.8436 | 5.7171 | 6.6308 | 7.6047 | 8.604 | 9.2839 | 10.024 | 10.7102 | 11.4351 | 12.1535 | 12.8177
VEPCO | 111.7204 | 243.7703 | 344.0226 | 466.8995 | 606.4948 | 762.5895 | 932.2221 | 1121.1132 | 1257.6945 | 1400.7754 | 1515.3896 | 1639.1528 | 1745.628 | 1863.0105 | 1989.9475 | 2108.8246
PJM RTO | 1371.6903 | 2684.2095 | 3780.9053 | 4975.2634 | 6333.0175 | 7878.0558 | 9435.4529 | 11057.8528 | 12725.5211 | 14475.8588 | 15871.7778 | 17157.613 | 18231.8303 | 19342.7621 | 20468.9065 | 21496.9887

## Hist and IHS Forecast - slide8
Distributed Solar Generation Forecast by Zone - Cumulative Nameplate Capacity - Includes Historical Degraded Values and IHS Forecast
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
AE | 601.1856 | 633.8278 | 675.3226 | 718.1767 | 764.6752 | 815.477 | 863.7888 | 915.1655 | 970.2521 | 1028.0468 | 1075.3774 | 1114.5071 | 1147.6712 | 1179.3324 | 1210.2414 | 1238.3498
AEP | 326.32 | 417.7809 | 461.1255 | 511.1296 | 563.9707 | 622.3994 | 685.9732 | 754.2514 | 811.0424 | 867.7147 | 911.9933 | 959.5906 | 1009.622 | 1061.4067 | 1116.5102 | 1172.814
APS | 249.8772 | 293.2803 | 327.9386 | 369.9497 | 422.3198 | 481.9884 | 541.3961 | 601.3464 | 667.1535 | 736.7037 | 787.1985 | 840.9303 | 889.3612 | 942.0107 | 994.1773 | 1044.0436
ATSI | 253.7936 | 322.8568 | 345.4605 | 371.0082 | 397.2534 | 426.0028 | 456.0343 | 487.0471 | 514.9432 | 541.5334 | 562.4446 | 584.2963 | 608.4455 | 633.203 | 659.441 | 684.3673
BGE | 560.5875 | 642.4987 | 722.2213 | 821.0774 | 937.6054 | 1076.7352 | 1206.9932 | 1331.0501 | 1476.9358 | 1636.4798 | 1758.7104 | 1883.9857 | 1991.8107 | 2115.0871 | 2236.789 | 2341.6877
COMED | 857.2101 | 1131.3476 | 1329.6734 | 1539.8412 | 1791.6649 | 2106.7291 | 2433.164 | 2770.2837 | 3109.6854 | 3449.1207 | 3717.5154 | 3944.5517 | 4115.7208 | 4280.7297 | 4453.6795 | 4608.0921
DAYTON | 71.0741 | 89.1877 | 94.7942 | 101.1218 | 107.3789 | 114.2572 | 121.447 | 128.849 | 135.3131 | 141.3858 | 146.2962 | 151.397 | 157.2153 | 163.1613 | 169.5396 | 175.6201
DPL | 336.3859 | 406.3052 | 476.1265 | 546.1561 | 628.0646 | 719.3107 | 813.6656 | 911.5498 | 1043.7486 | 1198.4753 | 1347.2305 | 1466.6392 | 1524.4785 | 1586.1675 | 1647.3945 | 1705.6467
DQE | 51.7277 | 62.5491 | 69.0839 | 76.5252 | 86.7136 | 97.6678 | 109.1343 | 121.1847 | 134.0965 | 147.3893 | 156.384 | 166.2266 | 175.3662 | 185.0672 | 194.7235 | 203.6759
DUKE | 67.3456 | 92.7328 | 101.0847 | 110.7321 | 120.419 | 131.3449 | 142.9854 | 155.5072 | 166.2688 | 176.6242 | 184.7619 | 193.5623 | 203.6327 | 214.006 | 225.4611 | 236.4224
EKPC | 12.2836 | 14.1066 | 15.4318 | 17.5451 | 19.9552 | 23.3555 | 27.4849 | 33.1239 | 37.4587 | 42.1114 | 45.0782 | 49.0842 | 53.8032 | 58.8146 | 65.0752 | 71.0667
JCPL | 927.6975 | 1006.3092 | 1105.6293 | 1208.4845 | 1319.9175 | 1441.3198 | 1557.0394 | 1679.9077 | 1811.527 | 1949.6049 | 2063.392 | 2158.1219 | 2239.0206 | 2316.5049 | 2392.3451 | 2461.7176
METED | 123.3305 | 135.3917 | 142.4557 | 150.56 | 161.8412 | 174.016 | 186.7988 | 200.2749 | 214.7808 | 229.762 | 239.7724 | 250.7942 | 261.0167 | 271.9106 | 282.7658 | 292.8026
PECO | 174.4205 | 206.2739 | 225.3102 | 246.8772 | 276.3762 | 308.0684 | 341.2068 | 376.0251 | 413.3301 | 451.7361 | 477.6699 | 506.0811 | 532.4546 | 560.4537 | 588.3085 | 614.0709
PENLC | 38.5689 | 52.4261 | 60.8187 | 70.2936 | 83.1494 | 96.9362 | 111.3349 | 126.4383 | 142.5981 | 159.2219 | 170.5266 | 182.8696 | 194.3327 | 206.4664 | 218.5192 | 229.6782
PEPCO | 607.4913 | 691.8484 | 772.7001 | 857.3041 | 948.083 | 1054.7979 | 1162.1603 | 1268.5718 | 1388.9023 | 1521.8545 | 1610.311 | 1696.338 | 1775.7417 | 1867.638 | 1958.8646 | 2031.2552
PL | 264.8942 | 296.3616 | 314.9561 | 336.2102 | 365.6323 | 397.3753 | 430.6779 | 465.7865 | 503.5396 | 542.5209 | 568.6869 | 597.4591 | 624.1668 | 652.6062 | 680.9255 | 707.1378
PS | 1507.2423 | 1664.2509 | 1862.4841 | 2068.0622 | 2290.792 | 2533.2705 | 2764.5379 | 3009.8672 | 3272.4123 | 3547.5862 | 3774.6593 | 3963.9706 | 4125.8851 | 4280.8594 | 4432.4674 | 4571.3848
RECO | 34.4255 | 39.6871 | 46.2448 | 52.989 | 60.2536 | 68.1292 | 75.6214 | 83.5374 | 91.975 | 100.7835 | 108.0538 | 114.1173 | 119.3045 | 124.2605 | 129.0957 | 133.5151
UGI | 1.8949 | 2.741 | 3.254 | 3.8318 | 4.6125 | 5.4473 | 6.316 | 7.2249 | 8.1941 | 9.1887 | 9.8639 | 10.5994 | 11.281 | 12.0013 | 12.7152 | 13.3749
VEPCO | 1294.7264 | 1417.3121 | 1508.1761 | 1621.7398 | 1752.0963 | 1899.0262 | 2059.5673 | 2239.4397 | 2367.0744 | 2501.2802 | 2607.0904 | 2722.12 | 2819.9314 | 2928.7195 | 3047.1308 | 3157.5505
PJM RTO | 8362.4828 | 9619.0757 | 10660.2925 | 11799.6155 | 13102.7748 | 14593.655 | 16097.3273 | 17666.4323 | 19281.2319 | 20979.1239 | 22323.0168 | 23557.2421 | 24580.2624 | 25640.4067 | 26716.17 | 27694.274

## IHS Battery Forecast - slide15
Behind the Meter Battery Forecast by Zone - Annual Additions of Nameplate Capacity
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
AE | 0.59792 | 0.69469 | 0.80433 | 1.6718 | 1.7697 | 1.8417 | 2.0216 | 1.7589 | 1.7672 | 1.6255 | 1.1811 | 0.98311 | 1.0447 | 1.2805 | 1.4252 | 1.5868
AEP | 1.6872 | 2.1287 | 2.5297 | 2.5758 | 2.77 | 3.1654 | 3.9112 | 4.5286 | 4.4546 | 5.1024 | 4.6698 | 4.4787 | 4.2813 | 4.2217 | 4.2625 | 4.2943
APS | 0.83068 | 1.0006 | 1.3945 | 1.324 | 1.4473 | 1.6571 | 2.2966 | 2.7751 | 4.609 | 5.6082 | 5.7888 | 5.8423 | 5.5044 | 4.7119 | 4.5935 | 4.6211
ATSI | 1.1125 | 1.4827 | 1.6041 | 1.6516 | 1.7134 | 1.8545 | 2.0794 | 2.2613 | 2.0733 | 2.343 | 1.8615 | 1.7307 | 1.7365 | 1.6545 | 1.6235 | 1.6363
BGE | 1.4432 | 1.8366 | 2.6855 | 2.566 | 2.8039 | 3.2684 | 4.8105 | 5.8911 | 13.1657 | 15.7924 | 16.2771 | 16.3572 | 16.1784 | 14.0037 | 14.1465 | 14.104
COMED | 2.9939 | 4.137 | 5.4799 | 7.242 | 7.4628 | 7.7837 | 8.1574 | 9.1981 | 10.5432 | 12.2492 | 8.729 | 6.5051 | 7.147 | 7.3578 | 7.5246 | 7.6561
DAYTON | 0.29007 | 0.38886 | 0.41532 | 0.42975 | 0.44424 | 0.48001 | 0.53407 | 0.5769 | 0.524 | 0.58295 | 0.45479 | 0.42017 | 0.43879 | 0.43192 | 0.43382 | 0.43645
DPL | 0.63404 | 0.65218 | 0.81017 | 0.82127 | 0.9388 | 1.0611 | 1.4632 | 1.7612 | 3.5172 | 3.9491 | 3.7624 | 3.6334 | 3.5017 | 3.0854 | 3.1082 | 3.1141
DQE | 0.21021 | 0.24217 | 0.31245 | 0.29208 | 0.31673 | 0.35123 | 0.4411 | 0.51613 | 0.52955 | 0.70108 | 0.65123 | 0.6411 | 0.47054 | 0.30884 | 0.20672 | 0.21755
DUKE | 0.40591 | 0.54008 | 0.57838 | 0.60523 | 0.63146 | 0.69156 | 0.77778 | 0.85353 | 0.7961 | 0.89718 | 0.72252 | 0.67526 | 0.69954 | 0.69137 | 0.69414 | 0.69957
EKPC | 0.045497 | 0.041069 | 0.042101 | 0.056639 | 0.069187 | 0.095024 | 0.12456 | 0.16417 | 0.20216 | 0.25194 | 0.25408 | 0.25246 | 0.24595 | 0.24624 | 0.24393 | 0.2445
JCPL | 1.3699 | 1.5959 | 1.8547 | 3.8702 | 4.1029 | 4.2705 | 4.6922 | 4.0844 | 4.1087 | 3.7841 | 2.7519 | 2.2923 | 2.4389 | 2.9937 | 3.3378 | 3.7221
METED | 0.24541 | 0.28122 | 0.36176 | 0.33768 | 0.36608 | 0.40609 | 0.51045 | 0.59785 | 0.61453 | 0.8151 | 0.75873 | 0.74818 | 0.55 | 0.36136 | 0.24207 | 0.25481
PECO | 0.62655 | 0.7166 | 0.91842 | 0.85344 | 0.92253 | 1.0218 | 1.2816 | 1.4988 | 1.5371 | 2.0347 | 1.8901 | 1.8616 | 1.3665 | 0.8967 | 0.59985 | 0.63008
PENLC | 0.2672 | 0.30531 | 0.39122 | 0.36379 | 0.3933 | 0.43557 | 0.54621 | 0.63841 | 0.65471 | 0.86649 | 0.80452 | 0.7915 | 0.58042 | 0.38033 | 0.25405 | 0.26673
PEPCO | 1.4426 | 1.6881 | 2.4061 | 2.2814 | 2.4676 | 2.8059 | 3.8528 | 4.5572 | 8.7194 | 10.3275 | 10.4757 | 10.1399 | 9.8743 | 8.476 | 8.7052 | 8.7158
PL | 0.63091 | 0.72391 | 0.93096 | 0.86845 | 0.9415 | 1.0452 | 1.3138 | 1.5397 | 1.5825 | 2.0994 | 1.9536 | 1.9267 | 1.4162 | 0.93067 | 0.62309 | 0.65594
PS | 2.6813 | 3.1362 | 3.6545 | 7.6399 | 8.1074 | 8.441 | 9.2761 | 8.0728 | 8.1191 | 7.4748 | 5.4335 | 4.5235 | 4.8103 | 5.898 | 6.5714 | 7.3311
RECO | 0.088611 | 0.1027 | 0.11875 | 0.24645 | 0.26042 | 0.27039 | 0.29624 | 0.25704 | 0.25775 | 0.23653 | 0.17159 | 0.14254 | 0.15124 | 0.185 | 0.20553 | 0.2284
UGI | 0.016268 | 0.018563 | 0.023746 | 0.022047 | 0.023779 | 0.026267 | 0.032824 | 0.038278 | 0.039133 | 0.051672 | 0.047831 | 0.046962 | 0.034355 | 0.02248 | 0.014985 | 0.015697
VEPCO | 2.5042 | 3.1443 | 5.0117 | 4.7253 | 5.4904 | 6.6201 | 9.4057 | 11.7302 | 13.8041 | 15.7879 | 14.1622 | 12.4517 | 9.132 | 7.9127 | 7.5434 | 7.3343
PJM RTO | 20.1242 | 24.8575 | 32.3283 | 40.4447 | 43.4434 | 47.5928 | 57.8253 | 63.2998 | 81.619 | 92.5811 | 82.802 | 76.4444 | 71.6031 | 66.0506 | 66.3599 | 67.7658