## 1. Interest Identification
Market Settlements Subcommittee
eMTR and InSchedule Deadlines
Interest Identification
Instructions: List interests of all parties on this page.
1 | Provide better data for Settlement A
2 | Ability to reflect more AMI data in Settlement A
3 | No impact to financial settlement timelines
4 | Minimize or no impact to credit timelines
5 | Provide a more standard approach vs. adhoc changes during the month
6 | Current process burdensome to EDCs if performing processes twice
7 | Accurate charges for Retail load and auction load (including Balancing OR charges)
8 | eMTR data as accurate as possible
9 | Minimize end-of-month eMTR meter correction
10 | Balancing Operating Reserve deviation charges are not currently included in 2-month load reconciliation settlements.
11 | Minimize credit risk default exposure
12 | Continue to ensure timely settlements
13 | Continue to ensure timely posting of LMPs
14 | Ensure feasibility of solution
15
Interest: A concern, need or desire in addressing an issue (The reason why someone wants a certain solution and/or why the issue/opportunity is important to him/her).
Position: A proposed solution or option. (How someone wants something to be done. What they want vs. why it’s important.).

## 2. Options Matrix- Design Comp.
Market Settlements Subcommittee
eMTR and InSchedule Deadlines
OPTIONS MATRIX
Strive for simplicity
Solution Options2
# | Design Components1 | Priority (high/med/low) | Status Quo | A | B | C | D | E | F | G | Column1 | H | H
1 | eMTR initial data deadline |  | * Mon – Thurs Operating Days: Next business day at 12 p.m. * Friday, Sat, Sun Operating Days: Monday 3 p.m. | * Mon- Thurs Operating Days: Next business day @ 4pm Eastern Time, 3pm Central Time * * Friday, Sat, Sun Operating Days: Monday @ 4pm Eastern Time, 3pm Central Time | * Mon- Wed Operating Days: OD + 2 at noon * Thurs, Friday, Sat, Sun Operating Days: Tuesday @ noon | * Mon- Thurs Operating Days: OD + 1 at noon (Status Quo) * Friday, Sat, Sun Operating Days: Tuesday @ 10 am Eastern Time
2 | InSchedule initial data deadline |  | * Mon – Thurs Operating Days: Next business day at 2 p.m. * Friday, Sat, Sun Operating Days: Monday 5 p.m. | * Mon- Thurs Operating Days: Two business days after OD @ 4pm Eastern Time, 3pm Central Time * Friday, Sat, Sun Operating Days: Tuesday @ 4pm Eastern Time, 3pm Central Time | * Mon- Tues Operating Days: OD + 3 at noon * Wed - Sun Operating Days: Wednesday @ 12 p.m. Eastern Time | * Mon – Thurs Operating Days: Next business day at 4 p.m. Eastern Time * Friday, Sat, Sun Operating Days: Tuesday at 12 p.m. Eastern Time
3 | eMTR post-deadline data corrections - prior to issuance of monthly bill |  | No standard - dependent on numerous variables | Resubmit eMTR data on OD + 7 with some exception at end of month to be included in initial monthly bill | Resubmit eMTR data on OD + 5 with some exception at end of month to be included in initial monthly bill | Resubmit eMTR data on OD + 3 with some exception at end of month to be included in initial monthly bill | Resubmit eMTR data for a previous week and resettle for a week (timeline TBD based on settlement processing, weekly or monthly bill TBD) | Resubmit eMTR data on OD + 8 and OD + 60 (how process in bill TBD) Individual day submital (multiple days at a time) | [5 empty] | High
4 | InSchedule post-deadline data corrections - prior to issuance of monthly bill |  | No standard - dependent on numerous variables | Resubmit InSchedule data on OD + 7 with some exception at end of month to be included in initial monthly bill | Resubmit InSchedule data on OD + 5 with some exception at end of month to be included in initial monthly bill | Resubmit InSchedule data on OD + 3 with some exception at end of month to be included in initial monthly bill | Resubmit InSchedule data for a previous week and resettle for a week (timeline TBD based on settlement processing, weekly or monthly bill TBD.) | Resubmit InSchedule data on OD + 8 and OD + 60 (how process in bill TBD). Individual day submital (multiple days at a time) | Resubmit InSchedule data on OD + 8 (how process in bill TBD). Individual day submital (multiple days at a time) |  |  |  |  | Medium
5 | Post Billing eMTR data resubmittal |  | N/A | Resubmit eMTR data after initial deadline at some fixed time period to be included in a subsequent billing statement (include in weekly bill) | Resubmit eMTR data 45 days after the initial submittal and reprocess the day (include in monthly bill). | Resubmit eMTR data 60 days after the initial submittal and reprocess the day (include in monthly bill). | Resubmit eMTR data 120 days after the initial submittal and reprocess the day (include in monthly bill). | Resubmit eMTR data 30 days after the initial submittal and reprocess the day (include in monthly bill).
6 | Meter Correction Method |  | Data for month due by 3rd business day after the last day of the month and included in monthly bill Monthly charges (+/-) to EDCs and generators for corrections to metered energy values. Tie Meter Corrections settled using monthly PJM load weighted average RT LMP. Generator meter corrections settled using applicable monthly generation weighted average RT LMP. Allocation of above Meter correction charges for * external PJM tie-line corrections are allocated to all LSEs based on real-time load (without losses) ratio shares. * Mid-Atlantic 500kV internal ties and generators are allocated to Mid-Atlantic EDCs based on real-time load (without losses) ratio shares. * Non Mid-Atlantic 500 kv Internal ties and generators to the applicable EDC. | Process in following monthly billing (meter corrections for previous month) | Process in 2nd following monthly billing (meter corrections performed for same month as the Settlement B 60-day reconciliation process) | Process 60 days following monthly billing . Locks - No further changes
7 | Load Reconciliation Method |  | Load Reconciliation Settlements using load billing determinants - 2 months following billing month at midnight (i.e., April data due by midnight on June 30th). | Permit load data re-submittal and rerun the operating day. Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items. | Resubmit InSchedule data 70 days after the initial submittal and reprocess the day (include in monthly bill). Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items. | Load Reconciliation Settlements using load billing determinants - at some TBD interval, possibly quarterly @ midnight (i.e., April, May & June data due by midnight on September 30th). | Load Reconciliation Settlements using load billing determinants - 6 months after initial month billing month. | Load Reconciliation Settlements using load billing determinants - 120 days after initial month billing month. | Load Reconciliation Settlements resubmit data and reprocess the day - 120 days after initial month billing month. | Load Reconciliation Settlements resubmit data and reprocess the day - 60 days after initial month billing month. | Add Balancing Operating Reserve deviation load reconciliation to items that are reconciled under the current timeframe and method. | Resubmit InSchedule data 45 days after the initial submittal and reprocess the day (include in monthly bill). Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items.
8 | Weekly Bill Timing and Method |  | Issued on Tuesdays for previous Thursday through Wednesday period. | Process existing weekly bill and include rebilling of prior day(s). | Realign timing of weekly bill issuance with suggested eMTR and InSchedule deadline changes.
9 | EHV Loss Allocation |  | EHV ties and EHV generation are used to determine EHV losses for PJM East EDCs. This EHV loss amount is allocated to East EDCs based on hourly load ratio shares. | EHV loss locks for changes other than EHV component changes.
10 | Load Reconciliation Settlement C |  | Resubmit reconciliation data with agreement from all parties and rerun load reconcilation settlement. | Load Reconciliation (Settlement C) Q1 Resettled in October Q2 Resettled in January Q3 Resettled in April Q4 Resettled in July * Settlement C's would be at the option of the individual EDC; if EDC chose not to avail itself of PJM Settlement C software, then there would be NO Settlement C for that Zone. | Load Reconciliation (Settlement C) Q1 Resettled at end of Q1 of following calendar year Q2 Resettled at end of Q2 of following calendar year Q3 Resettled at end of Q3 of following calendar year Q4 Resettled at end of Q4 of following calendar year * Settlement C's would be at the option of the individual EDC; if EDC chose not to avail itself of PJM Settlement C software, then there would be NO Settlement C for that Zone. | Load Reconciliation (Settlement C) are processed in December of same calendar year * Settlement C's would be at the option of the individual EDC; if EDC chose not to avail itself of PJM Settlement C software, then there would be NO Settlement C for that Zone. | Load Reconciliation (Settlement C) are processed at end of current 2-Year PJM restriction on PJM billing adjustments, in accordance with tariff, similar to the manner that PJM handles other billing adjustments. * Settlement C's would be at the option of the individual EDC; if EDC chose not to avail itself of PJM Settlement C software, then there would be NO Settlement C for that Zone. | 120 Days - Typical Recon like that of todays 60 day - then LOCKS - no further changes
12
13
Instructions:
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decision-making method).

## 2a. Component Details
Market Settlements Subcommittee
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 |  | <enter detailed description of this component>
2 |  | <enter detailed description of this component>
3 |  | <enter detailed description of this component>
4 |  | <enter detailed description of this component>
5 |  | <enter detailed description of this component>

## 2b. Solution Details
Market Settlements Subcommittee
eMTR and InSchedule Deadlines
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Proposal Matrix
Market Settlements Subcommittee
Power Meter and InSchedule Deadlines
PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority (high/med/low) | Status Quo | A | B | C | D | E | F-Phase 1 Due TBD Allows for more time to verify data | F-Phase 2 Due TBD (June 2016??) Builds towards better final data & Sunset | F-Phase 3 Due TBD Incorporates AMI | Package G | Package H (Formerly Package F - Phase 1A) | Package I | Package J (Formerly Package F - Phase 2A) | Package K
1 | Power Meter initial data deadline |  | * Mon – Thurs Operating Days: Next business day at 12 p.m. EPT * Friday, Sat, Sun Operating Days: Monday 3 p.m. EPT | No Change | * Mon- Wed Operating Days: OD + 2 at noon * Thurs, Friday, Sat, Sun Operating Days: Tuesday @ noon | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | No Change | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT |  | No Change | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | No Change
2 | InSchedule initial data deadline |  | * Mon – Thurs Operating Days: Next business day at 2 p.m. EPT * Friday, Sat, Sun Operating Days: Monday 5 p.m. EPT | No Change | * Mon- Tues Operating Days: OD + 3 at noon * Wed - Sun Operating Days: Wednesday @ 12 p.m. Eastern Time | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | No Change | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT |  | No Change | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | No Change
3 | Power Meter post-deadline data corrections - prior to issuance of monthly bill |  | No standard - dependent on numerous variables | Resubmit Power Meter data for a previous week (Thurs - Wed) and resettle for a week (Potential timeline: Wednesday @ noon for previous Thurs - Wed) | Resubmit Power Meter data on OD + 7 with some exception at end of month to be included in initial monthly bill | Resubmit Power Meter data for a previous week (Thurs - Wed) and resettle for a week (Potential timeline: Wednesday @ noon for previous Thurs - Wed) | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change
4 | InSchedule post-deadline data corrections - prior to issuance of monthly bill |  | No standard - dependent on numerous variables | Resubmit InSchedule data for a previous week and resettle for a week (Potential timeline: Thursday@noon for previous Thurs - Wed) | Resubmit InSchedule data on OD + 7 with some exception at end of month to be included in initial monthly bill | Resubmit InSchedule data for a previous week and resettle for a week (Potential timeline: Thursday@noon for previous Thurs - Wed) | No Change | No Change | No Change |  | Resubmit InSchedule data for a previous week and resettle for a week (Potential timeline: Thursday@noon for previous Thurs - Wed) | No Change | No Change | No Change | No Change | No Change
5 | Post Billing Power Meter data resubmittal |  | N/A | No Change | Resubmit Power Meter data 45 days after the initial submittal and reprocess the day (include in monthly bill). | No Change | Resubmit Power Meter data 120 days after the initial submittal and reprocess the day (include in monthly bill). | Resubmit Power Meter data 45 days after the initial submittal and reprocess the day (include in monthly bill). | No Change | Resubmit Power Meter data 30 days after the initial submittal and reprocess the day (include in monthly bill). |  | No Change | N/A | N/A | Resubmit Power Meter data 30 days after the initial submittal and reprocess the day (include in monthly bill). | No Change
6 | Meter Correction Method |  | Data for month due by 3rd business day after the last day of the month and included in monthly bill Monthly charges (+/-) to EDCs and generators for corrections to metered energy values. Tie Meter Corrections settled using monthly PJM load weighted average RT LMP. Generator meter corrections settled using applicable monthly generation weighted average RT LMP. Allocation of above Meter correction charges for * external PJM tie-line corrections are allocated to all LSEs based on real-time load (without losses) ratio shares. * Mid-Atlantic 500kV internal ties and generators are allocated to Mid-Atlantic EDCs based on real-time load (without losses) ratio shares. * Non Mid-Atlantic 500 kv Internal ties and generators to the applicable EDC. | No Change | Process in following monthly billing (meter corrections for previous month) | Process in following monthly billing (meter corrections for previous month) | No Change | No Change | No Change | Submit meter correction data 60 days later |  | No Change | No Change | Process in following monthly billing (meter corrections for previous month) | Submit meter correction data 60 days later | No Change
7 | Load Reconciliation Method |  | Load Reconciliation Settlements using load billing determinants - 2 months following billing month at midnight (i.e., April data due by midnight on June 30th). | Load Reconciliation Settlements using load billing determinants - 120 days after initial month billing month. | Load Reconciliation Settlements and reprocess the day - 120 days after initial month billing month. | Load Reconciliation Settlements using load billing determinants - 120 days after initial month billing month. | Load Reconciliation Settlements resubmit data and reprocess the day - 120 days after initial month billing month. | Resubmit InSchedule data 70 days after the initial submittal and reprocess the day (include in monthly bill). Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items. | No Change | Resubmit InSchedule data 45 days after the initial submittal and reprocess the day (include in monthly bill). Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items. |  | Resubmit InSchedule data 70 days after the initial submittal and reprocess the day (include in monthly bill). Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items. The Load Reconciliation Method using billing determinants will only be available for Net Energy Metering Reconciliation Business Rules. | Add Balancing Operating Reserve deviation load reconciliation to items that are reconciled under the current timeframe and method. | Add Balancing Operating Reserve deviation load reconciliation to items that are reconciled under the current timeframe and method. | Resubmit InSchedule data 45 days after the initial submittal and reprocess the day (include in monthly bill). Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items. | Add Balancing Operating Reserve deviation load reconciliation to items that are reconciled under the current timeframe and method.
8 | Weekly Bill Timing and Method |  | Issued on Tuesdays for previous Thurday through Wednesday period. | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change
9 | EHV Loss Allocation |  | EHV ties and EHV generation are used to determine EHV losses for PJM East EDCs. This EHV loss amount is allocated to East EDCs based on hourly load ratio shares. | No Change | EHV loss (PJM East only) locks for changes other than EHV component changes. | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change
10 | Load Reconciliation Settlement C |  | Resubmit reconciliation data with agreement from all parties and rerun load reconcilation settlement. | No Change | No Change | No Change | No Change | No Change | No Change | 90 Days - Typical Recon like that of todays 60 day - then LOCKS - no further changes |  | N/A | No Change | No Change | 60 Days - Typical Recon like that of todays 60 day - then LOCKS - no further changes | No Change
* NOTES
1.) On 11/14/2013, the Subcommittee discussed resubmitting InSchedule Internal Bilateral Transactions (IBTs) in conjunction with the resubmittal of InSchedule load transactions. The subcommittee indicated IBTs should be included in the resubmittal as well.
2.) Options for components #3 and #4 requiring the resubmittal of data would result in rerunning days that have already been included in a weekly and/or monthly bill. If the resubmittal of data does not fit within the current monthly bill timeframe, the resettled days would appears as billing line item adjustments on the next month’s monthly bill.
3.) For components #3 and #5, reprocessing a day for Power Meter data resubmittals would be on hold until the InSchedule data is resubmitted for that same operating day.
4.) For component #7, package options using load billing determinants imply that PJM's current Load Reconciliation settlements methodology would be used. Package options that contain reprocessing the day indicates the current Load Reconciliation Settlements methodology will no longer be used. Instead, all settlements for the day will be rerun and will appear as billing line item adjustments.

## 3. Proposal Matrix (Short term)
Market Settlements Subcommittee
Power Meter and InSchedule Deadlines
PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority (high/med/low) | Status Quo | F-Phase 1 Due TBD Allows for more time to verify data | Package H (Formerly Package F - Phase 1A) | Package I | Package K
1 | Power Meter initial data deadline |  | * Mon – Thurs Operating Days: Next business day at 12 p.m. EPT * Friday, Sat, Sun Operating Days: Monday 3 p.m. EPT | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | No Change
2 | InSchedule initial data deadline |  | * Mon – Thurs Operating Days: Next business day at 2 p.m. EPT * Friday, Sat, Sun Operating Days: Monday 5 p.m. EPT | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | No Change
3 | Power Meter post-deadline data corrections - prior to issuance of monthly bill |  | No standard - dependent on numerous variables | No Change | No Change | No Change | No Change
4 | InSchedule post-deadline data corrections - prior to issuance of monthly bill |  | No standard - dependent on numerous variables | No Change | No Change | No Change | No Change
5 | Post Billing Power Meter data resubmittal |  | N/A | No Change | N/A | N/A | No Change
6 | Meter Correction Method |  | Data for month due by 3rd business day after the last day of the month and included in monthly bill Monthly charges (+/-) to EDCs and generators for corrections to metered energy values. Tie Meter Corrections settled using monthly PJM load weighted average RT LMP. Generator meter corrections settled using applicable monthly generation weighted average RT LMP. Allocation of above Meter correction charges for * external PJM tie-line corrections are allocated to all LSEs based on real-time load (without losses) ratio shares. * Mid-Atlantic 500kV internal ties and generators are allocated to Mid-Atlantic EDCs based on real-time load (without losses) ratio shares. * Non Mid-Atlantic 500 kv Internal ties and generators to the applicable EDC. | No Change | No Change | Process in following monthly billing (meter corrections for previous month) | No Change
7 | Load Reconciliation Method |  | Load Reconciliation Settlements using load billing determinants - 2 months following billing month at midnight (i.e., April data due by midnight on June 30th). | No Change | Add Balancing Operating Reserve deviation load reconciliation to items that are reconciled under the current timeframe and method. | Add Balancing Operating Reserve deviation load reconciliation to items that are reconciled under the current timeframe and method. | Add Balancing Operating Reserve deviation load reconciliation to items that are reconciled under the current timeframe and method.
8 | Weekly Bill Timing and Method |  | Issued on Tuesdays for previous Thurday through Wednesday period. | No Change | No Change | No Change | No Change
9 | EHV Loss Allocation |  | EHV ties and EHV generation are used to determine EHV losses for PJM East EDCs. This EHV loss amount is allocated to East EDCs based on hourly load ratio shares. | No Change | No Change | No Change | No Change
10 | Load Reconciliation Settlement C |  | Resubmit reconciliation data with agreement from all parties and rerun load reconcilation settlement. | No Change | No Change | No Change | No Change
* NOTES
2.) Options for components #3 and #4 requiring the resubmittal of data would result in rerunning days that have already been included in a weekly and/or monthly bill. If the resubmittal of data does not fit within the current monthly bill timeframe, the resettled days would appears as billing line item adjustments on the next month’s monthly bill.
3.) For components #3 and #5, reprocessing a day for Power Meter data resubmittals would be on hold until the InSchedule data is resubmitted for that same operating day.
4.) For component #7, package options using load billing determinants imply that PJM's current Load Reconciliation settlements methodology would be used. Package options that contain reprocessing the day indicates the current Load Reconciliation Settlements methodology will no longer be used. Instead, all settlements for the day will be rerun and will appear as billing line item adjustments.

## 3. Proposal Matrix (Long Term)
Market Settlements Subcommittee
Power Meter and InSchedule Deadlines
PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority (high/med/low) | Status Quo | A | B | C | D | E | F-Phase 2 Due TBD (June 2016??) Builds towards better final data & Sunset | F-Phase 3 Due TBD Incorporates AMI | Package G | Package J (Formerly Package F - Phase 2A)
1 | Power Meter initial data deadline |  | * Mon – Thurs Operating Days: Next business day at 12 p.m. EPT * Friday, Sat, Sun Operating Days: Monday 3 p.m. EPT | No Change | * Mon- Wed Operating Days: OD + 2 at noon * Thurs, Friday, Sat, Sun Operating Days: Tuesday @ noon | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT | No Change | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT |  | No Change | * Mon- Thurs Operating Days: Next business day @ 4pm EPT * * Friday, Sat, Sun Operating Days: Monday @ 4pm EPT
2 | InSchedule initial data deadline |  | * Mon – Thurs Operating Days: Next business day at 2 p.m. EPT * Friday, Sat, Sun Operating Days: Monday 5 p.m. EPT | No Change | * Mon- Tues Operating Days: OD + 3 at noon * Wed - Sun Operating Days: Wednesday @ 12 p.m. Eastern Time | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT | No Change | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT |  | No Change | * Mon- Thurs Operating Days: Two business days after OD @ 4pm EPT ** Friday, Sat, Sun Operating Days: Tuesday @ 4pm EPT
3 | Power Meter post-deadline data corrections - prior to issuance of monthly bill |  | No standard - dependent on numerous variables | Resubmit Power Meter data for a previous week (Thurs - Wed) and resettle for a week (Potential timeline: Wednesday @ noon for previous Thurs - Wed) | Resubmit Power Meter data on OD + 7 with some exception at end of month to be included in initial monthly bill | Resubmit Power Meter data for a previous week (Thurs - Wed) and resettle for a week (Potential timeline: Wednesday @ noon for previous Thurs - Wed) | No Change | No Change | No Change | No Change | No Change | No Change
4 | InSchedule post-deadline data corrections - prior to issuance of monthly bill |  | No standard - dependent on numerous variables | Resubmit InSchedule data for a previous week and resettle for a week (Potential timeline: Thursday@noon for previous Thurs - Wed) | Resubmit InSchedule data on OD + 7 with some exception at end of month to be included in initial monthly bill | Resubmit InSchedule data for a previous week and resettle for a week (Potential timeline: Thursday@noon for previous Thurs - Wed) | No Change | No Change |  | Resubmit InSchedule data for a previous week and resettle for a week (Potential timeline: Thursday@noon for previous Thurs - Wed) | No Change | No Change
5 | Post Billing Power Meter data resubmittal |  | N/A | No Change | Resubmit Power Meter data 45 days after the initial submittal and reprocess the day (include in monthly bill). | No Change | Resubmit Power Meter data 120 days after the initial submittal and reprocess the day (include in monthly bill). | Resubmit Power Meter data 45 days after the initial submittal and reprocess the day (include in monthly bill). | Resubmit Power Meter data 30 days after the initial submittal and reprocess the day (include in monthly bill). |  | No Change | Resubmit Power Meter data 30 days after the initial submittal and reprocess the day (include in monthly bill).
6 | Meter Correction Method |  | Data for month due by 3rd business day after the last day of the month and included in monthly bill Monthly charges (+/-) to EDCs and generators for corrections to metered energy values. Tie Meter Corrections settled using monthly PJM load weighted average RT LMP. Generator meter corrections settled using applicable monthly generation weighted average RT LMP. Allocation of above Meter correction charges for * external PJM tie-line corrections are allocated to all LSEs based on real-time load (without losses) ratio shares. * Mid-Atlantic 500kV internal ties and generators are allocated to Mid-Atlantic EDCs based on real-time load (without losses) ratio shares. * Non Mid-Atlantic 500 kv Internal ties and generators to the applicable EDC. | No Change | Process in following monthly billing (meter corrections for previous month) | Process in following monthly billing (meter corrections for previous month) | No Change | No Change | Submit meter correction data 60 days later |  | No Change | Submit meter correction data 60 days later
7 | Load Reconciliation Method |  | Load Reconciliation Settlements using load billing determinants - 2 months following billing month at midnight (i.e., April data due by midnight on June 30th). | Load Reconciliation Settlements using load billing determinants - 120 days after initial month billing month. | Load Reconciliation Settlements and reprocess the day - 120 days after initial month billing month. | Load Reconciliation Settlements using load billing determinants - 120 days after initial month billing month. | Load Reconciliation Settlements resubmit data and reprocess the day - 120 days after initial month billing month. | Resubmit InSchedule data 70 days after the initial submittal and reprocess the day (include in monthly bill). Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items. | Resubmit InSchedule data 45 days after the initial submittal and reprocess the day (include in monthly bill). Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items. |  | Resubmit InSchedule data 70 days after the initial submittal and reprocess the day (include in monthly bill). Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items. The Load Reconciliation Method using billing determinants will only be available for Net Energy Metering Reconciliation Business Rules. | Resubmit InSchedule data 45 days after the initial submittal and reprocess the day (include in monthly bill). Results in no separate Reconciliation billing line items. All processed as adjustments to original billing line items.
8 | Weekly Bill Timing and Method |  | Issued on Tuesdays for previous Thurday through Wednesday period. | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change | No Change
9 | EHV Loss Allocation |  | EHV ties and EHV generation are used to determine EHV losses for PJM East EDCs. This EHV loss amount is allocated to East EDCs based on hourly load ratio shares. | No Change | EHV loss (PJM East only) locks for changes other than EHV component changes. | No Change | No Change | No Change | No Change | No Change | No Change | No Change
10 | Load Reconciliation Settlement C |  | Resubmit reconciliation data with agreement from all parties and rerun load reconcilation settlement. | No Change | No Change | No Change | No Change | No Change | 90 Days - Typical Recon like that of todays 60 day - then LOCKS - no further changes |  | N/A | 60 Days - Typical Recon like that of todays 60 day - then LOCKS - no further changes
* NOTES
1.) On 11/14/2013, the Subcommittee discussed resubmitting InSchedule Internal Bilateral Transactions (IBTs) in conjunction with the resubmittal of InSchedule load transactions. The subcommittee indicated IBTs should be included in the resubmittal as well.
2.) Options for components #3 and #4 requiring the resubmittal of data would result in rerunning days that have already been included in a weekly and/or monthly bill. If the resubmittal of data does not fit within the current monthly bill timeframe, the resettled days would appears as billing line item adjustments on the next month’s monthly bill.
3.) For components #3 and #5, reprocessing a day for Power Meter data resubmittals would be on hold until the InSchedule data is resubmitted for that same operating day.
4.) For component #7, package options using load billing determinants imply that PJM's current Load Reconciliation settlements methodology would be used. Package options that contain reprocessing the day indicates the current Load Reconciliation Settlements methodology will no longer be used. Instead, all settlements for the day will be rerun and will appear as billing line item adjustments.

## Parking Lot
Market Settlements Subcommittee
eMTR and InSchedule Deadlines
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.