## Notes
CSTF
Clearing of Limited DR - Simulation Results
2013-10-08
1. Resource Credits are provided as a proxy to the Reliablity Charges paid by load.
2. Simulation results are based on offer behavior under current RPM Rules. Offer behavior may change given new proposals and would impact clearing results.
3. Alternative Stakeholder Proposal was suggested by stakeholders at 9/24 CSTF.
4. Only LDAs where price separation occurred are shown. For Example, MAAC and EMAAC did not separate, so only MAAC is shown.

## 20152016
Parameter Description | RTO | MAAC | EMAAC | SWMAAC | PSEG | PS-NORTH | DPL-SOUTH | PEPCO | ATSI
Reliability Requirement | 158708 | 69964.1119 | 38466.4846 | 16853.839 | 12535.5874 | 6323.7064 | 2996.366 | 8786.9598 | 15840.4571
Min Ext Summer Resource Requirement | 155315.7 | 61854.9 | 28122.1 | 7969.8 | 5887.9 | 3146.6 | 1099.6 | 2031.7 | 10039.5
Min Annual Resource Requirement | 146454.9 | 58496.3 | 24394.6 | 6693.1 | 4808.2 | 2586.6 | 894 | 1186 | 9226.9
Max Limited DR Constraint | 3392.3154 | 1953.2057 | 1167.3595 | 511.0186 | 427.722 | 205.0924 | 74.7714 | 233.2608 | 383.1913
Max ES DR Constraint | 12253.1025 | 5311.8192 | 4894.9344 | 1787.7501 | 1507.4325 | 765.0756 | 280.3649 | 1078.9697 | 1195.7898
Import Limit (CETL) | NA | 6156 | 9177 | 8373 | 6220 | 2972 | 1822 | 6522 | 5417.8
Resource Credits
Scenario Description | Cleared Quantities | TOTAL | RTO | MAAC | ATSI
Actual BRA Results | Cleared Annual MW (Rest Of) | 150111.7 | 81708.8 | 59176.4 | 9226.5
| Cleared Ext Summer MW (Rest Of) | 5202.3 | 1688.1 | 2677.9 | 836.3
| Cleared Limited MW (Rest Of) | 9247.2 | 4706.3 | 3936.1 | 604.8
Clearing Prices
| RCP (Annual) | na | 136 | 167.46 | 357
| RCP (Extended Summer) | na | 136 | 167.46 | 322.08
| RCP (Limited) | na | 118.54 | 150 | 304.62
Resource Credits
| Annual Resource Credits | 24315937.244 | 11112396.8 | 9909679.944 | 3293860.5
| Ext Summer Resource Credits | 947378.238 | 229581.6 | 448441.134 | 269355.504
| Limited Resource Credits | 1332533.978 | 557884.802 | 590415 | 184234.176
| Total Resource Credits | 26595849.46 | 11899863.202 | 10948536.078 | 3747450.18
Scenario Description | Cleared Quantities | TOTAL | RTO | MAAC | ATSI | PSEG | PEPCO
PJM Proposal | Cleared Annual MW (Rest Of) | 151719.094 | 82402.572 | 48616.7 | 9369.622 | 6025.5 | 5304.7
| Cleared Ext Summer MW (Rest Of) | 8859.278 | 4220.6 | 2991.978 | 812.6 | 362.2 | 471.9
| Cleared Limited MW (Rest Of) | 3392.3 | 1523.378 | 1014.4 | 383.2 | 238.022 | 233.3
Clearing Prices
| RCP (Annual) | na | 145.5 | 196.01 | 357 | 201.43 | 196.01
| RCP (Extended Summer) | na | 145.5 | 178.08 | 321.13 | 183.5 | 178.08
| RCP (Limited) | na | 54 | 86.58 | 54.79 | 92 | 1
Resource Credits
| Annual Resource Credits | 27117379.359 | 11989574.226 | 9529359.367 | 3344955.054 | 1213716.465 | 1039774.247
| Ext Summer Resource Credits | 1558358.6322 | 614097.3 | 532811.4422 | 260950.238 | 66463.7 | 84035.952
| Limited Resource Credits | 213216.016 | 82262.412 | 87826.752 | 20995.528 | 21898.024 | 233.3
| Total Resource Credits | 28888954.0072 | 12685933.938 | 10149997.5612 | 3626900.82 | 1302078.189 | 1124043.499
Scenario Description | Cleared Quantities | TOTAL | RTO | MAAC | ATSI | PEPCO
Alternative Stakeholder Proposal | Cleared Annual MW (Rest Of) | 152388.5 | 82531.8 | 54967.2 | 9541 | 5348.5
| Cleared Ext Summer MW (Rest Of) | 2927.2 | 563.2 | 1512.2 | 498.5 | 353.3
| Cleared Limited MW (Rest Of) | 3392.3 | 1382.2 | 1393.6 | 383.2 | 233.3
Clearing Prices
| RCP (Annual) | na | 115 | 153.57 | 357 | 153.57
| RCP (Extended Summer) | na | 84.72 | 123.29 | 326.72 | 123.29
| RCP (Limited) | na | 43.62 | 82.19 | 54.79 | 1
Resource Credits
| Annual Resource Credits | 22159976.049 | 9491157 | 8441312.904 | 3406137 | 821369.145
| Ext Summer Resource Credits | 440581.719 | 47714.304 | 186439.138 | 162869.92 | 43558.357
| Limited Resource Credits | 196060.376 | 60291.564 | 114539.984 | 20995.528 | 233.3
| Total Resource Credits | 22796618.144 | 9599162.868 | 8742292.026 | 3590002.448 | 865160.802

## 20162017
Parameter Description | RTO | MAAC | EMAAC | SWMAAC | PSEG | PS-NORTH | DPL-SOUTH | PEPCO | ATSI | ATSI-CLEVELAND
Reliability Requirement | 161974.3 | 70634.2597 | 38786.4331 | 16932.0304 | 12581.0961 | 6299.8816 | 3093.533 | 8826.6655 | 15892.6437 | 6039.6541
Min Ext Summer Resource Requirement | 158512.2 | 62179.2 | 28559.2 | 7503.3 | 5483.4 | 3113.3 | 1114.3 | 1712.9 | 7668.1 | 676.8
Min Annual Resource Requirement | 149469.1 | 58109.3 | 24606.9 | 6183.2 | 4214.2 | 2503.1 | 903.5 | 750 | 6200.8 | 0
Max Limited DR Constraint | 3462.0851 | 1960.0546 | 1311.2461 | 642.762 | 516.7311 | 250.6146 | 78.2578 | 267.77 | 343.5842 | 117.904
Max ES DR Constraint | 12505.2361 | 6029.9997 | 5263.5069 | 1962.8455 | 1785.8819 | 860.8002 | 288.9973 | 1230.6172 | 1810.8329 | 1115.4035
Import Limit (CETL) | NA | 6495 | 8916 | 8786 | 6581 | 2936 | 1901 | 6846 | 7881 | 5245
Resource Credits
Scenario Description | Cleared Quantities | TOTAL | RTO | MAAC | PSEG | ATSI
Actual BRA Results | Cleared Annual MW (Rest Of) | 156840.2 | 88742.7 | 55542.3 | 5686.4 | 6868.8
| Cleared Ext Summer MW (Rest Of) | 2470 | 617.3 | 991.6 | 61.8 | 799.3
| Cleared Limited MW (Rest Of) | 9849.5 | 4581.1 | 3713.9 | 550.4 | 1004.1
Clearing Prices
| RCP (Annual) | na | 59.37 | 119.13 | 219 | 114.23
| RCP (Extended Summer) | na | 59.37 | 119.13 | 219 | 114.23
| RCP (Limited) | na | 59.37 | 119.13 | 219 | 94.45
Resource Credits
| Annual Resource Credits | 13915352.922 | 5268654.099 | 6616754.199 | 1245321.6 | 784623.024
| Ext Summer Resource Credits | 259616.648 | 36649.101 | 118129.308 | 13534.2 | 91304.039
| Limited Resource Credits | 929791.659 | 271979.907 | 442436.907 | 120537.6 | 94837.245
| Total Resource Credits | 15104761.229 | 5577283.107 | 7177320.414 | 1379393.4 | 970764.308
Scenario Description | Cleared Quantities | TOTAL | RTO | MAAC | PSEG | ATSI
PJM Proposal | Cleared Annual MW (Rest Of) | 157451.808 | 88799.7 | 55882.4 | 5697.575 | 7072.133
| Cleared Ext Summer MW (Rest Of) | 7831.4 | 3031.2 | 3278.6 | 305 | 1216.6
| Cleared Limited MW (Rest Of) | 3462.1 | 1859.4 | 963.1 | 296 | 343.6
Clearing Prices
| RCP (Annual) | na | 85.15 | 130.07 | 219 | 115
| RCP (Extended Summer) | na | 85.15 | 130.07 | 219 | 115
| RCP (Limited) | na | 16.44 | 61.36 | 150.29 | 27.4
Resource Credits
| Annual Resource Credits | 16890982.443 | 7561294.455 | 7268623.768 | 1247768.925 | 813295.295
| Ext Summer Resource Credits | 891258.182 | 258106.68 | 426447.502 | 66795 | 139909
| Limited Resource Credits | 143564.832 | 30568.536 | 59095.816 | 44485.84 | 9414.64
| Total Resource Credits | 17925805.457 | 7849969.671 | 7754167.086 | 1359049.765 | 962618.935
Scenario Description | Cleared Quantities | TOTAL | RTO | MAAC | PSEG | ATSI
Alternative Proposal | Cleared Annual MW (Rest Of) | 156650.872 | 88742.5 | 55516.572 | 5554.8 | 6837
| Cleared Ext Summer MW (Rest Of) | 2102.628 | 163.7 | 1010.228 | 97.6 | 831.1
| Cleared Limited MW (Rest Of) | 3220.8 | 917.2 | 1612.4 | 347.7 | 343.5
Clearing Prices
| RCP (Annual) | na | 64.41 | 118.74 | 219 | 121.94
| RCP (Extended Summer) | na | 10.96 | 65.29 | 165.55 | 68.49
| RCP (Limited) | na | 10.96 | 65.29 | 165.55 | 27.4
Resource Credits
| Annual Resource Credits | 14358147.1643 | 5715904.425 | 6592037.7593 | 1216501.2 | 833703.78
| Ext Summer Resource Credits | 140831.6571 | 1794.152 | 65957.7861 | 16157.68 | 56922.039
| Limited Resource Credits | 182299.743 | 10052.512 | 105273.596 | 57561.735 | 9411.9
| Total Resource Credits | 14681278.5644 | 5727751.089 | 6763269.1414 | 1290220.615 | 900037.719