## Setup
FTR / ARR Senior Task Force (FTRSTF)
FTR / ARR Procedures

## 1. Interest Identification
FTR / ARR Senior Task Force (FTRSTF) |  | Underfunding
FTR / ARR Procedures |  | Model
Interest Identification |  | DA Hedge
Property Rights
ARR/FTR Market Specific
1 | "Better" funding
2 | Equitable sharing of risk related to underfunding
3 | Eliminate underfunding
4 | Reduction in balancing congestion charges
5 | ARRs & FTRs should provide an effective (100%) DA Hedge for Loads
6 | ARRs & FTRs should provide a predictable (within an acceptable range) DA Hedge for Loads
7 | Provide predictability and finality; eliminate (minimize) "claw backs"; eliminate after-the-fact adjustments (specifically end of the planning period uplift process)
8 | Respecting property rights (ARRs related to historic usage of transmission system)
9 | Respecting property rights (ARRs related to historic usage of transmission system recognizing those who pay the embedded costs of the transmission system)
10 | Common and documented understanding of "Property Rights"
11 | Investigate improved coordination between rights historically defined and current uses of the system
12 | ARR allocation aligned with system usage
13 | Clarify definition of how ARRs are determined and allocated by path (including how system topology changes are addressed)
14 | ARR models to be convergent
15 | No allocation of ARRs on infeasible constraints
16 | Reconsider best approach for modeling transmission outages in all FTR Auctions (Long-Term, Annual, and Monthly)
17 | Restoring ARR allocations to historic levels (Specifically Stages 1A and 1B)
18 | Restoring ARR allocations to historic levels (Specifically Stages 1A,1B and Stage 2)
19 | Review and verify that various FTR/financial products or activities are beneficial to the market
20 | Ability for residual ARRs to be self-scheduled into FTRs on a monthly basis
21 | Provide FTRs to serve as a tool to allocate total congestion (DA & Balancing)
22 | Eliminate any scenario under which load is required to subsidize payments to FTR holders
23 | Load, who has paid for and continues to pay for transmission revenue requirements, should not pay for balancing congestion
24 | Alternative allocation of FTR Revenues

## 2. Options Matrix- Design Comp.
FTR / ARR Senior Task Force (FTRSTF)
FTR / ARR Procedures
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E | F | G | H
Hedge Against DA congestion | bar: A to G
1 | Allocation of Balancing Congestion surplus/deficiency |  | FTR Holders | Real-time Load + Exports. | Real-Time Load + Exports + Incs + Decs + UTCs | Real-Time Load + Exports + Decs | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Real-Time Load/Generation deviations + Exports + Incs + Decs + UTCs (uninstructed deviations for physical market participants) | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding) |  |  |  | 1
2 | Allocation of M2M Payments surplus/deficiency |  | FTR Holders | Real-time Load + Exports. | Real-Time Load + Exports + Incs + Decs + UTCs | Real-Time Load + Exports + Decs | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Real-Time Load/Generation deviations + Exports + Incs + Decs + UTCs (uninstructed deviations for physical market participants) | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) |  |  |  | 2
3 | Allocation of FTR surplus/deficiency |  | FTR Holders Pro-rata based of Target Allocations | A: Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation; B: Surplus/Deficiency of DA congestion revenues paid to FTR holders; C: Surplus paid only to on non-netted portfolios. Deficiency to be allocated to all FTR holders.; D: Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to 50% of balancing congestion up to amount paid. Additional excess allocated to FTR holders. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation. |  | 3
4 | Alignment in DA and RT modeling |  | DA and RT models aligned daily. New operator tools have helped to increase DA-RT alignment. Continued daily efforts to enhance alignment | A: Create "perfect model" metric (similar to perfect dispatch) to assist with efforts in status quo; B: confirm DA and RT alignment (status of the facility) with verification with the asset owner; C: If transmission owner takes an outage after the DA model is locked down will be allocated any underfunding |  | 4
5 | Residual ARR Conversion to FTRs |  | None | A: Provide a monthly conversion process |  | 5
| FTR Model | [10 empty] | Low | bar: A to G
6 | Alignment of the FTR market model with the DA market model/physical capability* |  | Binary outages assumptions front loaded in annual ARR/FTR allocations, monthly outage assumptions may release more or less ARR/FTR MWs. | A: Annual: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs.; B: Seasonal: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs.; C: Seasonal Market with current binary assumptions; D: Monthly FTR Model Updates |  | 6
7 | Transmission outage modeling in the FTR auction models* |  | Binary Outage modeling- 2 months Annual with detailed review; 5 days monthly. | Annual: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs. | Seasonal: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs. | Seasonal Market with current binary assumptions | De-rate major outages to the level which will allow all stage 1a facilities to be feasible | Implement the same set of transmission outages used in the annual auction for the long term auctions | Provide FFE information prior to the ARR allocation and FTR auctions | Further De-rate the amount of long term FTRs available by 10% | Annual: Derate outages in annual model to reflect the load weighted constraint to the annual ARR model. Seasonal outages to be derated as binary. | Match time step of annual auction product to time step of outage. | 7
8 | Adjustment of FTR paths/payout with persistent underfunding* |  | None | A: Clearly define rules to reduce ARR/FTR availability on persistently underfunded paths; B: Recognize that low clearing prices exacerbate underfunding; evaluate clearing prices for incremental awarded capacity relative to incremental funding obligation; identify flowgates with persistent discrepancies between clearing price and DA value; clearly define rules to reduce FTR availability on such flowgates. |  | 8
10 | External World Flow Contribution |  | Historical tie flows | A: Clearly define rules for updated tie flows with the planning period; B: Look at historical tie flows and also incorporate known future changes for tie flows | Low - Medium | 10
Medium
| Stage 1A Allocation | [10 empty] | Medium - High | bar: A to G
11 | Proration of Stage 1A facilities* |  | None | A: Allowed for infeasible facilities not associated with modeled transmission outages; B: Allowed for infeasible facilities resulting from modeled transmission outages only; C: Allowed for infeasible facilities resulting from M2M facilities only; D: Allow for proration to physical limits on all infeasible facilities | High | 11
12 | Amount of Stage 1A proration |  | Zero | A: 25%; B: 50%; C: 75%; D: 100% |  | 12
13 | Stage 1A Allocation Basis |  | Pro Rata Share of Zonal Base Load | Zonal Base Load Adjustment | 75% of Zonal Base Load | NSPL | 75% of NSPL | Change ARR allocation process from being path based to being annual FTR auction revenue based. Allocate X% of annual FTR auction revenues to LSEs on some basis. Eliminate the ability for a load server to convert an ARR into an FTR | Change ARR allocation process from being path based to being annual FTR auction revenue based. Allocate X% of annual FTR auction revenues to LSEs on some basis (or X% of expected Total congestion collections). Eliminate the ability for a load server to convert an ARR into an FTR |  |  |  | 13
14 | Historical Resources |  | Stage 1 Historic Allocation Base Each LSE receives portion of capacity pro rata based on zonal NSPL. | Use Only Committed Capacity Resources for Upcoming Planning period. Each LSE receives portion of capacity pro rata based on zonal NSPL. | Based on Historical Reference Year. Retirements removed from availability. | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | Include Demand Response locations as historical capacity resources | Based on Historical Reference Year. Retirements replaced with available resource committed with the highest shift factor for zone for upcoming planning year that is not already a historical resource. | Based on Historical Reference Year. Retirements replaced with available resource with the highest shift factor for zone for upcoming planning year that is not already a historical resource. |  |  |  | 14
15 | Minimum MW amount of allocation |  | 0.1 MW | A: 0 MW; B: 0.05 MW (Pending PJM software feasibility); C: Require the summation of load MW by zone across affiliates |  | 15
16 | Transition Mechanism Element(s) |  | None | A: Balancing Congestion; B: Stage 1A Proration %; C: delay implementation to changes in regards to Counterflows, changes to allocations, changes to netting |  | 16
17 | Stage 1A 10 Year process |  | Escalation of current Stage 1A ARR results using zonal load forecast growth rate | A: Escalation of current ARR results using zonal load forecast growth rate +1.5%; B: Escalation of current ARR results using zonal load forecast growth rate +3%; C: Affected ARR allocated Participants can elect transmission projects to increase ARR in 1A process.; D: Enhance the transmisison planning processes to look at persistently underfunded paths |  | 17
Monitoring Analytics Recommendations | bar: A to G
18 | Report of monthly payout ratios* |  | Negative FTRs deducted from positive FTRs in TA calculation for monthly reporting only instead of negative Target allocations adding to congestion revenue. End of Planning period Results in same payout %. | A: Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios; B: Status Quo and Option A |  | 18
19 | Treatment in settlements of Portfolio netting of FTRs* |  | Net positive and negative target allocations in a portfolio before monthly and EOPP settlements | A: Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually.; B: Require netting across affiliates; C: No portfolio netting for settlement accounting advantage for underfunding purposes. |  | 19
20 | Treatment in settlements of counter flow FTRs * |  | Counter flow FTRs always pay 100% of target allocations, regardless of underfunding | A: Payout ratio for counter flow FTRs is symmetric to the payout ratio experienced by prevailing flow FTRs.; B: All settlements of FTR's have the same treatment for accounting settlement puposes. Underfunding and surpluss revenues are shared equally in the systemic funding process. |  | 20
21 | Cross geographic settlements of FTRs |  | RTO level based settlement. FTRs clears using geographical based model. | A: Divide FTRs by east/west; B: FTRs paid zonally; C: Path/related facility based FTR revenue allocations |  | 21
22 | Annual ARR and FTR Available Periods/More granular Market Periods* |  | Annual ARR/FTR Allocation/Auction | Seasonal/quarterly ARR/FTR Allocation/Auction (requires less ARR/Auction rounds) | Stage 1A done annually, all others seasonal | Option A with On/OffPeak | Option B with On/OffPeak | Eliminate Stage 2 of the annual ARR Allocation (excess annual auction revenues paid to LSEs) | Eliminate Stage 2 rounds 2 and 3 (Only have 1 round) | All Stage 1 ARR 24Hr annually. Stage 2 ARR's for 4 seasons in one round after the completion of Stage 1. |  |  | 22
*IMM Recommendation
Instructions:
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decision-making method).

## 2a. Component Details
FTR / ARR Senior Task Force (FTRSTF)
COMPONENT DETAILS
Design Component |  | Detailed Description
| Hedge Against DA congestion | The first five design components address the definition of the FTR product. Poll results have shown that 73.4% of FTRSTF poll participants feel the FTR product is a hedge against DA congestion. Therefore, these design components address allocation mechanisms for dollars not associated with DA congestion along with DA modeling.
1 | Allocation of Balancing Congestion surplus/deficiency | This design component lists different options for the allocation of Balancing Congestion (positive or negative). Balancing congestion is calculated from the deviations in generation and load between the DA and RT market valued at the RT LMP congestion prices.
2 | Allocation of M2M Payments surplus/deficiency | This design component lists different options for the allocation M2M payments (positive or negative). M2M Payments are calculated by comparing the Firm Flow entitlements to the RT M2M market flow of M2M constrained facilities. If PJM's RT M2M market flow is greater than PJM's entitlements for MISO or NYISO facilities then PJM makes a payment to PJM or NYISO, otherwise PJM's receives a payment from MISO or NYISO.
3 | Allocation of FTR surplus/deficiency | This design component is for how to allocate any surplus or deficiency dollars regardless of the congestion and M2M payment allocations.
4 | Alignment in DA and RT modeling | This component addresses the alignment between the DA and RT market in an effort to converge balancing congestion closer to zero.
5 | Residual ARR Conversion to FTRs
| FTR Model | Design components 6 thru 10 address the actual Modeling in FTR auctions
6 | Alignment of the FTR market model with the DA market model/physical capability* | This component lists different options to help align the FTR and DA models.
7 | Transmission outage modeling in the FTR auction models* | This component lists different options for modeling transmission outages in the FTR models.
8 | Adjustment of FTR paths/payout with persistent underfunding* | This component addresses options to adjust the FTR model specific to paths that are persistently underfunded.
10 | External World Flow Contribution | This component addresses options for modeling the external PJM RTO flow contributions in the FTR models.
| Stage 1A Allocation | Components 11 thru 17 address options for the Stage 1 allocation
11 | Proration of Stage 1A facilities* | This component addresses options for removing some or a portion of the infeasible Stage 1A facilities by allowing proration on ARR requests that cause flows on facilities to be greater than what was modeled.
12 | Amount of Stage 1A proration | This component is used to identify the amount of proration that can be allowed assuming the previous component is not the status quo
13 | Stage 1A Allocation Basis | This component focuses on the Stage 1A setup and the allowed requested MWs
14 | Historical Resources | This component addresses options for the available historical resources for stage 1 and specifically the handling of historical resources that have or will retire.
15 | Minimum MW amount of allocation | This component addresses the minimum allowed MWs that can be requested per ARR path in stage 1. Currently the minimum allowed per request is 0.1 MWs which may sometimes result in the total amount requested to a specific generator to be higher than the total historical resource capacity although the total for each LSE never exceeds the Zonal base load or NSPL for the zone.
16 | Transition Mechanism Element(s) | This component addresses if there should be a transition mechanism for implementation of identified design changes
17 | Stage 1A 10 Year process | This component addresses the method for which the Stage 1A 10 year process is conducted. The Stage 1A 10 year process is conducted to ensure Stage 1A rights are feasible for a 10 year period.
| Monitoring Analytics Recommendations | Components 18-22 specifically address options that Monitoring Analytics has proposed.
18 | Report of monthly payout ratios* | This component address how to report the Monthly FTR revenue adequacy percentage. This component has no impact on actual FTR dollars and no impact on the final end of the planning year reporting of FTR revenue adequacy. It only impacts the monthly reporting.
19 | Treatment in settlements of Portfolio netting of FTRs* | This component addresses how to handle FTRs that have negative target allocations within a participant's portfolio. Currently the FTR payout ratio is applied to a net portfolio value and therefore portfolios with negative FTR target allocations will decrease net portfolio values and reduce impact to FTR under or overfunding.
20 | Treatment in settlements of counter flow FTRs * | This component specifically address the settlement of negative FTR target allocations when FTRs are over or under funded. Currently, negative value FTRs always pay 100% regardless of the underfunding level.
21 | Cross geographic settlements of FTRs | This component addresses the settlement of FTRs from a more granular geographic level. Currently all FTR holders across the entire RTO footprint are settled proportionally the same and the actual allocation of ARRs/FTRs are done more geographically based model.
22 | Annual ARR and FTR Available Periods/More granular Market Periods* | This component looks at options for the available periods for the annual process. Currently the annual ARR/FTR process utilizes a single period model.

## 2b. Solution Details
FTR / ARR Senior Task Force (FTRSTF)
Solution Details
Design Component | Item | Solution Name | Description
Allocation of Balancing Congestion surplus/deficiency | Status Quo | FTR Holders | Balancing congestion, positive or negative, is currently allocated to FTR holders
Allocation of Balancing Congestion surplus/deficiency | 1A | Real-time Load + Exports. | Balancing congestion, positive or negative, would be allocated to RT load + exports
Allocation of Balancing Congestion surplus/deficiency | 1B | Real-Time Load + Exports + Incs + Decs + UTCs | Balancing congestion, positive or negative, would be allocated to RT load, exports, Incs, Decs, and UTCs
Allocation of Balancing Congestion surplus/deficiency | 1C | Real-Time Load + Exports + Decs | Balancing congestion, positive or negative, would be allocated to RT load, exports, and Decs
Allocation of Balancing Congestion surplus/deficiency | 1D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Balancing congestion, positive or negative, would be allocated to RT load, exports, Decs, and UTCs (withdraw portion only)
Allocation of Balancing Congestion surplus/deficiency | 1E | Real-Time deviations + Exports + Incs + Decs + UTCs | Balancing congestion, positive or negative, would be allocated to Real-Time deviations (Generation and Load) + Exports + Incs + Decs + UTCs
Allocation of M2M Payments surplus/deficiency | Status Quo | FTR Holders | M2M payments, positive or negative, is currently allocated to FTR holders
Allocation of M2M Payments surplus/deficiency | 2A | Real-time Load + Exports. | M2M Payments, positive or negative, would be allocated to RT load + exports
Allocation of M2M Payments surplus/deficiency | 2B | Real-Time Load + Exports + Incs + Decs + UTCs | M2M Payments, positive or negative, would be allocated to RT load, exports, Incs, Decs, and UTCs
Allocation of M2M Payments surplus/deficiency | 2C | Real-Time Load + Exports + Decs | M2M Payments, positive or negative, would be allocated to RT load, exports, and Decs
Allocation of M2M Payments surplus/deficiency | 2D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | M2M Payments, positive or negative, would be allocated to RT load, exports, Decs, and UTCs (withdraw portion only)
Allocation of M2M Payments surplus/deficiency | 2E | Real-Time deviations + Exports + Incs + Decs + UTCs | Balancing congestion, positive or negative, would be allocated to Real-Time deviations (Generation and Load) + Exports + Incs + Decs + UTCs
Allocation of FTR surplus/deficiency | Status Quo | FTR Holders Pro-rata based of Target Allocations | Surplus or Deficient dollars at end of planning period after ARR and FTR holders are paid out 100% are currently allocated to all FTRs pro rata based on planning year FTR Target allocations
Allocation of FTR surplus/deficiency | 3A | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | This option assumes Balancing Congestion is no longer allocated to FTR holders. Surplus dollars at end of planning period after ARR and FTR holders are paid out 100% would be allocated to those who are also allocated balancing congestion dollars. Insufficient dollars to fund FTRs at end of planning period would be allocated FTR holders pro-rata based on FTR Target allocations.
Allocation of FTR surplus/deficiency | 3B | Surplus/Deficiency of DA congestion revenues paid to FTR holders | This option assumes Balancing Congestion is no longer allocated to FTR holders. Surplus and insufficient dollars at end of planning period would be allocated FTR holders pro-rata based on FTR Target allocations.
Allocation of FTR surplus/deficiency | 3C | Surplus paid only to on non-netted portfolios. Deficiency to be allocated to all FTR holders. | Surplus should be paid only to those portfolios to the degree there are not accounting advantages received from netting portfolios
Alignment in DA and RT modeling | Status Quo | DA and RT models aligned daily. New operator tools have helped to increase DA-RT alignment. Continued daily efforts to enhance alignment | Currently the DA and RT models are checked each day to help with alignment
Alignment in DA and RT modeling | 4A | Create "perfect model" metric (similar to perfect dispatch) to assist with efforts in status quo | PJM believes this is already being done by comparing RT to DA model every day. In addition, PJM is working with a vendor to automate this checking and it should be implemented in 2017.
Alignment in DA and RT modeling | 4B | confirm DA and RT alignment (status of the facility) with verification with the asset owner | PJM believes this is already being done by comparing RT to DA model every day. In addition, PJM is working with a vendor to automate this checking and it should be implemented in 2017.
Alignment in DA and RT modeling | 4C | If transmission owner takes an outage after the DA model is locked down will be allocated any underfunding | Negative balancing congestion caused by outages not approved and not modeled in DA market we be allocated to the Transmission owner where the outage occurred.
Alignment of the FTR market model with the DA market model/physical capability* | Status Quo | Binary outages assumptions front loaded in annual ARR/FTR allocations, monthly outage assumptions may release more or less ARR/FTR MWs. | Outages are modeled in ARR/FTR process following outage length guideline, TO feedback, impact on FTR funding, and PJM analysis.
Alignment of the FTR market model with the DA market model/physical capability* | 6A | Annual: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs. | This option assumes the status quo one period annual model remains. Lines are derated instead of modeling outage
Alignment of the FTR market model with the DA market model/physical capability* | 6B | Seasonal: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs. | This option assumes the annual model is changed to a seasonal model. Lines are derated instead of modeling outage
Alignment of the FTR market model with the DA market model/physical capability* | 6C | Seasonal Market with current binary assumptions | This option is same as option 20A with Status quo used for outage modeling.
Alignment of the FTR market model with the DA market model/physical capability* | 6D | Monthly FTR Model Updates | This option would be for PJM to update posted base FTR model each month if there are differences from previous month. This is not typical.
Alignment of the FTR market model with the DA market model/physical capability* | 6E | Annual: Derate outages in annual model to reflect the load weighted constraint to the annual ARR model. Seasonal outages to be derated as binary. | Use a prorated outage of transmission elements in the annual outages based on expected load during the outage period.
Transmission outage modeling in the FTR auction models* | Status Quo | Binary Outage modeling- 2 months Annual with detailed review; 5 days monthly. | Outages are modeled in ARR/FTR process following outage length guideline, TO feedback, impact on FTR funding, and PJM analysis.
Transmission outage modeling in the FTR auction models* | 7A | Annual: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs. | This option assumes the status quo one period annual model remains. Lines are derated instead of modeling outage
Transmission outage modeling in the FTR auction models* | 7B | Seasonal: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs. | This option assumes the annual model is changed to a seasonal model. Lines are derated instead of modeling outage
Transmission outage modeling in the FTR auction models* | 7C | Seasonal Market with current binary assumptions | This option is same as option 20A with Status quo used for outage modeling.
Transmission outage modeling in the FTR auction models* | 7D | De-rate major outages to the level which will allow all stage 1a facilities to be feasible
Transmission outage modeling in the FTR auction models* | 7E | Implement the same set of transmission outages used in the annual auction for the long term auctions | This option would be for PJM to model at a minimum the same outages that are still valid that were modeled in the exiting annual period for all long term periods
Transmission outage modeling in the FTR auction models* | 7F | Provide FFE information prior to the ARR allocation and FTR auctions | This option would be for PJM to post the FFE values used in the ARR and FTR models.
Transmission outage modeling in the FTR auction models* | 7G | Further De-rate the amount of long term FTRs available by 10% | This option would be to reduce the capability in Long Term Auction by 10%
Adjustment of FTR paths/payout with persistent underfunding* | Status Quo | None | PJM does not directly reduce availability on FTR paths
Adjustment of FTR paths/payout with persistent underfunding* | 8A | Clearly define rules to reduce ARR/FTR availability on persistently underfunded paths | ARR/FTR paths that are typically over allocated would be reduced by limiting capability on underfunded constraints that these paths impact. Set rules would be determined to determine the constraints in which capability would be reduced. In 2017, there was an option similar with the following rules. PJM will calculate the Revenue Inadequacy by constraint for the previous planning period. PJM may reduce capability limits for the revenue inadequate facilities, if feasible, by the average MW positive market flow difference between the FTR and Real-Time markets. If a reduction of the average MW flow difference causes an infeasibility in the base FTR auction model than PJM may reduce capability limit MWs by only the amount to maintain the base FTR auction model feasibility. Facilities with a Revenue Inadequacy of less than $5 million will be excluded for purposes of reducing available FTR capability. Facilities may be added throughout the planning period if those facilities have caused at least $5 million in FTR Revenue Inadequacy. PJM may exclude facilities from being candidates for FTR rating reduction if those facilities are not anticipated to cause FTR Revenue Inadequacy for the modeled auction period.
External World Flow Contribution | Status Quo | Historical tie flows | Modeling of external PJM RTO flow contributions in the FTR models is determined by using historical analysis of PJM tie flows.
External World Flow Contribution | 10A | Clearly define rules for updated tie flows with the planning period
Proration of Stage 1A facilities* | Status Quo | None | Proration is not allowed, per Tariff and OA, of any ARRs in stage 1A of the annual ARR allocation.
Proration of Stage 1A facilities* | 11A | Allowed for infeasible facilities not associated with modeled transmission outages | This option would allow for PJM to prorate ARRs if they are infeasible as a result of base network load and ARR requests. ARRs would not be allowed to be prorated if the infeasibility is caused by a modeled transmission outage in the annual model.
Proration of Stage 1A facilities* | 11B | Allowed for infeasible facilities resulting from modeled transmission outages only | This option would only allow for PJM to prorate ARRs if they are infeasible as a result of a modeled transmission outage in the annual model.
Proration of Stage 1A facilities* | 11C | Allowed for infeasible facilities resulting from M2M facilities only | This option would only allow for PJM to prorate ARRs if they are infeasible as a result of a M2M facility.
Proration of Stage 1A facilities* | 11D | Allow for proration to physical limits on all infeasible facilities | This option would only allow for PJM to prorate all ARRs if they are infeasible as a result of the model, regardless of the reason.
Proration of Stage 1A facilities* | 11E | No proration of Stage 1A facilities by derating transmission outage and relaxing M2M assumption to clear all Stage 1A nominations. | Relax outage and M2M assumptions to allow all Stage1A nominations to properly reflect loads payment of the respective transmission system prior to deregulation.
Amount of Stage 1A proration | Status Quo | Zero | Currently ARRs cannot prorated in Stage 1A
Amount of Stage 1A proration | 12A | 25% | This option allows proration of 25% of the infeasible amount and should be combined with design component 9.
Amount of Stage 1A proration | 12B | 50% | This option allows proration of 50% of the infeasible amount and should be combined with design component 9.
Amount of Stage 1A proration | 12C | 75% | This option allows proration of 75% of the infeasible amount and should be combined with design component 9.
Amount of Stage 1A proration | 12D | 100% | This option allows proration of 100% of the infeasible amount and should be combined with design component 9.
Stage 1A Allocation Basis | Status Quo | Pro Rata Share of Zonal Base Load | Currently the total that can be requested for each LSE in stage 1A is capped at the Zonal Base load (ZNL) value. The zonal base load value is determined from the minimum peak load hour for the previous year for each zone.
Stage 1A Allocation Basis | 13A | Zonal Base Load Adjustment | This option would change the calculation of the Zonal Base Load of something yet to be determined
Stage 1A Allocation Basis | 13B | 75% of Zonal Base Load | This option would change the total that can be requested for each LSE in stage 1A to be capped at 75% of the Zonal Base load (ZNL) value
Stage 1A Allocation Basis | 13C | NSPL | This option would change the total that can be requested for each LSE in stage 1A to be be equal the the NSPL value. The NSPL value is currently used to cap total LSE requests fro Stage 1B and Stage 2. The NSPL is the previous year peak load value for each zone.
Stage 1A Allocation Basis | 13D | 75% of NSPL | This option would change the total that can be requested for each LSE in stage 1A to be capped at 75% of the NSPL value
Stage 1A Allocation Basis | 13E | Change ARR allocation process from being path based to being annual FTR auction revenue based. Allocate X% of annual FTR auction revenues to LSEs on some basis. Eliminate the ability for a load server to convert an ARR into an FTR | This option would eliminate the ARR allocation process and instead allocate a yet to be determined portion of the Annual FTR Auction revenues directly to LSEs , IARR holders, and Stage 1 PTP customers.
Stage 1A Allocation Basis | 13F | Change ARR allocation process from being path based to being annual FTR auction revenue based. Allocate X% of annual FTR auction revenues to LSEs on some basis (or X% of expected Total congestion collections). Eliminate the ability for a load server to convert an ARR into an FTR | Same as Option 17E but determine percentage of annual auction revenue to use by taking a percentage of the expected total congestion dollars
Historical Resources | Status Quo | Stage 1 Historic Allocation Base Each LSE receives portion of capacity pro rata based on zonal NSPL. | Currently in Stage 1, historical generation resources are valid source location for ARR requests and each LSE is allowed to request a percentage of the total generator capacity pro-rata based on the LSE's NSPL value relative to total zonal NSPL value. If a historical resource generator retires, PJM will remap the capacity for stage 1 to an equivalent generator or PJM will create a dummy generator at the same location. PJM anticipates that over 25,000 MWs of the historical generator resources will be retired within the next three years and many stage 1 ARR requests will no longer be along paths consistent with the usage of the transmission system.
Historical Resources | 14A | Use Only Committed Capacity Resources for Upcoming Planning period. Each LSE receives portion of capacity pro rata based on zonal NSPL. | This option will change the available source locations for Stage 1 for network customers to be the generators that have been committed in RPM auction for the planning year. The amount allowed for each LSE will remain the same as status quo which is pro-rata based on the LSE's NSPL value relative to total zonal NSPL value.
Historical Resources | 14B | Based on Historical Reference Year. Retirements removed from availability. | This option is the same as status quo except when a generator retires PJM will not remap or create any additional available source location.
Historical Resources | 14C | Based on Historical Reference Year. Retirements replaced with oldest available resource committed for zone for upcoming planning year that is not already a historical resource. | This option is same as status quo but when a generator retires PJM will make available ARR requests to new generator in the same zone that has the oldest in-service date, is a capacity resource, and is not already available as a stage 1 ARR source location.
Historical Resources | 14D | Include Demand Response locations as historical capacity resources | This option would include committed RPM Demand Response as historical capacity resources
Historical Resources | 14E | Based on Historical Reference Year. Retirements replaced with available resource committed with the highest shift factor for zone for upcoming planning year that is not already a historical resource. | Replace resources no longer exist with the highest shift factor resource available. This would use resources more closely correlated to the historic design.
Minimum MW amount of allocation | Status Quo | 0.1 MW | Currently each LSE is allowed to request a percentage of the total generator capacity pro-rata based on the LSE's NSPL value relative to total zonal NSPL value. The minimum allowed per Stage 1 ARR request is 0.1 MWs which may sometimes result in the total amount requested to a specific generator to be higher than the total historical resource capacity although the total for each LSE never exceeds the Zonal base load or NSPL for the zone.
Minimum MW amount of allocation | 15A | 0 MW | This option would set the amount allowed to be requested for each generator to be zero if the calculated value based on the LSEs percentage of NSPL is less than 0.05.
Minimum MW amount of allocation | 15B | 0.05 MW (Pending PJM software feasibility) | This option would set the minimum amount allowed to be requested for each generator to be 0.05 if the calculated value based on the LSEs percentage of NSPL is less than 0.05. This option can have major impacts on the PJM settlements software and may not be feasible.
Minimum MW amount of allocation | 15C | Require the summation of load MW by zone across affiliates | Try to reduce the occurrences of less than 0.1MW allocations due to load being split between PJM sub-account of affiliates
Transition Mechanism Element(s) | Status Quo | None | Transition mechanism not applicable for status quo
Transition Mechanism Element(s) | 16A | Balancing Congestion | This option would involve having a transition mechanism for implementation of design components 1 and 2.
Transition Mechanism Element(s) | 16B | Stage 1A Proration % | This option would involve having a transition mechanism for implementation of design components 9 and 10.
Stage 1A 10 Year process | Status Quo | Escalation of current Stage 1A ARR results using zonal load forecast growth rate | Currently the Stage 1A 10 year process uses existing approved Stage 1A ARRs and escalates future ARR requests by using the zonal 10 year load forecast growth rate as reported in the current Load Forecast Report
Stage 1A 10 Year process | 17A | Escalation of current ARR results using zonal load forecast growth rate +1.5% | This option is same as status quo except the zonal 10 year load forecast rate would be increased by 1.5%
Stage 1A 10 Year process | 17B | Escalation of current ARR results using zonal load forecast growth rate +3% | This option is same as status quo except the zonal 10 year load forecast rate would be increased by 3%
Stage 1A 10 Year process | 17C | Affected ARR allocated participants can elect transmission projects to increase ARR in 1A process. | This option would change the Stage 1A 10 year process to have the actual transmission owners determine and fund the transmission projects to increase ARR availability in their zones
Stage 1A 10 Year process | 17D | Enhance the transmission planning processes to look at persistently underfunded paths | This option would be to add another component to the stage 1A 10 year process where PJM can recommended transmission projects into the RTEP specifically for persistently underfunded paths. This is slightly different than the current PJM Market Efficiency process which projects future congestion that is used as a basis for determining enhancements.
Report of monthly payout ratios* | Status Quo | Negative FTRs deducted from positive FTRs in TA calculation for monthly reporting only instead of negative Target allocations adding to congestion revenue. End of Planning period Results in same payout %. | Currently the monthly reported values are calculated where negative target allocations offset positive target allocations.
Report of monthly payout ratios* | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | This option changes the monthly reporting where negative target allocations increase congestion revenue instead of lowering FTR total allocations. This is only a reporting change and has no impact on FTR Revenue adequacy.
Report of monthly payout ratios* | 18B | Status Quo and Option A | This option would be to report monthly payout using both the status quo and option 18A
Treatment in settlements of Portfolio netting of FTRs* | Status Quo | Net positive and negative target allocations in a portfolio before monthly and EOPP settlements | Currently the FTR payout ratio is applied to a net portfolio value and therefore portfolios with negative FTR target allocations will decrease net portfolio values and reduce impact to FTR under or overfunding.
Treatment in settlements of Portfolio netting of FTRs* | 19A | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually. | This would change the hourly and uplift FTR payout calculation so that negative target allocations within a members portfolio cannot be used to offset positive target allocations. Portfolios that currently include negative target allocation FTRs would be impacted more by over or under funding. Sell offers would still be able to offset Buy bids within a members portfolio.
Treatment in settlements of Portfolio netting of FTRs* | 19B | Require netting across affiliates | In addition to the status quo, this option would net positive and negative target allocations across member affiliates.
Treatment in settlements of Portfolio netting of FTRs* | 19C | No portfolio netting for settlement accounting advantage for underfunding purposes. | Eliminate any accounting payout advantage based on the types of FTR's held in a account or different sub-accounts.
Treatment in settlements of counter flow FTRs * | Status Quo | Counter flow FTRs always pay 100% of target allocations, regardless of underfunding | Currently counter flow FTRs, or negative target allocation FTRs, pay 100% of actual target allocations regardless of over or under funding
Treatment in settlements of counter flow FTRs * | 20A | Payout ratio for counter flow FTRs is symmetric to the payout ratio experienced by prevailing flow FTRs. | Nondiscriminatory and symmetric underfunding treatment of positive target allocation prevailing flow FTRs and negative target allocation counter flow FTRs.
Treatment in settlements of counter flow FTRs * | 20B | All settlements of FTR's have the same treatment for accounting settlement puposes. Underfunding and surpluss revenues are shared equally in the systemic funding process. | Treat all FTR product payouts the same by eliminating the payout advantage based on current favorable accounting procedures.
Cross geographic settlements of FTRs | Status Quo | RTO level based settlement. FTRs clears using geographical based model. | Currently all FTR holders across the entire RTO footprint are settled proportionally the same and the actual allocation of ARRs/FTRs are done on a more geographically based model.
Cross geographic settlements of FTRs | 21A | Divide FTRs by east/west | This option would apply FTR adequacy based on two geographical areas, eastern and western PJM. The area, eastern or western PJM, where FTR revenue inadequacy exists will be subject to more underfunding then the area where revenue inadequacy does not exist.
Cross geographic settlements of FTRs | 21B | FTRs paid zonally | This option would apply FTR adequacy based on zonal areas. Zones where FTR revenue inadequacy exists will be subject to more underfunding then zones where revenue inadequacy does not exist.
Cross geographic settlements of FTRs | 21C | Path/related facility based FTR revenue allocations | This option would apply FTR adequacy based on actual facilities that are underfunded
Annual ARR and FTR Available Periods/More granular Market Periods* | Status Quo | Annual ARR/FTR Allocation/Auction | Currently the annual ARR/FTR process utilizes a single period model.
Annual ARR and FTR Available Periods/More granular Market Periods* | 22A | Seasonal/quarterly ARR/FTR Allocation/Auction (requires less ARR/Auction rounds) | Four Separate seasons will be modeled in annual process. All seasons will be cleared during one clearing process. Requirement to complete in two months would require elimination of ARR allocation Stage 2 or reduction of ARR Allocation Stage 2 to two rounds and reduction of Annual FTR Auction to two rounds.
Annual ARR and FTR Available Periods/More granular Market Periods* | 22B | Stage 1A done annually, all others seasonal | Same as 20A but Stage 1A remains as an annual period.
Annual ARR and FTR Available Periods/More granular Market Periods* | 22C | Option A with On/OffPeak | Same as 20A but ARRs would also be available for on and off peak separately instead of just 24H. May require additional reduction in ARR rounds.
Annual ARR and FTR Available Periods/More granular Market Periods* | 22D | Option B with On/OffPeak | Same as 20B but ARRs would also be available for on and off peak separately instead of just 24H. May require additional reduction in ARR rounds.
Annual ARR and FTR Available Periods/More granular Market Periods* | 22E | Eliminate Stage 2 of the annual ARR Allocation (excess annual auction revenues paid to LSEs) | This option would remove stage 2 of the ARR allocation. In addition, all excess Annual Auction revenues after Stage 1 ARRs are funded would be allocated to LSEs pro-rata based on NSPL.
Annual ARR and FTR Available Periods/More granular Market Periods* | 22F | Eliminate Stage 2 rounds 2 and 3 (Only have 1 round) | This option would change Stage 2 to be one round instead of 3 rounds. In this one round, 100% of the ARR capability would be available after the allocation of Stage 1.
Annual ARR and FTR Available Periods/More granular Market Periods* | 22G | All Stage 1 ARR 24Hr annually. Stage 2 ARR's for 4 seasons in one round after the completion of Stage 1. | Treat Stage 1 ARR's as 24 HR products to better reflect the LSE to hedge their loads with the traditional resources under the intended original market structure. Stage 2 ARR's would be seasonally allocated to prior to the start of the production year to try to avoid over allocation based on seasonal grid changes.
*IMM Recommendation

## 3. Package Matrix
FTR / ARR Senior Task Force (FTRSTF)
FTR / ARR Procedures
PACKAGE/ PROPOSAL MATRIX
Package | Proposed By | Component | Design option | Solution | Notes
1 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only)
|  | Allocation of M2M Payments surplus/deficiency | 2D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only)
|  | Allocation of FTR surplus/deficiency | 3A | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation
|  | Proration of Stage 1A facilities | 11D | Allow for proration to physical limits on all infeasible facilities
|  | Historical Resources | 14B | Based on Historical reference year. Retirements removed from availability. | Mws removed from availability and not remapped.
|  | Report of monthly payout ratios | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios
2 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1A | Real-time Load + Exports.
|  | Allocation of M2M Payments surplus/deficiency | 2A | Real-time Load + Exports.
|  | Allocation of FTR surplus/deficiency | 3A | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Same as package 1
|  | Proration of Stage 1A facilities | 11D | Allow for proration to physical limits on all infeasible facilities | Same as package 1
|  | Historical Resources | 14B | Based on Historical reference year. Retirements removed from availability. | Same as package 1
|  | Report of monthly payout ratios | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Same as package 1
3 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Same as package 1
|  | Allocation of M2M Payments surplus/deficiency | 2D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Same as package 1
|  | Allocation of FTR surplus/deficiency | 3A | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Same as package 1
|  | Proration of Stage 1A facilities | 11B | Allowed for infeasible facilities resulting from modeled transmission outages only
|  | Proration of Stage 1A facilities | 11C | Allowed for infeasible facilities resulting from M2M facilities only
|  | Historical Resources | 14B | Based on Historical reference year. Retirements removed from availability. | Same as package 1
|  | Report of monthly payout ratios | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Same as package 1
4 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1A | Real-time Load + Exports. | Same as package 2
|  | Allocation of M2M Payments surplus/deficiency | 2A | Real-time Load + Exports. | Same as package 2
|  | Allocation of FTR surplus/deficiency | 3A | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Same as package 2
|  | Proration of Stage 1A facilities | 11B | Allowed for infeasible facilities resulting from modeled transmission outages only | Same as package 3
|  | Proration of Stage 1A facilities | 11C | Allowed for infeasible facilities resulting from M2M facilities only | Same as package 3
|  | Historical Resources | 14B | Based on Historical reference year. Retirements removed from availability. | Same as package 2
|  | Report of monthly payout ratios | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Same as package 2
5 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Same as package 1
|  | Allocation of M2M Payments surplus/deficiency | 2D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Same as package 1
|  | Allocation of FTR surplus/deficiency | 3A | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Same as package 1
|  | Proration of Stage 1A facilities | 11D | Allow for proration to physical limits on all infeasible facilities | Same as package 1
|  | Historical Resources | 14C | Based on Historical Reference Year. Retirements replaced with oldest available resource committed for zone for upcoming planning year that is not already a historical resource.
|  | Report of monthly payout ratios | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Same as package 1
6 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1A | Real-time Load + Exports. | Same as package 2
|  | Allocation of M2M Payments surplus/deficiency | 2A | Real-time Load + Exports. | Same as package 2
|  | Allocation of FTR surplus/deficiency | 3A | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Same as package 2
|  | Proration of Stage 1A facilities | 11D | Allow for proration to physical limits on all infeasible facilities | Same as package 2
|  | Historical Resources | 14C | Based on Historical Reference Year. Retirements replaced with oldest available resource committed for zone for upcoming planning year that is not already a historical resource.
|  | Report of monthly payout ratios | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Same as package 2
7 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Same as package 3
|  | Allocation of M2M Payments surplus/deficiency | 2D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Same as package 3
|  | Allocation of FTR surplus/deficiency | 3A | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Same as package 3
|  | Proration of Stage 1A facilities | 11B | Allowed for infeasible facilities resulting from modeled transmission outages only | Same as package 3
|  | Proration of Stage 1A facilities | 11C | Allowed for infeasible facilities resulting from M2M facilities only | Same as package 3
|  | Historical Resources | 14C | Based on Historical Reference Year. Retirements replaced with oldest available resource committed for zone for upcoming planning year that is not already a historical resource.
|  | Report of monthly payout ratios | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Same as package 3
8 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1A | Real-time Load + Exports. | Same as package 4
|  | Allocation of M2M Payments surplus/deficiency | 2A | Real-time Load + Exports. | Same as package 4
|  | Allocation of FTR surplus/deficiency | 3A | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Same as package 4
|  | Proration of Stage 1A facilities | 11B | Allowed for infeasible facilities resulting from modeled transmission outages only | Same as package 4
|  | Proration of Stage 1A facilities | 11C | Allowed for infeasible facilities resulting from M2M facilities only | Same as package 4
|  | Historical Resources | 14C | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource.
|  | Report of monthly payout ratios | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Same as package 4
9 | AEP | Allocation of Balancing Congestion surplus/deficiency | 1E | Real-Time Load/Generation deviations + Exports + Incs + Decs + UTCs (uninstructed deviations for physical market participants) | 1. Balancing congestion revenues are not included in the FTR funding pot, and are re-allocated to the participants who have uninstructed deviations from their DA awards. 2. FTRs are funded by DA congestion revenues only. 3. a better modeling of transmissoin outages in auctions. 4. a revised stage 1A 10 year process to improve ARR infeasibilities. 5. the revenues from counterflow FTRs are equally shared among the holders of prevailing-flow FTRs. 6. seasonable allocation/auction without the stage 2 process. ARR holders are compensated for the credit loss in stage 2 by dividing up excess annual FTR auction revenues. 7. An FTR underfunding or surplus is spread across all individual FTRs regardless of their prevailing- or counter-flow nature. 8. Retired historical units are replaced by the resources committed in the capacity market that currently are not historical resources and have highest shift factors.
|  | Allocation of M2M Payments surplus/deficiency | 2E | Real-Time Load/Generation deviations + Exports + Incs + Decs + UTCs (uninstructed deviations for physical market participants)
|  | Allocation of FTR surplus/deficiency | 3B | Surplus/Deficiency of DA congestion revenues paid to FTR holders
|  | Alignment in DA and RT modeling | 4A, 4B | Create "perfect model" metric (similar to perfect dispatch) to assist with efforts in status quo; confirm DA and RT alignment (status of the facility) with verification with the asset owner
|  | Residual ARR Conversion to FTRs | 5A | Provide a monthly conversion process
|  | Alignment of the FTR market model with the DA market model/physical capability* | 6D | Monthly FTR Model Updates
|  | Transmission outage modeling in the FTR auction models* | 7B, 7E, 7F, 7I | Seasonal: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs; Implement the same set of transmission outages used in the annual auction for the long term auctions; Provide FFE information prior to the ARR allocation and FTR auctions; Match time step of annual auction product to time step of outage.
|  | External World Flow Contribution | 10A | Clearly define rules for updated tie flows with the planning period
|  | Historical Resources | 14E | Based on Historical Reference Year. Retirements replaced with available resource committed with the highest shift factor for zone for upcoming planning year that is not already a historical resource.
|  | Minimum MW amount of allocation | 15A | 0 MW
|  | Stage 1A 10 Year process | 17A, 17D | Escalation of current ARR results using zonal load forecast growth rate +1.5%; Enhance the transmisison planning processes to look at persistently underfunded paths
|  | Treatment in settlements of Portfolio netting of FTRs* | 19A | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually.
|  | Treatment in settlements of counter flow FTRs * | 20B | All settlements of FTR's have the same treatment for accounting settlement puposes. Underfunding and surpluss revenues are shared equally in the systemic funding process.
|  | Annual ARR and FTR Available Periods/More granular Market Periods* | 22A, 22E | Seasonal/quarterly ARR/FTR Allocation/Auction (requires less ARR/Auction rounds); Eliminate Stage 2 of the annual ARR Allocation (excess annual auction revenues paid to LSEs)
10 | AEP | Allocation of Balancing Congestion surplus/deficiency | 1E | Real-Time Load/Generation deviations + Exports + Incs + Decs + UTCs (uninstructed deviations for physical market participants) | 1. Balancing congestion revenues are not included in the FTR funding pot, and are re-allocated to the participants who have uninstructed deviations from their DA awards. 2. FTRs are funded by DA congestion revenues only. 3. a better modeling of transmissoin outages in auctions. 4. a revised stage 1A 10 year process to improve ARR infeasibilities. 5. the revenues from counterflow FTRs are equally shared among the holders of prevailing-flow FTRs. 6. seasonable allocation/auction without the stage 2 process. ARR holders are compensated for the credit loss in stage 2 by dividing up excess annual FTR auction revenues. 7. An FTR underfunding or surplus is spread across all individual FTRs regardless of their prevailing- or counter-flow nature.
|  | Allocation of M2M Payments surplus/deficiency | 2E | Real-Time Load/Generation deviations + Exports + Incs + Decs + UTCs (uninstructed deviations for physical market participants)
|  | Allocation of FTR surplus/deficiency | 3B | Surplus/Deficiency of DA congestion revenues paid to FTR holders
|  | Alignment in DA and RT modeling | 4A, 4B | Create "perfect model" metric (similar to perfect dispatch) to assist with efforts in status quo; confirm DA and RT alignment (status of the facility) with verification with the asset owner
|  | Residual ARR Conversion to FTRs | 5A | Provide a monthly conversion process
|  | Alignment of the FTR market model with the DA market model/physical capability* | 6D | Monthly FTR Model Updates
|  | Transmission outage modeling in the FTR auction models* | 7B, 7E, 7F, 7I | Seasonal: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs; Implement the same set of transmission outages used in the annual auction for the long term auctions; Provide FFE information prior to the ARR allocation and FTR auctions; Match time step of annual auction product to time step of outage.
|  | External World Flow Contribution | 10A | Clearly define rules for updated tie flows with the planning period
|  | Minimum MW amount of allocation | 15A | 0 MW
|  | Stage 1A 10 Year process | 17A, 17D | Escalation of current ARR results using zonal load forecast growth rate +1.5%; Enhance the transmisison planning processes to look at persistently underfunded paths
|  | Treatment in settlements of Portfolio netting of FTRs* | 19A | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually.
|  | Treatment in settlements of counter flow FTRs * | 20B | All settlements of FTR's have the same treatment for accounting settlement puposes. Underfunding and surpluss revenues are shared equally in the systemic funding process.
|  | Annual ARR and FTR Available Periods/More granular Market Periods* | 22A, 22E | Seasonal/quarterly ARR/FTR Allocation/Auction (requires less ARR/Auction rounds); Eliminate Stage 2 of the annual ARR Allocation (excess annual auction revenues paid to LSEs)
11 | FESC | Allocation of Balancing Congestion surplus/deficiency | 1D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only)
|  | Allocation of M2M Payments surplus/deficiency | 2D | Real-Time Load + Exports + Decs + UTCs (withdraw portion only)
|  | Allocation of FTR surplus/deficiency | 3A | Excess Day-ahead congestion after funding FTRs to be allocated to balancing congestion. DA deficiency to remain w/ FTR holders.
|  | Residual ARR Conversion to FTRs | 5A | Provide a monthly conversion process that allows for residual ARRs allocated monthly to be converted to FTRs at the ARR grantees discretion
|  | External World Flow Contribution | 10B | Historical tie flows with known future changes
|  | Historical Resources | 14C | Based on Historical Reference Year. Retirements replaced with oldest available resource for zone for upcoming planning year that is not already a historical resource. Resource would have to be offered into BRA.
|  | Transition Mechanism Element(s) | 16C | Consider counterflows, changes to allocations, & netting during the transition process (effective no earlier than June 1, 2016); Consider longer transition period as necessary taking into account longer term bilateral and retail transactions.
|  | Stage 1A 10 Year process | 17B | Escalation of current ARR results using zonal load forecast growth rate +3%; Goal: allow for expedited RTP upgrades to render greater majority (goal 100%) of ARRs feasible by delivery date.
|  | Treatment in settlements of Portfolio netting of FTRs* | 19A | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually. (earliest implementation June 1, 2016)
|  | Treatment in settlements of counter flow FTRs * | 20B | All settlements of FTR's have the same treatment for accounting settlement purposes. Underfunding and surplus revenues are shared equally in the systemic funding process. (earliest implementation June 1, 2016)
|  | Annual ARR and FTR Available Periods/More granular Market Periods* | 22A | Seasonal allocation using annual NSPL
12 | MA | Report of monthly payout ratios* | 18B | Status Quo and Option A | pjm can support
|  | Treatment in settlements of Portfolio netting of FTRs* | 19A | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually | pjm can support
|  | Tratment in settlements of counter flow FTRs* | 20A | Payout ratio for counter flow FTRs is symmetric to the payout ratio experienced by prevailing flow FTRs
|  | Proration of Stage 1A facilities* | 11D | Allow for proration to physical limits on all infeasible facilities | pjm can support
|  | Annual ARR and FTR Available Periods/More granular Market Periods* | 22A | Seasonal/quarterly ARR/FTR Allocation/Auction (requires less ARR/Auction Rounds) | pjm can support
|  | Transmission outage modeling in the FTR auction models* | 7B | Seasonal: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR Mws.
|  | Adjustment of FTR paths/payout with persistent underfunding* | 8A | Clearly define rules to reduce ARR/FTR availability on persistenly underfunded paths | pjm can support
13 | PJM | Allocation of Balancing Congestion surplus/deficiency |  | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding) | 50% of Balancing congestion, positive or negative, would be allocated to RT load, exports, Decs, and UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding)
x |  | Allocation of M2M Payments surplus/deficiency |  | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | 50% of M2M Payments, positive or negative, would be allocated to RT load, exports, Decs, and UTCs (withdraw portion only)
x |  | Allocation of FTR surplus/deficiency |  | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to 50% of balancing congestion up to amount paid. Additional excess allocated to FTR holders. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation. | This option assumes a maximum of 50% of Balancing Congestion is no longer allocated to FTR holders. Surplus dollars at end of planning period after ARR and FTR holders are paid out 100% would be allocated to those who paid the 50% of balancing congestion but not to exceed the amount that was paid. Any additional excess would go to FTR holders. Insufficient dollars to fund FTRs at end of planning period would be allocated FTR holders pro-rata based on FTR Target allocations.
x |  | Proration of Stage 1A facilities* | 11B | Allowed for infeasible facilities resulting from modeled transmission outages only | This option would only allow for PJM to prorate ARRs if they are infeasible as a result of a modeled transmission outage in the annual model.
x |  | Historical Resources | 14C | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | This option is same as status quo but when a generator retires PJM will make available ARR requests to new generator in the same zone that has the oldest in-service date, is a capacity resource, and is not already available as a stage 1 ARR source location.
x |  | Stage 1A 10 Year process | 17A | Escalation of current ARR results using zonal load forecast growth rate +1.5% | This option is same as status quo except the zonal 10 year load forecast rate would be increased by 1.5%
x |  | Treatment in settlements of Portfolio netting of FTRs* | 19A | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually. | This would change the hourly and uplift FTR payout calculation so that negative target allocations within a members portfolio cannot be used to offset positive target allocations. Portfolios that currently include negative target allocation FTRs would be impacted more by over or under funding. Sell offers would still be able to offset Buy bids within a members portfolio.
x |  | Report of monthly payout ratios* | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | This option changes the monthly reporting where negative target allocations increase congestion revenue instead of lowering FTR total allocations. This is only a reporting change and has no impact on FTR Revenue adequacy.
14 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1F | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding) | 50% of Balancing congestion, positive or negative, would be allocated to RT load, exports, Decs, and UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding)
|  | Allocation of M2M Payments surplus/deficiency | 2F | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | 50% of M2M Payments, positive or negative, would be allocated to RT load, exports, Decs, and UTCs (withdraw portion only)
|  | Allocation of FTR surplus/deficiency | 3D | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to 50% of balancing congestion up to amount paid. Additional excess allocated to FTR holders. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation. | This option assumes a maximum of 50% of Balancing Congestion is no longer allocated to FTR holders. Surplus dollars at end of planning period after ARR and FTR holders are paid out 100% would be allocated to those who paid the 50% of balancing congestion but not to exceed the amount that was paid. Any additional excess would go to FTR holders. Insufficient dollars to fund FTRs at end of planning period would be allocated FTR holders pro-rata based on FTR Target allocations.
|  | Proration of Stage 1A facilities* | 11D | Allow for proration to physical limits on all infeasible facilities | This option would only allow for PJM to prorate all ARRs if they are infeasible as a result of the model, regardless of the reason.
|  | Historical Resources | 14C | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | This option is same as status quo but when a generator retires PJM will make available ARR requests to new generator in the same zone that has the oldest in-service date, is offered as a capacity resource, and is not already available as a stage 1 ARR source location.
|  | Stage 1A 10 Year process | 17A | Escalation of current ARR results using zonal load forecast growth rate +1.5% | This option is same as status quo except the zonal 10 year load forecast rate would be increased by 1.5%
|  | Treatment in settlements of Portfolio netting of FTRs* | 19A | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually. | This would change the hourly and uplift FTR payout calculation so that negative target allocations within a members portfolio cannot be used to offset positive target allocations. Portfolios that currently include negative target allocation FTRs would be impacted more by over or under funding. Sell offers would still be able to offset Buy bids within a members portfolio.
|  | Report of monthly payout ratios* | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | This option changes the monthly reporting where negative target allocations increase congestion revenue instead of lowering FTR total allocations. This is only a reporting change and has no impact on FTR Revenue adequacy.
15 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1F | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding) | 50% of Balancing congestion, positive or negative, would be allocated to RT load, exports, Decs, and UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding)
Z |  | Allocation of M2M Payments surplus/deficiency | 2F | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | 50% of M2M Payments, positive or negative, would be allocated to RT load, exports, Decs, and UTCs (withdraw portion only)
Z |  | Allocation of FTR surplus/deficiency | 3D | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to 50% of balancing congestion up to amount paid. Additional excess allocated to FTR holders. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation. | This option assumes a maximum of 50% of Balancing Congestion is no longer allocated to FTR holders. Surplus dollars at end of planning period after ARR and FTR holders are paid out 100% would be allocated to those who paid the 50% of balancing congestion but not to exceed the amount that was paid. Any additional excess would go to FTR holders. Insufficient dollars to fund FTRs at end of planning period would be allocated FTR holders pro-rata based on FTR Target allocations.
Z |  | Proration of Stage 1A facilities* | 11D | Allow for proration to physical limits on all infeasible facilities | This option would only allow for PJM to prorate all ARRs if they are infeasible as a result of the model, regardless of the reason.
Z |  | Historical Resources | 14C | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | This option is same as status quo but when a generator retires PJM will make available ARR requests to new generator in the same zone that has the oldest in-service date, is offered as a capacity resource, and is not already available as a stage 1 ARR source location.
Z |  | Stage 1A 10 Year process | 17A | Escalation of current ARR results using zonal load forecast growth rate +1.5% | This option is same as status quo except the zonal 10 year load forecast rate would be increased by 1.5%
Z |  | Report of monthly payout ratios* | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | This option changes the monthly reporting where negative target allocations increase congestion revenue instead of lowering FTR total allocations. This is only a reporting change and has no impact on FTR Revenue adequacy.
16 | PJM | Allocation of Balancing Congestion surplus/deficiency | 1F | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding) | 50% of Balancing congestion, positive or negative, would be allocated to RT load, exports, Decs, and UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding)
a |  | Allocation of M2M Payments surplus/deficiency | 2F | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | 50% of M2M Payments, positive or negative, would be allocated to RT load, exports, Decs, and UTCs (withdraw portion only)
a |  | Allocation of FTR surplus/deficiency | 3D | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to 50% of balancing congestion up to amount paid. Additional excess allocated to FTR holders. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation. | This option assumes a maximum of 50% of Balancing Congestion is no longer allocated to FTR holders. Surplus dollars at end of planning period after ARR and FTR holders are paid out 100% would be allocated to those who paid the 50% of balancing congestion but not to exceed the amount that was paid. Any additional excess would go to FTR holders. Insufficient dollars to fund FTRs at end of planning period would be allocated FTR holders pro-rata based on FTR Target allocations.
a |  | Proration of Stage 1A facilities* | 11B | Allowed for infeasible facilities resulting from modeled transmission outages only | This option would only allow for PJM to prorate ARRs if they are infeasible as a result of a modeled transmission outage in the annual model.
a |  | Historical Resources | 14C | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | This option is same as status quo but when a generator retires PJM will make available ARR requests to new generator in the same zone that has the oldest in-service date, is offered as a capacity resource, and is not already available as a stage 1 ARR source location.
a |  | Stage 1A 10 Year process | 17A | Escalation of current ARR results using zonal load forecast growth rate +1.5% | This option is same as status quo except the zonal 10 year load forecast rate would be increased by 1.5%
a |  | Report of monthly payout ratios* | 18A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | This option changes the monthly reporting where negative target allocations increase congestion revenue instead of lowering FTR total allocations. This is only a reporting change and has no impact on FTR Revenue adequacy.

## 4. Package Matrix Alt. View
Packages
# | Design Components | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | Allocation of Balancing Congestion surplus/deficiency | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Real-time Load + Exports. | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Real-time Load + Exports. | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Real-time Load + Exports. | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Real-time Load + Exports. | Real-Time Load/Generation deviations + Exports + Incs + Decs + UTCs (uninstructed deviations for physical market participants) | Real-Time Load/Generation deviations + Exports + Incs + Decs + UTCs (uninstructed deviations for physical market participants) | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Status Quo | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding) | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding) | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding) | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) (Capped at the lower of either 50% or level necessary to achieve 100% funding)
2 | Allocation of M2M Payments surplus/deficiency | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Real-time Load + Exports. | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Real-time Load + Exports. | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Real-time Load + Exports. | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Real-time Load + Exports. | Real-Time Load/Generation deviations + Exports + Incs + Decs + UTCs (uninstructed deviations for physical market participants) | Real-Time Load/Generation deviations + Exports + Incs + Decs + UTCs (uninstructed deviations for physical market participants) | Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | Status Quo | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only) | 50% to Real-Time Load + Exports + Decs + UTCs (withdraw portion only)
3 | Allocation of FTR surplus/deficiency | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to balancing congestion. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation | Surplus/Deficiency of DA congestion revenues paid to FTR holders | Surplus/Deficiency of DA congestion revenues paid to FTR holders | Excess Day-ahead congestion after funding FTRs to be allocated to balancing congestion. DA deficiency to remain w/ FTR holders. | Status Quo | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to 50% of balancing congestion up to amount paid. Additional excess allocated to FTR holders. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation. | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to 50% of balancing congestion up to amount paid. Additional excess allocated to FTR holders. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation. | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to 50% of balancing congestion up to amount paid. Additional excess allocated to FTR holders. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation. | Excess FTR Auction revenues and Day-ahead congestion after funding FTRs to be allocated to 50% of balancing congestion up to amount paid. Additional excess allocated to FTR holders. Insufficient FTR Auction revenues and Day-ahead congestion to be allocated to FTR holders pro-rata based on Target Allocation.
4 | Alignment in DA and RT modeling | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Create "perfect model" metric (similar to perfect dispatch) to assist with efforts in status quo; confirm DA and RT alignment (status of the facility) with verification with the asset owner | Create "perfect model" metric (similar to perfect dispatch) to assist with efforts in status quo; confirm DA and RT alignment (status of the facility) with verification with the asset owner | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
5 | Residual ARR Conversion to FTRs | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Provide a monthly conversion process | Provide a monthly conversion process | Provide a monthly conversion process that allows for residual ARRs allocated monthly to be converted to FTRs at the ARR grantees discretion | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
6 | Alignment of the FTR market model with the DA market model/physical capability* | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Monthly FTR Model Updates | Monthly FTR Model Updates | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
7 | Transmission outage modeling in the FTR auction models* | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Seasonal: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs; Implement the same set of transmission outages used in the annual auction for the long term auctions; Provide FFE information prior to the ARR allocation and FTR auctions; Match time step of annual auction product to time step of outage. | Seasonal: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR MWs; Implement the same set of transmission outages used in the annual auction for the long term auctions; Provide FFE information prior to the ARR allocation and FTR auctions; Match time step of annual auction product to time step of outage. | Status Quo | Seasonal: Outages assumptions used to de-rate lines for market period. Monthly relaxation of outage assumptions changes de-rates allows release of additional ARR/FTR Mws. | Status Quo | Status Quo | Status Quo | Status Quo
8 | Adjustment of FTR paths/payout with persistent underfunding* | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Clearly define rules to reduce ARR/FTR availability on persistenly underfunded paths | Status Quo | Status Quo | Status Quo | Status Quo
10 | External World Flow Contribution | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Clearly define rules for updated tie flows with the planning period | Clearly define rules for updated tie flows with the planning period | Historical tie flows with known future changes | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
11 | Proration of Stage 1A facilities* | Allow for proration to physical limits on all infeasible facilities | Allow for proration to physical limits on all infeasible facilities | Allowed for infeasible facilities resulting from modeled transmission outages only | Allowed for infeasible facilities resulting from modeled transmission outages only | Allow for proration to physical limits on all infeasible facilities | Allow for proration to physical limits on all infeasible facilities | Allowed for infeasible facilities resulting from modeled transmission outages only | Allowed for infeasible facilities resulting from modeled transmission outages only | Status Quo | Status Quo | Status Quo | Allow for proration to physical limits on all infeasible facilities | Allowed for infeasible facilities resulting from modeled transmission outages only | Allow for proration to physical limits on all infeasible facilities | Allow for proration to physical limits on all infeasible facilities | Allowed for infeasible facilities resulting from modeled transmission outages only
14 | Historical Resources | Based on Historical reference year. Retirements removed from availability. | Based on Historical reference year. Retirements removed from availability. | Based on Historical reference year. Retirements removed from availability. | Based on Historical reference year. Retirements removed from availability. | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | Based on Historical Reference Year. Retirements replaced with available resource offered with the highest shift factor for zone for upcoming planning year that is not already a historical resource. | Status Quo | Based on Historical Reference Year. Retirements replaced with oldest available resource for zone for upcoming planning year that is not already a historical resource. Resource would have to be offered into BRA. | Status Quo | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource. | Based on Historical Reference Year. Retirements replaced with oldest available resource offered for zone for upcoming planning year that is not already a historical resource.
15 | Minimum MW amount of allocation | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | 0 MW | 0 MW | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
16 | Transition Mechanism Element(s) | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Consider counterflows, changes to allocations, & netting during the transition process (effective no earlier than June 1, 2016); Consider longer transition period as necessary taking into account longer term bilateral and retail transactions. | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
17 | Stage 1A 10 Year process | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Escalation of current ARR results using zonal load forecast growth rate +1.5%; Enhance the transmisison planning processes to look at persistently underfunded paths | Escalation of current ARR results using zonal load forecast growth rate +1.5%; Enhance the transmisison planning processes to look at persistently underfunded paths | Escalation of current ARR results using zonal load forecast growth rate +3%; Goal: allow for expedited RTP upgrades to render greater majority (goal 100%) of ARRs feasible by delivery date. | Status Quo | Escalation of current ARR results using zonal load forecast growth rate +1.5% | Escalation of current ARR results using zonal load forecast growth rate +1.5% | Escalation of current ARR results using zonal load forecast growth rate +1.5% | Escalation of current ARR results using zonal load forecast growth rate +1.5%
18 | Report of monthly payout ratios* | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Status Quo | Status Quo | Status Quo | Status Quo and Option A | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios | Use Negative Target Allocations as increase in congestion revenue in reporting of monthly payout ratios
19 | Treatment in settlements of Portfolio netting of FTRs* | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually. | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually. | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually. (earliest implementation June 1, 2016) | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually. | Do not allow positive FTRs to offset negative FTRs within a portfolio. Treat each FTR individually. | Status Quo | Status Quo
20 | Treatment in settlements of counter flow FTRs * | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | All settlements of FTR's have the same treatment for accounting settlement puposes. Underfunding and surpluss revenues are shared equally in the systemic funding process. | All settlements of FTR's have the same treatment for accounting settlement puposes. Underfunding and surpluss revenues are shared equally in the systemic funding process. | All settlements of FTR's have the same treatment for accounting settlement purposes. Underfunding and surplus revenues are shared equally in the systemic funding process. (earliest implementation June 1, 2016) | Payout ratio for counter flow FTRs is symmetric to the payout ratio experienced by prevailing flow FTRs | Status Quo | Status Quo | Status Quo | Status Quo
22 | Annual ARR and FTR Available Periods/More granular Market Periods* | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Seasonal/quarterly ARR/FTR Allocation/Auction (requires less ARR/Auction rounds); Eliminate Stage 2 of the annual ARR Allocation (excess annual auction revenues paid to LSEs) | Seasonal/quarterly ARR/FTR Allocation/Auction (requires less ARR/Auction rounds); Eliminate Stage 2 of the annual ARR Allocation (excess annual auction revenues paid to LSEs) | Seasonal allocation using annual NSPL | Seasonal/quarterly ARR/FTR Allocation/Auction (requires less ARR/Auction Rounds) | Status Quo | Status Quo | Status Quo | Status Quo
Monitoring Analytics Recommendations
Stage 1A Allocation
FTR Model
Hedge Against DA congestion

## Parking Lot
FTR / ARR Senior Task Force (FTRSTF)
FTR / ARR Procedures
Interest Identification
Description

## Polling Questions
Polling Ideas
1 | Status Quo Options for individual design components
2 | Allow member submissions for polling questions- due by December 24th
3 | PJM to send out draft poll by January 5th
4 | Publish final responses before next meeting- issue poll by January 12th
5 | Poll responses due by January 21st
6 | Re-schedule January 14 meeting to allow for polling responses- January 28th target