## Sheet1
NEMSTF Options Matrix |  |  | 2012-04-30
ID | Design Component | Importance | Component Solution Options |  |  |  |  | Status Quo
|  |  | Option A (Status Quo) | Option B | Option C | Option D | Option E
1 | (Modeling) Resolve net negative MWh load buses (pnodes) in order to accurately model NEM "generation". | TBD | Periodic checks by PJM to avoid gross modeling errors that cause large negative MWh attributed to load buses | Establish a fixed 10 MWh threshold | Establish average MWh threshold (PJM to conduct analysis to determine value) | Establish a conditional MWh threshold (i.e. the greater of: a percentage or a fixed MWh threshold ) | PJM conducts analysis and provides results to this body. This body interprets the information and then determines how to establish a threshold, if needed. | Periodic checks by PJM to avoid gross modeling errors that cause large negative MWh attributed to load buses
2 | (Business Process) PJM must be notified of NEM generators rated in excess of a given MW capability threshold. | TBD | PJM has reviewed OATT Schedule 15. All generators are reported to PJM except for retail BTM and NEM. | Establish a fixed 1 MW threshold | Establish average MW threshold (PJM to conduct analysis to determine value) | Establish a conditional MW threshold (i.e. the greater of: a percentage or a fixed MW threshold ) | Establish a fixed xxx threshold TBD. | PJM has reviewed OATT Schedule 15. All generators are reported to PJM except for retail BTM and NEM.
3 | (Business Process) Update Manual 14D Exhibit 4 (page 25) to include specific NEM guidance | TBD | Existing PJM Manual 14D | Establish metering and communication requirements threshold (ICCP, DNP3, etc.) for NEM generators. |  |  |  | Existing PJM Manual 14D
4 | (Settlements) Adjust the load obligations of LSEs to reflect a net injection of energy / net consumption offset during a NEM billing cycle (reflecting EDC materiality threshold, as applicable). | TBD | LSE load obligations may be adjusted on a two-month lag via the existing load reconciliation process (Settlement B). EDCs also have the ability to have PJM perform a subsequent load reconciliation within a two year window if all affected LSEs agree to it (Settlement C). While individual load responsibility eSchedules may carve out negative load MWh, the total load carved out to a given LSE must result in a positive value. Negative MWh of load for an LSE account will not flow through the PJM settlement calculations. | Employ approach similar to Settlement B and/or C | Modify eSchedules to allow negative load for an LSE. |  |  | LSE load obligations may be adjusted on a two-month lag via the existing load reconciliation process (Settlement B). EDCs also have the ability to have PJM perform a subsequent load reconciliation within a two year window if all affected LSEs agree to it (Settlement C). While individual load responsibility eSchedules may carve out negative load MWh, the total load carved out to a given LSE must result in a positive value. Negative MWh of load for an LSE account will not flow through the PJM settlement calculations.
5 | (Settlements) Creation of aggregate pnode to allow aggregation of hourly, interval metered NEMs that are below a certain threshold. | TBD | Generation MWh values submitted to eMTR must be attributed to a single pnode in the PJM network bus model, not an aggregate. Aggregated NEM generation may be able to be calculated and attributed across multiple individual pnodes or attributed to a representative pnode on a case by case basis. | EDCs may modify their own applications to account for this. | Modify eMtr to allow aggregation of NEMs. |  |  | Generation MWh values submitted to eMTR must be attributed to a single pnode in the PJM network bus model, not an aggregate. Aggregated NEM generation may be able to be calculated and attributed across multiple individual pnodes or attributed to a representative pnode on a case by case basis.
6 | (Settlements) Allow financial adjustment mechanism for non-hourly, non-interval metered NEMs, similar to the existing monthly meter correction process (reflecting EDC materiality threshold as applicable). | TBD | EDCs may submit generation meter correction MWh in the first three business days of the following month. For each generation correction, the financial true-up uses a monthly generation-weighted average LMP at that generator's location. Note that the EDC and generator may also calculate and submit a mutually agreed to financial adjustment to PJM any time to pass through a billing adjustment in the PJM billing statements. | Modify existing end-of-month meter correction process to accommodate NEM "generation" true-ups | Create an additional monthly meter correction process to accommodate separate NEM "generation" true-ups. | Create a single longer term meter correction process for NEM billing true-up. This process would use a longer term (annual) rate. |  | EDCs may submit generation meter correction MWh in the first three business days of the following month. For each generation correction, the financial true-up uses a monthly generation-weighted average LMP at that generator's location. Note that the EDC and generator may also calculate and submit a mutually agreed to financial adjustment to PJM any time to pass through a billing adjustment in the PJM billing statements.