## Setup
Enter Stakeholder Committee Name in cell A2:
Reserve Certainty Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Reserve Certainty and Resource Flexibility Incentives

## 1. Interest Identification
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
Interest Identification
Instructions: List interests of all parties on this page.
General Interests
1 | Reserve and energy prices reflect system conditions and appropriately value scarcity.
2 | Resources assigned reserves will provide them when deployed.
3 | ORDCs reflect the reliability value of reserves.
4 | Market power is mitigated.
5 | The actual reserve capability on the system is accurately measured.
6 | Proper locational market signals that guide optimal investments.
7 | Rules that encourage robust participation and create efficient market results.
8 | Solutions that are nimble with evolution.
9 | Simplicity in market design where possible.
10 | Market rules that are non-discriminatory.
11 | Transparency
Additional KWA Interests
12 | Confidence that resources assigned reserve will perform when called upon
13 | Correct market incentives (pricing, penalties, offer structures) for performance
14 | Clarity on reserve event start/stop times and transparent rules on how resources should respond
15 | Prompt recovery of ACE following a disturbance event
16 | Maintaining existing PJM and NERC BAL compliance requirements, and grid reliability
17 | Alignment of performance evaluation with resource expectations
18 | Improved reflection of reserve deployment in pricing during events
19 | Consistency in how PJM issues dispatch instructions such that resources can easily deploy reserves.
20 | Resource parameters accurately reflect resource reserve capabilities.
21 | Prompt recovery of reserves following a reserve deployment event
22 | Reserve deployment manages constraint control

## 2. Options Matrix- Design Comp.
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
OPTIONS MATRIX
Solution Options2
# | KWA | Design Components1 | Priority | Status Quo | A | B | C | D | E
* |  | Implementation
| KWA2 | Key Work Activity 2 - Reserve Resource Performance and Penalty Structure
| KWA2 | Event Definition and Triggers
1 | KWA2 | Start of the synchronized reserve event |  | The time that the synchronized event is initiatied by the operator via the EMS.
2 | KWA2 | End of the synchronized reserve event |  | The time when the synchronized event is terminated by the operator via the EMS.
| KWA2 | Performance Evaluation
3 | KWA2 | Synchronized reserve performance evaulation |  | Resource response for every minute during the initial 10 minutes of the event is calculated as the difference between the resource output at the start of the evaluation period (taken as the minimum output during the minute before, minute of, and minute after the start of the period) and the resource output at the end of the 10 minutes (taken as the maximum of the minute before, the minute of, and the minute after the end of the period). For events longer than 10 minutes, any minutes after minute ten are averaged into the total response, where each minute's response is calculated as the difference between that minute's output and the output calculated for the start of the evaluation period.
4 | KWA2 | Non-synchronized reserve performance evaluation |  | Same methodology to SR performance evaluation. There has not been a Non-synch reserve event since the implementation of Reserve Price Formation. [OATT Attachment K Section 3.2.3A.001(g)] NSR resources are not evaluated for NSR performance when they are called for energy.
5 | KWA2 | Secondary reserve performance evaluation |  | Secondary reserve performance for offline generation resources is evaluated when they are deployed for energy. Settlements evaluates whether the resource has reached EcoMin output within 30 minutes as instructed by PJM. For Real-Time Economic Demand Response with a SecR assignment, this evaluation is done based on whether it has reduced by at least EcoMin within 30 minutes as instructed by PJM. If an offline SECR resource extends its notification time longer than 30 minutes during the operating day, the resource will not clear for RT SECR and will need to buy back its DA commitment based on the RT clearing price.
| KWA2 | Penalties
6 | KWA2 | Penalties in settlement for non-performance during synchronized reserve events |  | Synchronized Reserves: Failure to provide sync reserve assignment results in an obligation to repay all or a portion of the synchronized reserve credits received on both: 1.) The day of the event and 2.) Over the immediate past interval, which is equal to the lesser of: 1. The average number of days between events (21-days for 2023) OR 2.) The number of days since resource’s last non-performance. The MW subject to refund in each interval are the Shortfall MW capped at the real-time MW the resource received SRMCP credits for. This refund is charged at the RT SRMCP for each 5-minute interval. RT Synch Reserve Shortfall Charge = Min (Shortfall MW, Capped RT SR Assignment) * RT SRMCP / 12 | [5 empty] | Low - Medium
7 | KWA2 | Penalities in settlement for non-performance during an NSR event |  | If a resource fails to provide the Non-Synchronized Reserve assignment in response to a Non-Synchronized Reserve Event, the resource will only be credited for Non-Synchronized Reserve capacity in the amount that actually responded for the continuous five (5) minute intervals the resource was assigned Non-Synchronized Reserves during which the event occurred. [OATT Attachment K Section 3.2.3A.001(h)] No retroactive portion of penalty.
8 | KWA2 | Penalities in settlement for SecR for non-performance |  | For offline generating resources, the MW shortfall is applied to all prior intervals in which the resource was assigned to provide real-time Secondary Reserve starting at the later of (A) the last interval the resource was online or (B) the beginning of that Operating Day and continuing up to the interval the resource failed to come online. For DR, the MW shortfall is applied to all prior intervals in which the resource was assigned to provide real-time Secondary Reserve starting at the later of (A) the last interval the resource reduced load at PJM’s instruction or (B) the beginning of that Operating Day, through the earlier of (C) the next interval in which the resource is dispatched to reduce load or (D) the end of the Operating Day.
| KWA2 | Compensation
9 | KWA2 | Make-whole payment eligibility during synchronized events or if a resource fails to provide assigned reserves |  | Make-whole payments are not currently handled differently based on reserve assignments | [5 empty] | Medium - High
10 | KWA2 | Reserves shortfall charge when resource report outage or derate |  | If a resource reports an outage in the Markets Gateway, they will not be cleared for reserves in real-time and will have to buy back any day ahead reserve assignment.
11 | KWA2 | Settlement-impacts for not carrying assigned reserves outside of deployment |  | In settlements, payments for real-time synchronized reserve assignments are capped at the actual reserve quantities. In other words, if the Min (Eco Max, Sync Max) – RT MW < RT reserve assignment, the RT reserve assignment is capped at the actual amount of headroom available. For online SecR, a similar calculation is done where SecR revenues are capped based on actual available headroom during real-time. | [5 empty] | High
12 | KWA2 | Aggregation of individual unit response in settlements |  | Market Participants that own multiple resources assigned or self-scheduled to provide synchronized reserves are permitted to demonstrate aggregate response, such that any resource that responds greater than their assignment or self-schedule can be used to offset any resource that responds less than their assignment or self-schedule a synchronized event. The Market Participant’s aggregate response does not affect how an individual resource is credited for synchronized reserves it provides, but is used to determine what the Market Participant owes in retroactive refund charges for each resource that was assigned or self-scheduled to provide synchronized reserves and responded less than their assignment or self-schedule. Resource Retroactive Shortfall MW = Resource Shortfall MW−( Resource Shortfall MW ÷ Participant′s Total Shortfall MW *Participant′s Total Over Response )
13 | KWA2 | Eligibility for Balancing Operating Reserve Generator Deviation charges during an Synchronized Reserve event |  | Resources that respond to a Synchronized Reserve Event are exempt from BOR Generator Deviations during the event.
14 | KWA2 | Synchronized Reserve Lost Opportunity Cost Credits for non-performance during synchronized events. |  | On the day-of the event, Synchronized Reserve RT Lost Opportunity Costs reflect a reduction in the RT Sync Reserve Assignment by the amount of the shortfall MW. The retroactive penalty does not include any SR LOC Credits.
| KWA4 | Key Work Activity 4 - Reserve Deployment
| KWA4 | Reserve Deployment
15 | KWA4 | Synchronized reserve deployment/termination mechanism |  | Operator initiates/terminates synchronized event in EMS and sends out the all-call message for non-DR resources. DR initiation/termination happens through DR hub.
16 | KWA4 | Communication channels for deploying synchronized reserves |  | All-call, telemetry, and DR Hub. The reserve event is also posted on emergency procedures.
17 | KWA4 | Communication requirements
18 | KWA4 | Constraint control in reserve deployment |  | Sub-zone deployment. Operator chooses whether to initiate the synchronized event in the RTO or in a sub-zone (i.e., MAD historically).
19 | KWA4 | Resources included in synchronized reserve deployment during a synchronized event |  | All-call goes to all units in the region, regardless of reserve assignment. No new dispatch instructions are provided - units are told to ramp up to maximum capability.
20 | KWA4 | Requested MWs from resources providing synchronized reserves during a synchronized event |  | Typically 100% synchronized reserves are requested. However, PJM may request less than 100% (rarely, if ever, done).
20a | KWA4 | Reserve deployment and dispatch procedures |  | During a synchronized reserve event, the manual direction to load reserves supersedes the current economic basepoint that the resource is receiving
21 | KWA4 | NSR deployment |  | Operators can call an NSR event through the All-Call or can call on NSR resources on for energy as needed.
22 | KWA4 | Secondary reserve deployment |  | Resource is called on for energy as needed.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3