## READ ME
The data listed in this spreadsheet is from PJM's test environment. We picked a time period of 7 days where our test ACE was very close to production ACE. The sample rate for this dataset is 2 seconds. This spreadsheet contains ACE, the inverse of ACE, the normal RegD signal as it is coded today, and the RegD test signal with the neutrality component removed from the controller. As a disclaimer, the RegD signal in this spreadsheet is based only on ACE and does not have a simulated response of RegD units without neutrality following the singal. These signals were supplied only to give an idea of what the difference might look like if neutrality is removed from the controller. If RegD units were following the RegD signal with no Neutrality we would see better system control which would reduce the movement of the signal. ACE is in MW and the RegD signals are normalized.