## Test Report - Generation
PJM BLACK START TEST REPORT FORM
Black Start test scheduling, related attachments, and questions can be e-mailed to blackstart@pjm.com
SECTION 1 : TEST SCHEDULING
| BLACK START GENERATING UNIT |  |  |  | NAME
| TEST SCHEDULED FOR |  |  |  | DATE
| TEST SCHEDULED BY |  |  |  | NAME
Please notify PJM of scheduled test on above unit a minimum of one (1) day prior to the actual test.
SECTION 2 : FUEL TYPE & VERIFICATION
Is this unit Fuel Assured? (Y/N)
FUEL TYPE BEING TESTED
If unit is single fuel or not fuel-assured then select "PRIMARY"
PRIMARY
|  |  |  | OIL |  | GAS |  |  | WATER |  | OTHER
SECONDARY
|  |  |  | OIL |  | GAS |  |  | WATER |  | OTHER
VERIFICATION OF FUEL ASSURANCE (ONLY REQUIRED FOR FUEL-ASSURED UNITS)
Please answer the questions below
Has this unit had 16 hours of oil and non-fuel consumables available for every hour since the unit's last successful Black Start test? (Y/N)
Does this unit have a second pipeline and has it had 16 hours of non-fuel consumables since its last successful Black Start test? (Y/N)
SECTION 3 : TEST PERFORMANCE
| TEST PERFORMED ON |  |  |  | DATE
| BLACK START TEST BEGINS |  |  |  | TIME (EPT)
Please notify PJM Dispatch on the day of the actual test, prior to test start.
| TIME OF OUTPUT BREAKER CLOSE |  |  |  | TIME (EPT)
The generating unit must have the ability to close the output breaker to a dead bus within 180 minutes.
[7 empty] | ACTUAL | SIMULATED
[7 empty] | EQUIPMENT | EQUIPMENT | ITEM NOT | TESTING
| THE BLACK START TEST DISPLAYED THE ABILITY TO … | [5 empty] | TEST | TEST | TESTED | FAILED
[7 empty] | SUCCESS | SUCCESS
… START WITHOUT POWER
… CLOSE INTO A DE-ENERGIZED BUS
… OPERATE AT REDUCED LEVELS WHEN DISCONNECTED FROM THE GRID
… MAINTAIN FREQUENCY UNDER VARYING LOAD (FOR A PERIOD OF AT LEAST THIRTY MINUTES)
… MAINTAIN VOLTAGE UNDER VARYING LOAD (FOR A PERIOD OF AT LEAST THIRTY MINUTES)
… MAINTAIN BLACKSTART RATED OUTPUT FOR DURATION MATCHING LCC RESTORATION REQ
Please check the appropriate box above for each testing item.
| BLACK START TEST ENDED |  |  |  | TIME (EPT)
| TEST SUPERVISED BY |  |  |  | NAME
SECTION 4 : TEST FOLLOWUP
AMBIENT WEATHER CONDITIONS AT TIME OF TEST:
DESCRIPTION OF ABILITY TO STARTUP AUXILIARY EQUIPMENT FOR STARTUP AND OPERATION
OF NEXT NON-BLACK START UNIT
If not specified above, detailed descriptions may be submitted as attachments to this form.
BRIEF DESCRIPTION OF COMMUNICATIONS / CONTROL SYSTEMS THAT ARE CAPABLE OF
ALLOWING SCADA / EMS DATA AND VOICE COMMUNICATIONS IN EVENT OF ACTUAL RECOVERY:
If not specified above, detailed descriptions may be submitted as attachments to this form.
EXPLANATIONS / CORRECTIVE ACTIONS FOR FAILED / NON-PERFORMED TESTS:
| TEST RESULTS SUBMITTED TO PJM |  |  |  | DATE
NAME
SECTION 5 : SUBMISSION PROCEDURE
PLEASE SUBMIT RESULTS TO PJM WITHIN 14 DAYS OF THE TEST COMPLETION
FOR AUDITING PURPOSES, SUBMIT THIS EXCEL FILE USING THE BLACKSTART XLS UPLOAD PROCESS*
*Submit .xls files only. If you are concerned that your file did not transfer properly, please contact blackstart@pjm.com
PLEASE ALSO SUBMIT THE FOLLOWING DATA IN ELECTRONIC FORM TO blackstart@pjm.com
BlackStart Unit's Testing Procedure.
Description of Communication Systems used in System Restoration.
BlackStart Unit Operator Training description and schedule.

## Test Report - ALR Generation
PJM AUTO LOAD REJECT TEST REPORT FORM
Black Start test scheduling, test results, attachment and related questions can be e-mailed to blackstart@pjm.com
SECTION 1 : TEST SCHEDULING
| ALR GENERATING UNIT |  |  |  | NAME
| TEST SCHEDULED FOR |  |  |  | DATE
| TEST SCHEDULED BY |  |  |  | NAME
Please notify PJM of scheduled test on above unit a minimum of one (1) day prior to the actual test.
SECTION 2 : FUEL TYPE & VERIFICATION
Is this unit Fuel Assured? (Y/N)
FUEL TYPE BEING TESTED
If unit is single fuel or not fuel-assured then select "PRIMARY"
PRIMARY
|  |  |  | OIL |  | GAS |  |  | WATER |  | OTHER
SECONDARY
|  |  |  | OIL |  | GAS |  |  | WATER |  | OTHER
VERIFICATION OF FUEL ASSURANCE (ONLY REQUIRED FOR FUEL-ASSURED UNITS)
Please answer the questions below
Has this unit had 16 hours of oil and non-fuel consumables available for every hour since the unit's last successful Black Start test? (Y/N)
Does this unit have a second pipeline and has it had 16 hours of non-fuel consumables since its last successful Black Start test? (Y/N)
SECTION 3 : TEST PERFORMANCE
| TEST PERFORMED ON |  |  |  | DATE
| ALR TEST BEGINS (output breaker opens) |  |  |  | TIME (EPT)
Please notify PJM Dispatch on the day of the actual test, prior to test start.
| TIME OF OUTPUT BREAKER CLOSE |  |  |  | TIME (EPT)
The generating unit must have the ability to close the output breaker to the grid within 180 minutes.
[7 empty] | ACTUAL | SIMULATED
[7 empty] | EQUIPMENT | EQUIPMENT | ITEM NOT | TESTING
| THE ALR TEST DISPLAYED THE ABILITY TO … | [5 empty] | TEST | TEST | TESTED | FAILED
[7 empty] | SUCCESS | SUCCESS
… SEPARATE FROM SYSTEM AND CONTROL TURBINE SPEED
… OPERATE AT REDUCED LEVELS WHEN DICONNECTED FROM THE GRID
… MAINTAIN FREQUENCY UNDER VARYING LOAD (FOR A PERIOD OF AT LEAST THIRTY MINUTES)
… MAINTAIN VOLTAGE UNDER VARYING LOAD (FOR A PERIOD OF AT LEAST THIRTY MINUTES)
… RETURN TO RATED OUTPUT WITHIN DURATION MATCHING LCC RESTORATION REQ
… RE-CLOSE OUTPUT BREAKER TO GRID (IN UNDER NINTY MINUTES)
Please check the appropriate box above for each testing item.
| ALR TEST ENDED |  |  |  | TIME (EPT)
| TEST SUPERVISED BY |  |  |  | NAME
SECTION 4 : TEST FOLLOWUP
AMBIENT WEATHER CONDITIONS AT TIME OF TEST:
DESCRIPTION OF ABILITY TO STARTUP AUXILIARY EQUIPMENT FOR STARTUP AND OPERATION
OF NEXT NON-BLACK START UNIT
If not specified above, detailed descriptions may be submitted as attachments to this form.
BRIEF DESCRIPTION OF COMMUNICATIONS / CONTROL SYSTEMS THAT ARE CAPABLE OF
ALLOWING SCADA / EMS DATA AND VOICE COMMUNICATIONS IN EVENT OF ACTUAL RECOVERY:
If not specified above, detailed descriptions may be submitted as attachments to this form.
Check if no change since last data submission.
EXPLANATIONS / CORRECTIVE ACTIONS FOR FAILED / NON-PERFORMED TESTS:
| TEST RESULTS SUBMITTED TO PJM |  |  |  | DATE
NAME
SECTION 5 : SUBMISSION PROCEDURE
PLEASE SUBMIT RESULTS TO PJM WITHIN 14 DAYS OF THE TEST COMPLETION
FOR AUDITING PURPOSES, SUBMIT THIS EXCEL FILE USING THE BLACKSTART XLS UPLOAD PROCESS*
*Submit .xls files only. If you are concerned that your file did not transfer properly, please contact blackstart@pjm.com
PLEASE ALSO SUBMIT THE FOLLOWING DATA IN ELECTRONIC FORM TO blackstart@pjm.com
ALR Unit's Testing Procedure.
Description of Communication Systems used in System Restoration
ALR Unit Operator Training description and schedule.