## 25-28 Long Term Auction
Description | Transmission Owner | Projected In-Service Date | Round Modeled
Partial wreck and rebuild 10.34 miles of 230 kV line #249 Carson-Locks to achieve a minimum summer emergency rating of 1047 MVA. Upgrade terminal equipment at Carson and Locks to not limit the new conductor rating. | Dominion | 2025-06-30 | 1
Reconductor approximately 2.9 miles of 230 kV line #211 Chesterfield-Hopewell to achieve a minimum summer emergency rating of 1046 MVA. | Dominion | 2025-06-01 | 1
Reconductor approximately 2.9 miles of 230 kV line #228 Chesterfield-Hopewell to achieve a minimum summer emergency rating of 1046 MVA. | Dominion | 2025-06-01 | 1
Note: See the Project Status & Cost Allocation page in the Planning section of the PJM website for a complete list of all planned upgrades including up-to-date projections of in-service dates