## 25-28 Long Term Auction
25/28 Long Term FTR Outages (Final)
ZONE | FACILITY NAME | TYPE | PERIOD | ROUND MODELED
AE | CAPEMAY 69 KV CAP-RIO5 | LINE | YR1 | 1
AE | CAPEMAY 69 KV CAP-RIO7 | LINE | YR2 | 1
AEP-AP | AMOS 345 KV AMO-SPO1 | LINE | YR1 | 1
AEP-AP | COMMONWC138 KV COM-FIEL | LINE | YR2 | 1
AEP-AP | KENNA 138 KV KEN-SISS | LINE | YR1 | 1
AEP-AP | RIDGEWAY138 KV RID-SHE1 | LINE | YR1 | 1
AEP-AP | RIDGEWAY138 KV RID-SHE1 | LINE | YR2 | 1
AEP-AP | SPORNAEP345 KV SPO-TRI | LINE | YR1 | 1
AEP-AP | SPORNAEP345 KV SPO-WAT1 | LINE | YR1 | 1
AEP-IM | COLBY 138 KV COL-VAL1 | LINE | YR1 | 1
AEP-IM | COOK 34 KV 4-T | XFRM | YR1 | 1
AEP-IM | COOK 345 KV 4-S | XFRM | YR1 | 1
AEP-IM | COOK 345 KV T9 | XFRM | YR1 | 1
AEP-IM | COOK 765 KV 4-P | XFRM | YR1 | 1
AEP-IM | EDLOWE 138 KV EDL-KEN | LINE | YR1 | 1
AEP-IM | KENZIECR138 KV KEN-POK1 | LINE | YR1 | 1
AEP-KY | LESLIE 161 KV LES-STI1 | LINE | YR1 | 1
AEP-OH | ASTOR 138 KV AST-EBR1 | LINE | YR1 | 1
AEP-OH | BOUTWELL138 KV BOU-ELIM | LINE | YR1 | 1
AEP-OH | BOUTWELL138 KV BOU-NEWL | LINE | YR2 | 1
AEP-OH | CAMPBEL2138 KV CAM-ELI1 | LINE | YR3 | 1
AEP-OH | CHATFIEL138 KV CHA-HOW1 | LINE | YR3 | 1
AEP-OH | CHATFIEL138 KV CHA-MEL | LINE | YR1 | 1
AEP-OH | ELEIPSIC138 KV TR3 | XFRM | YR3 | 1
AEP-OH | ELIMA 138 KV 2-S | XFRM | YR3 | 1
AEP-OH | ELIMA 138 KV ELI-HAV1 | LINE | YR3 | 1
AEP-OH | ELIMA 138 KV ELI-NWL1 | LINE | YR3 | 1
AEP-OH | ELIMA 138 KV ELI-NWO1 | LINE | YR1 | 1
AEP-OH | ELIMA 138 KV ELI-NWO1 | LINE | YR3 | 1
AEP-OH | ELIMA 345 KV 2-P | XFRM | YR3 | 1
AEP-OH | FLAGCITY138 KV FLA-NEW | LINE | YR3 | 1
AEP-OH | HOWARD2 138 KV HOW-MEL1 | LINE | YR1 | 1
AEP-OH | IRNTRNGL138 KV IRN-MELM | LINE | YR3 | 1
AEP-OH | NFINDLAY138 KV NFI-NWO1 | LINE | YR2 | 1
AEP-OH | NWLIMA 138 KV NWL-WOO1 | LINE | YR2 | 1
AEP-OH | RILEYCRE138 KV RIL-YEL | LINE | YR3 | 1
AEP-OH | SCOSHOCT138 KV 2-T | XFRM | YR1 | 1
AEP-OH | STIFFIN 138 KV STI-WEF | LINE | YR3 | 1
AEP-OH | STORONT2138 KV 1 | XFRM | YR1 | 1
AEP-OH | WLIMA 138 KV WLI-WOO1 | LINE | YR2 | 1
AMP | NAPLNN 138 KV NAP-MID | LINE | YR1 | 1
APSS | 502JCT 500 KV MTS-502 | LINE | YR1 | 1
APSS | AEPTAP 138 KV AEP-STO | LINE | YR1 | 1
APSS | ALBRIGHT138 KV ALB-BRJ | LINE | YR2 | 1
APSS | BEDINGTO500 KV BED-DOU | LINE | YR1 | 1
APSS | BELMONT 500 KV BEL-FLIR | LINE | YR1 | 1
APSS | BELMONT 765 KV BEL-MOU | LINE | YR1 | 1
APSS | BLACKOAK500 KV BLA-HAT | LINE | YR1 | 1
APSS | BLACKOAK500 KV TRAN 3 | XFRM | YR1 | 1
APSS | BRANDJCT138 KV BRA-HAZ | LINE | YR2 | 1
APSS | BRANDJCT138 KV BRA-LAK | LINE | YR2 | 1
APSS | CONNELSV138 KV CON-STO | LINE | YR1 | 1
APSS | DOUBS 500 KV 583 | LINE | YR2 | 1
APSS | DOUBS 500 KV DOU-GOO | LINE | YR3 | 1
APSS | GLENFALL138 KV GLE-HAR | LINE | YR1 | 1
APSS | HARDY 138 KV HAR-JUN | LINE | YR1 | 1
APSS | HARDY 138 KV HAR-JUN | LINE | YR2 | 1
APSS | HARSNRES138 KV HAR-MAR2 | LINE | YR1 | 1
APSS | HARSNRES138 KV HAR-ROB | LINE | YR1 | 1
APSS | MESSICRD138 KV MES-MOR | LINE | YR1 | 1
APSS | MESSICRD138 KV MES-MOR | LINE | YR2 | 1
APSS | MESSICRD138 KV MES-MOR | LINE | YR3 | 1
BC | CONASTON230 KV CNS-NOR2 | LINE | YR1 | 1
BC | CONASTON230 KV CNS-OTT | LINE | YR1 | 1
BC | CONASTON230 KV CNS-OTT | LINE | YR2 | 1
BC | CONASTON500 KV CNS-PEA | LINE | YR1 | 1
COMED | 51 MC CO345 KV TR81CT_P | XFRM | YR1 | 1
COMED | 51 MC CO345 KV TR83CT_P | XFRM | YR1 | 1
DAYTON | 09AMSTRD138 KV AMS-WMOU | LINE | YR1 | 1
DAYTON | FAYETTE269 KV FAY-PANT | LINE | YR1 | 1
DOM-C | ALPINE 230 KV 2050B | LINE | YR1 | 1
DOM-C | ALPINE 230 KV 2050B | LINE | YR2 | 1
DOM-C | AQUAHAR 230 KV 2120 | LINE | YR1 | 1
DOM-C | AQUAHAR 230 KV 252B | LINE | YR1 | 1
DOM-C | AQUIA 230 KV 252C1 | LINE | YR1 | 1
DOM-C | AQUIA 230 KV TX1 | XFRM | YR1 | 1
DOM-C | BRIERY 230 KV 235A1 | LINE | YR1 | 1
DOM-C | BRIERY 230 KV 235A1 | LINE | YR2 | 1
DOM-C | BRIERY 230 KV 235B | LINE | YR1 | 1
DOM-C | BRIERY 230 KV 235B | LINE | YR2 | 1
DOM-C | BROWNBOV115 KV 72C | LINE | YR1 | 1
DOM-C | CARSON4 500 KV 562A | LINE | YR1 | 1
DOM-C | CARSON4 500 KV 562A | LINE | YR2 | 1
DOM-C | CHESTER4230 KV 205A | LINE | YR1 | 1
DOM-C | CHICKHOM230 KV 2075C | LINE | YR1 | 1
DOM-C | CHICKHOM500 KV 557A | LINE | YR1 | 1
DOM-C | CHICKHOM500 KV 557A | LINE | YR2 | 1
DOM-C | CHICKHOM500 KV 557A | LINE | YR3 | 1
DOM-C | ELMONT4 230 KV 2032A | LINE | YR1 | 1
DOM-C | ENON4 230 KV 2049A | LINE | YR1 | 1
DOM-C | ENON4 230 KV 2049A | LINE | YR2 | 1
DOM-C | ENON4 230 KV 2049A | LINE | YR3 | 1
DOM-C | ENON4 230 KV TX2 | XFRM | YR1 | 1
DOM-C | ENON4 230 KV TX2 | XFRM | YR2 | 1
DOM-C | ENON4 230 KV TX2 | XFRM | YR3 | 1
DOM-C | FOURRIVR230 KV 2032B | LINE | YR1 | 1
DOM-C | GARNERDP115 KV GAR-MOON | LINE | YR1 | 1
DOM-C | GARNERDP115 KV GAR-MOON | LINE | YR2 | 1
DOM-C | GENITO 230 KV GEN-TRAB | LINE | YR1 | 1
DOM-C | HANOVER4230 KV TX2 | XFRM | YR1 | 1
DOM-C | HANOVER4230 KV TX4 | XFRM | YR1 | 1
DOM-C | HOPEWEL4230 KV 211A | LINE | YR1 | 1
DOM-C | HOPEWEL4230 KV 211A | LINE | YR2 | 1
DOM-C | HOPEWEL4230 KV 211A | LINE | YR3 | 1
DOM-C | HOPEWEL4230 KV 228A | LINE | YR1 | 1
DOM-C | HOPEWEL4230 KV 228A | LINE | YR2 | 1
DOM-C | HOPEWEL4230 KV 228A | LINE | YR3 | 1
DOM-C | KEVLAR 115 KV 53A | LINE | YR1 | 1
DOM-C | LADYSMCT230 KV LAD-SUMM | LINE | YR2 | 1
DOM-C | LADYSMTH500 KV 568A | LINE | YR1 | 1
DOM-C | LOCKS 230 KV 249A | LINE | YR1 | 1
DOM-C | LOCKS 230 KV TX7 | XFRM | YR3 | 1
DOM-C | NATWELDR230 KV 2049B | LINE | YR1 | 1
DOM-C | NATWELDR230 KV 2049B | LINE | YR2 | 1
DOM-C | NATWELDR230 KV 2049B | LINE | YR3 | 1
DOM-C | PLYWOOD 115 KV 151A | LINE | YR2 | 1
DOM-C | PLYWOOD 115 KV 151A | LINE | YR3 | 1
DOM-C | REAMSDP 115 KV 69C | LINE | YR1 | 1
DOM-C | REYMET 115 KV 72B | LINE | YR1 | 1
DOM-C | SAPONY 115 KV 69B | LINE | YR1 | 1
DOM-C | SAPONY 115 KV TX1 | XFRM | YR1 | 1
DOM-C | STAFFORD230 KV 2104B | LINE | YR1 | 1
DOM-C | TRABUE4 230 KV 2066A | LINE | YR1 | 1
DOM-C | TRABUE4 230 KV TX1 | XFRM | YR1 | 1
DOM-C | TRABUE4 230 KV TX2 | XFRM | YR1 | 1
DOM-C | TYLER 230 KV 205B | LINE | YR1 | 1
DOM-C | TYLER 230 KV TX2 | XFRM | YR1 | 1
DOM-E | BAINSTOR115 KV 27E | LINE | YR1 | 1
DOM-E | BAINSTOR115 KV 27F | LINE | YR2 | 1
DOM-E | BAYSIDE 115 KV 27A1 | LINE | YR1 | 1
DOM-E | BIRDNECK230 KV 2118A | LINE | YR1 | 1
DOM-E | BOYKINS 115 KV 108A | LINE | YR1 | 1
DOM-E | BURTON 115 KV 181B | LINE | YR1 | 1
DOM-E | FENTRES4500 KV 588A | LINE | YR1 | 1
DOM-E | FENTRES4500 KV 588A | LINE | YR2 | 1
DOM-E | FENTRES4500 KV TX1 | XFRM | YR1 | 1
DOM-E | FENTRES4500 KV TX1 | XFRM | YR2 | 1
DOM-E | FENTRES4500 KV TX3 | XFRM | YR1 | 1
DOM-E | FENTRES4500 KV TX3 | XFRM | YR2 | 1
DOM-E | LEBANON4115 KV 58K | LINE | YR1 | 1
DOM-E | LONGCREK115 KV 27D | LINE | YR2 | 1
DOM-E | MYRTLE 115 KV 44C | LINE | YR1 | 1
DOM-E | OAKRIDGE115 KV 23A | LINE | YR1 | 1
DOM-E | OAKRIDGE115 KV 23B | LINE | YR1 | 1
DOM-E | PENINSLA115 KV 42A | LINE | YR2 | 1
DOM-E | PENINSLA115 KV 99A | LINE | YR2 | 1
DOM-E | PENINSLA230 KV 288A | LINE | YR1 | 1
DOM-E | PENINSLA230 KV TX4 | XFRM | YR1 | 1
DOM-E | PENINSLA230 KV TX5 | XFRM | YR1 | 1
DOM-E | SEAFORD 115 KV 76A | LINE | YR3 | 1
DOM-E | SEAFORD 115 KV 79A | LINE | YR3 | 1
DOM-E | SEPTA4 500 KV 579A1 | LINE | YR1 | 1
DOM-E | SEPTA4 500 KV 579A1 | LINE | YR2 | 1
DOM-E | SEPTA4 500 KV 579A1 | LINE | YR3 | 1
DOM-E | SHELLBNK230 KV 2004A | LINE | YR1 | 1
DOM-E | SHELLBNK230 KV TX_5 | XFRM | YR1 | 1
DOM-E | SKFFSCRK115 KV 58A1 | LINE | YR2 | 1
DOM-E | SUFFOLK 115 KV 44D | LINE | YR1 | 1
DOM-E | SUFFOLK 230 KV 246B | LINE | YR2 | 1
DOM-E | SUFFOLK 230 KV 246B | LINE | YR3 | 1
DOM-E | WINDSRDP115 KV 44B | LINE | YR1 | 1
DOM-N | ARLINGTN230 KV 250A | LINE | YR1 | 1
DOM-N | ARLINGTN230 KV 250A | LINE | YR2 | 1
DOM-N | ARLINGTN230 KV TX5 | XFRM | YR1 | 1
DOM-N | ARLINGTN230 KV TX5 | XFRM | YR2 | 1
DOM-N | BATERYHT230 KV 2011A | LINE | YR1 | 1
DOM-N | BELVOIR 230 KV 204A | LINE | YR1 | 1
DOM-N | BRISTERS115 KV 183D | LINE | YR2 | 1
DOM-N | BRISTERS115 KV 183D | LINE | YR3 | 1
DOM-N | BRISTERS230 KV 2101A | LINE | YR2 | 1
DOM-N | BRISTERS230 KV 2101A | LINE | YR3 | 1
DOM-N | BRISTERS230 KV TX2 | XFRM | YR2 | 1
DOM-N | BRISTERS230 KV TX2 | XFRM | YR3 | 1
DOM-N | BRISTERS500 KV 539 | LINE | YR1 | 1
DOM-N | BRISTERS500 KV 545 | LINE | YR2 | 1
DOM-N | BRISTERS500 KV TX1 | XFRM | YR2 | 1
DOM-N | BRISTERS500 KV TX1 | XFRM | YR3 | 1
DOM-N | BULLRUN 230 KV BUL-CLIF | LINE | YR1 | 1
DOM-N | CRYSTAL4230 KV 276A | LINE | YR1 | 1
DOM-N | CRYSTAL4230 KV 276A | LINE | YR2 | 1
DOM-N | CRYSTAL4230 KV TX2 | XFRM | YR1 | 1
DOM-N | CRYSTAL4230 KV TX2 | XFRM | YR2 | 1
DOM-N | CRYSTAL4230 KV TX4 | XFRM | YR1 | 1
DOM-N | CRYSTAL4230 KV TX4 | XFRM | YR2 | 1
DOM-N | DUMFRIES230 KV 2022A | LINE | YR1 | 1
DOM-N | ELKRUNDP230 KV ELK-ROLN | LINE | YR2 | 1
DOM-N | ELKRUNDP230 KV ELK-ROLN | LINE | YR3 | 1
DOM-N | GLEBE 230 KV TX2 | XFRM | YR1 | 1
DOM-N | GLEBE 230 KV TX2 | XFRM | YR2 | 1
DOM-N | GOOSECRE500 KV 558 | LINE | YR1 | 1
DOM-N | IDYLWOO4230 KV 2035B | LINE | YR1 | 1
DOM-N | IDYLWOO4230 KV 2097A | LINE | YR1 | 1
DOM-N | IDYLWOO4230 KV IDY-TYS1 | LINE | YR1 | 1
DOM-N | MORRISVL500 KV 569A | LINE | YR1 | 1
DOM-N | MORRISVL500 KV 569A | LINE | YR3 | 1
DOM-N | MORRISVL500 KV TX2 | XFRM | YR2 | 1
DOM-N | OX4 500 KV 571A | LINE | YR1 | 1
DOM-N | PENTAGON230 KV 2121A | LINE | YR1 | 1
DOM-N | PENTAGON230 KV 2121A | LINE | YR2 | 1
DOM-N | PENTAGON230 KV TX1 | XFRM | YR1 | 1
DOM-N | PENTAGON230 KV TX1 | XFRM | YR2 | 1
DOM-N | PENTAGON230 KV TX3 | XFRM | YR2 | 1
DOM-N | POSS560 500 KV 560A | LINE | YR1 | 1
DOM-N | POSS560 500 KV 560A | LINE | YR2 | 1
DOM-N | POSSUMP4115 KV 29C | LINE | YR1 | 1
DOM-N | POSSUMP4230 KV 237C | LINE | YR1 | 1
DOM-N | POSSUMP4500 KV TX1 | XFRM | YR1 | 1
DOM-N | POSSUMP4500 KV TX1 | XFRM | YR2 | 1
DOM-N | WOODBRGE230 KV 2001A | LINE | YR2 | 1
DOM-N | WOODBRGE230 KV 215B | LINE | YR2 | 1
DOM-S | CHESTNT 115 KV 1001E | LINE | YR2 | 1
DOM-S | DARLNGTN115 KV 81D2 | LINE | YR1 | 1
DOM-S | EVERETTS230 KV 218 | LINE | YR2 | 1
DOM-S | EVERETTS230 KV 218 | LINE | YR3 | 1
DOM-S | HATHAWAY230 KV 2056A1 | LINE | YR1 | 1
DOM-S | HATHAWAY230 KV 2056A1 | LINE | YR2 | 1
DOM-S | MURPHY 115 KV TX2 | XFRM | YR1 | 1
DOM-W | ENDCAVRN230 KV TX5 | XFRM | YR1 | 1
DOM-W | FULLERRD230 KV 252B1 | LINE | YR1 | 1
DOM-W | FULLERRD230 KV TX1 | XFRM | YR1 | 1
DOM-W | GOSHEN4 115 KV 10B | LINE | YR3 | 1
DOM-W | HARRSNBG230 KV TX6 | XFRM | YR1 | 1
DOM-W | JAMESLEE115 KV 26B | LINE | YR1 | 1
DOM-W | LEXINGTN500 KV TX1 | XFRM | YR2 | 1
DOM-W | MITCHLDP115 KV 2C1 | LINE | YR2 | 1
DOM-W | MTSTORM4500 KV MTS-PRU | LINE | YR1 | 1
DOM-W | NEWROAD 230 KV 2117B | LINE | YR2 | 1
DOM-W | NEWROAD 230 KV TX1 | XFRM | YR2 | 1
DOM-W | ROCKBRDG115 KV 26C | LINE | YR2 | 1
DOM-W | ROCKBRDG115 KV 26C | LINE | YR3 | 1
DOM-W | STAUNTON230 KV 293 | LINE | YR1 | 1
DOM-W | TRIMBLDP115 KV 83A | LINE | YR3 | 1
DOM-W | TRIMBLDP115 KV 83B | LINE | YR1 | 1
DPL | NELSON 138 KV NEL-VIE | LINE | YR1 | 1
DUQU | BRUNOTIS138 KV BRU-NEV | LINE | YR1 | 1
DUQU | CRES DUQ138 KV CRE-MON | LINE | YR1 | 1
DUQU | NEVILLE 138 KV NEV-NEV | LINE | YR1 | 1
DUQU | NEVILTAP138 KV NEV-SEW | LINE | YR1 | 1
EKPC | COOP_EK 161 KV COO-DENN | LINE | YR1 | 1
EKPC | DENNY 161 KV XF186 | XFRM | YR1 | 1
EKPC | HEADQTRS69 KV HEA-SNOW | LINE | YR1 | 1
EKPC | MURPHYSV69 KV MUR-SNOW | LINE | YR2 | 1
EKPC | MURPHYSV69 KV MUR-SNOW | LINE | YR3 | 1
FECL | JENNING 138 KV JEN-LTV7 | LINE | YR1 | 1
FEOE | CARLISLE138 KV CAR-02L1 | LINE | YR1 | 1
FEOE | CARLISLE138 KV CAR-FIE1 | LINE | YR1 | 1
FEOE | GALION 138 KV GAL-02H2 | LINE | YR1 | 1
FEOE | GALION 138 KV GAL-MAR1 | LINE | YR1 | 1
FEOE | GALION 138 KV TR1 | XFRM | YR1 | 1
JC-N | DRAKESTO115 KV DRA-FLA | LINE | YR1 | 1
JC-N | FLANDERS115 KV TR2 | XFRM | YR1 | 1
JC-N | FRANKLIN115 KV FRA-WWHJ | LINE | YR1 | 1
JC-N | TEWKSBRY230 KV MOR-TEW | LINE | YR1 | 1
JC-S | ATLANTIC230 KV 1TRAN | XFRM | YR3 | 1
JC-S | ATLANTIC230 KV ATL-NEW | LINE | YR2 | 1
JC-S | ATLANTIC230 KV ATL-NEW | LINE | YR3 | 1
JC-S | ATLANTIC230 KV ATL-SRI | LINE | YR3 | 1
JC-S | ENGLISHT230 KV ENG-MAN | LINE | YR2 | 1
JC-S | EWINDSOR500 KV BK 2TR | XFRM | YR1 | 1
JC-S | EWINDSOR500 KV EWIN-NEW | LINE | YR2 | 1
JC-S | LARRABEE230 KV LAR-SMID | LINE | YR1 | 1
JC-S | NEWPROSP230 KV NEW-SMI | LINE | YR1 | 1
JC-S | WHITINGS230 KV BANK 4TR | XFRM | YR1 | 1
JC-S | WIND JC 230 KV BK 1TR | XFRM | YR2 | 1
LGEEFL | LIBERTYU69 KV LIB-PEYT | LINE | YR1 | 1
ME | FOXHILL 230 KV FOX-SHA | LINE | YR1 | 1
ME | JACK ME 115 KV JAC-JEB | LINE | YR1 | 1
PE | FLINT 230 KV FLI-PLY | LINE | YR1 | 1
PE | FLINT 230 KV FLNT3TR | XFRM | YR1 | 1
PE | MASTER 138 KV MAS 4TR | XFRM | YR1 | 1
PE | MASTER 230 KV MAS 8TR | XFRM | YR1 | 1
PE | MASTER 69 KV MAS-UNI | LINE | YR1 | 1
PE | PEACHBOT500 KV PEA-TMI | LINE | YR2 | 1
PE | PLYMOUTH230 KV PLY-UPP | LINE | YR2 | 1
PE | UPPERMER230 KV UP 12TR | XFRM | YR2 | 1
PE | UPPERMER230 KV UP 3TR | XFRM | YR2 | 1
PEP | ALABAMA 230 KV ALA-PAL | LINE | YR1 | 1
PEP | BLUEPLAI230 KV BLU-PAL7 | LINE | YR1 | 1
PEP | BLUEPLAI230 KV BLU-PAL9 | LINE | YR1 | 1
PEP | BLUEPLAI230 KV BLU-POT3 | LINE | YR1 | 1
PEP | BLUEPLAI230 KV BLU-POT4 | LINE | YR1 | 1
PEP | BRIGHTON230 KV BRI-BUR3 | LINE | YR1 | 1
PEP | BRIGHTON230 KV BRI-MTZ3 | LINE | YR1 | 1
PEP | BURCHESH230 KV BUR-PAL0 | LINE | YR1 | 1
PEP | BURCHESH230 KV BUR-PAL2 | LINE | YR1 | 1
PEP | BURCHESH500 KV BUR-POS | LINE | YR1 | 1
PEP | BURCHESH500 KV BUR-POS | LINE | YR2 | 1
PEP | BURCHESH500 KV NO.2TR | XFRM | YR1 | 1
PEP | MTZION 230 KV MTZ-NOR1 | LINE | YR1 | 1
PEP | MTZION 230 KV MTZ-QUI3 | LINE | YR1 | 1
PEP | NORBECK 230 KV 158-3T | XFRM | YR1 | 1
PEP | PALMERS 230 KV 084-3T | XFRM | YR1 | 1
PEP | PALMERS 230 KV 084-4T | XFRM | YR1 | 1
PEP | POTOMAC 230 KV STAC-6T | XFRM | YR1 | 1
PEP | POTOMAC 230 KV STAC-7T | XFRM | YR1 | 1
PEP | POTOMAC 69 KV 6T-PS | XFRM | YR1 | 1
PEP | POTOMAC 69 KV 7T-PS | XFRM | YR1 | 1
PEP | TAKOMA 230 KV 23118PS | XFRM | YR1 | 1
PEP | TAKOMA 230 KV 23118PS | XFRM | YR2 | 1
PEP | TAKOMA 230 KV 23118PS | XFRM | YR3 | 1
PEP | TAKOMA 230 KV 23120PS | XFRM | YR1 | 1
PEP | TAKOMA 230 KV 23120PS | XFRM | YR2 | 1
PEP | TAKOMA 230 KV 23120PS | XFRM | YR3 | 1
PL-N | GLENBROO69 KV GLE-KOON | LINE | YR1 | 1
PL-N | HUMMELSW69 KV HUM-LIME | LINE | YR1 | 1
PL-N | HUMMELSW69 KV HUM-SUNB | LINE | YR1 | 1
PL-N | STANTON 230 KV 4 | XFRM | YR1 | 1
PL-N | STANTON 230 KV STA-SUM4 | LINE | YR1 | 1
PL-S | ALBURTIS500 KV ALB-BRA | LINE | YR2 | 1
PL-S | EPALMERT230 KV 1 | XFRM | YR1 | 1
PL-S | EPALMERT230 KV EPA-SIE | LINE | YR1 | 1
PL-S | MILLWDPL230 KV MIL-SAK | LINE | YR1 | 1
PL-S | MILLWDPL230 KV T1 | XFRM | YR1 | 1
PS-N | HUDSON 345 KV 345-1 | XFRM | YR1 | 1
PS-N | HUDSON 345 KV 345-1 | XFRM | YR2 | 1
PS-N | HUDSON 345 KV 345-1 | XFRM | YR3 | 1
PS-N | KILMER 230 KV KIL-LAKI | LINE | YR3 | 1
PS-N | KILMER 230 KV KIL-SAYI | LINE | YR3 | 1
PS-N | LAKENELS230 KV 220-1XF | XFRM | YR3 | 1
PS-S | CLARKSVI230 KV CLA-WIN | LINE | YR2 | 1
PS-S | HOPECREE500 KV HOP-NEW | LINE | YR3 | 1
SENY | FARRAGUT345 KV FAR-HUDB | LINE | YR1 | 1
SENY | FARRAGUT345 KV FAR-HUDB | LINE | YR2 | 1
SENY | FARRAGUT345 KV FAR-HUDB | LINE | YR3 | 1
SENY | FARRAGUT345 KV FAR-MAR | LINE | YR1 | 1
SENY | FARRAGUT345 KV FAR-MAR | LINE | YR2 | 1
SENY | FARRAGUT345 KV FAR-MAR | LINE | YR3 | 1
SENY | FARRAGUT345 KV FAR-MAR2 | LINE | YR1 | 1
SENY | FARRAGUT345 KV FAR-MAR2 | LINE | YR2 | 1
SENY | FARRAGUT345 KV FAR-MAR2 | LINE | YR3 | 1
UGI | HANOVER 69 KV HAN-LOO | LINE | YR1 | 1
UGI | HANOVER 69 KV HAN-LOOM | LINE | YR1 | 1
UGI | HANOVER 69 KV XFMR2 | XFRM | YR1 | 1